.SCHEDULE B>

Name of work:-	(1) Construction of Disposal Work (Zone-A & B) Surface Drain i/c CC Topping for Urban Drainage Scheme Tharushah Taulka Bhiria District Naushahro feroze..

| S# | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART-I.	RCC COLLECTING TANK. 20”DIA. (2 NOS).

1.	Excavation of well in dry upto 20’ below ground level and disposal 				of soil	within one chain in ordinary solid (CSI No.I>P P.No.86).

Qty: 2453.12 cft 	@ Rs.2247/=		P%0Cft.			Rs.5513/=

2.	Wet sinking of wells for depth below spring level by means						of divers i/c all charges for shoring leading and removing						excavated material with in one chain (C.I NO.4 P.No.94).

(i)	From 0’to 5’ depth

Qty: 1987.03 cft @ Rs.11763/80   P%0 Cft.				        	Rs.23375/=

(ii)	From 5’ to 10’ depth

Qty: 1987.03 cft @ Rs.24200/= P%0 cft 				       	Rs.48086/=

(iii)	From  10’ to 15’ depth)

Qty: 794.81 cft at Rs.37230/77   P% cft 			      		 Rs.29591/=

3.	Bailing or  pumping out sub soil water during excavation concreting				cost in situ concrete work in foundation etc (PHSI.NO.18 P.No.75)

Qty: 5966.00 cft 	@ Rs.543/00	P% cft				      	Rs.32395/=

4.	Cement concrete brick or stone ballast 11/2" to 2" gauge						(CSI No.1 Page No.17) Ratio 1:4:8.

Qty: 652.32 cft at Rs.9416/28     P%cft 				       	Rs.61425/=

5.	Cement concrete plain i.c Placing, Compacting, Finishing and

curing complete i.c Screening and Washing of stone aggregate

without shuttering  (C.S.I No.5 Page No.16).

i.	Ratio 1:4:8

Qty: 314.00  cft at Rs.11288/73     P%cft 				       	Rs.35467/=

(ii)	(Ratio 1:3:6)

Qty: 314.00  cft    @ Rs.12995/= 	P% cft 				        	Rs.39548/=

(iii)	(Ratio 1:2:4)

Qty: 314.00  cft    @ Rs.14429/25 	P% cft 				        	Rs.45308/=

6.	Reinforcement cement concrete work including all labour  and 						material except the cost of steel reinforcement and its labour for 						bending for and binding which will be paid separately.  This rate						also  includes all kinds of forms moulds lifting shuttering curing						rendering and finishing the exposed surface i/c Screening and 						washing  of Shingle, (a) RCC work in roof slab beams columns						raft lintels and other structural members laid in situe or pre cost						laid in positive complete  in ( Ratio 1:2:4) (C.S.I No.6 P.No.18)

Qty: 1294.82 cft 	@ Rs.337/00		P-Cft			        Rs.436354/=

7.	Fabrication of mild steel reinforcement for i/c cement concrete						i/c cutting bending laying in position making joint sand fastening						i/c cost of binding wire also i/c removal of rust from bars 							(C.S.I NO.7 P.No.18).

Qty: 54.53 cwt at Rs.5001/70 	P-Cwt 				        Rs 272742/=

Total	        Rs.1029785/=

PART-II.	SCREENING CHAMBER SIZE 5’ x 8’ (2 Nos.).

1.	Excavation in foundation of building bridges and other structure i/c						dag belling dressing refilling around the structure with executed earth					water and ramming lead upto one chain and lift upto one chain and 					lift upto 5’ ft (In ordinary soils) (CSI No.18 P.No.4).

Qty: 570.93 cft at @ Rs.3176/25 	P%0Cft				Rs.1813/=

2	Extra for wet earth work (GSi No. 15 Page No.3).

Qty: 177.19 cft at @ Rs.1058.75 	P%0Cft				Rs.188/=

3.	Cement concrete plain i/c placing compacting finishing						and curing  i/c Screening and Washing of stone aggregate						without shuttering (CSI No.5 Page No.17).

- RATIO (1:4:8)

Qty: 39.31  cft at Rs.11288/75     	P% cft 					Rs.4444/=

4.	RCC work i/c all labour and material except the cost of steel					reinforcement and its labour for bending and binding which						will be paid separately.  This rate also i/c all kinds of from						moulds lifting shuttering curing rendering and finishing the						exposed Surface i/c Screening and washing of shingle (a) RCC					work in the slbs beams columns rafts lintels and other structural					members laid in situ or re cost laid in position complete in all 					respects (Ratio 1:2:4) (CSI No.6 Page No.17).

Qty: 223.25 cft at RS.337/00 	P-Cft  					          Rs.75235/=

5.	Fabrication of mild steel reinforcement i/c cutting bending						laying in position making joints and fastening i/c cost of 						binding wire also i/c removal of rust from bars (CSI NO.7						Page NO.18).

Qty:  8.96 Cwt at Rs.5001/70		P-CWT		          		Rs.44815/=

6.	Pacca brick work in foundation and plinth in cement sand 						mortar Ratio 1:6 (CSI No.4 Page No.21).

Qty: 10.99 cft at RS.11948/36 	P%Cft 				          Rs.1313/=

7.	Cement Plaster 1:4   1/2" thick upto 20'height (CSI No.11 Page No.57).

Qty: 43.52 sft at RS.2283/93 	P%sft 				         		 Rs.994/=

8.	Excavation for pipe lines in trenches and its pits in soft						soils i/c trimming and dressing sides to tru alignment shape						levelling of beds of            correct level surplus earth						within a one chain is directed by Engineer Incharge providing					ce guards lifts flages and temporary crossing for non						vehicular traffic wherever required lift upto 5’ and lead upto					one chain (PHSI NO.1 Page No.38).

Qty: 120.00 cft at Rs. 3600/= P% 0Cft					Rs.432/=

9.	Providing RCC ASTM pipe C-76-62/TC/-70 class II wall B class and 					fixing in trenches i/c cutting fitting and jointing with rubber rings i/c testing				with water to specified pressure (PHSI NO.1 B P. no.17).

18”Dia.

Qty: 24.00  Rft at @ Rs.618/= 	P.Rft					Rs.14832/=

10.	Fabrication of heavy steel work with angle tee flats iron round and sheet					iron for making trueses griders tanks etc i/c cutting bending drilling reviting				handing assembling and fixing etc complete (CSI NO.2 Page No.91).

Qty:  1.78 Cwt at Rs.4928/49		P-CWT		          		Rs.8772/=

11.	Errection rolled stel beams or rails errection for irion etc (CSi No.96).

Qty:  1.78 Cwt at Rs.271/-		P-CWT		          		Rs.482/=

12.	Refilling the excavated stuff in 6” thick layters watering ramming to 					full compaction etc complete.

Qty: 108.00 cft at Rs.2760/-		P-%0 cft		          		Rs.298/=

Total	Rs.153615/=

PART-III.	PUMP HOUSE 12’ X 16’ SIZE (2 Nos).

1.	Excavation in foundation of building bridges and other structure						i/c dag belling dressing refilling around the structures with excavated					eath watering ramming lead upto one chain and lift upto 5’ (GSi No.18					Page No.04).

Qty; 236.00 cft 	@Rs.3176.25   P%0 cft.				Rs.750/=

2.	Cement concrete brick or stone ballast 11/2”to 2”gauage.

(CSI No.4 P.No.15) Ratio 1:4:8.

Qty; 128.13 cft	@  Rs.9416/28 P% cft 			`         Rs.12065/=

3.	Pacca Brick work in foundation and plinth in cement sand						mortar Ratio 1:6: (CSI NO:4 Page No.23)

Qty 266.67 cft 	@ Rs.11948/36  	P% cft				Rs.31863/=

4.	Damp proof course with cement sand and shingle of asphalitic 						mixture concrete 1:2:4 i/c 2 coats (CSI NO.28 Page No. 19

Qty  66.66 cft 	@ Rs.3912.85   	P% sft				Rs.2608/=

5.	Pacca Brick Work in ground floor i/c stricking of joints in 						cement sand mortar 1:6 (CSI NO.5 P.No.20).

Qty; 386.07 cft   @ Rs. 12674/36  P.% cft				  Rs.48932/=

6.	RCC work i/c all labour and material except the cost of steel					reinforcement and its labour for bending and binding of forms					mould lifting shuttering curing rendering and finishing the exposed					surface i/c serving and washing of shingle work in roof slab beams					rafts lintels column: and other structural members laid in situ for pre-cost				laid in position in all respects. Ratio 1:2:4 (CSI No.6 (a) P.No.12)

Qty; 146.94 cft  	@ 337/00   p/cft.				         Rs.49518/=

7.	Fabrication of mild steel reinforcement for cc i/c cutting bending					and laying in position making joints and fastening i/c the cost of  					binding wire also i/c removal of rust form bars.

(CSI No.8 (b) P.No. 17).

Qty: 5.90  Cwt	@ Rs.5001.70   p/cwt				                       Rs.29510/=

8.	Cement plaster 1:6: ½” thick upto 20’ height (CSI NO.13 P.N.52).

Qty: 652.70  sft 	@ 2206/60	P% Sft					Rs.14402/=

9.	Cement plaster 1:4: ½” thick upto 20’ height (CSI NO.13 P.N.52).

Qty: 652.70  sft 	@ 2197/52	P% Sft					Rs.14343/=

10.	P/L 2”thick topping cement concrete 1:2:4 i/c surface finishing					and dividing into panels 2”thick (CSI No.16 © P.No.42).

Qty: 181.50 sft     	@ Rs.3275/50      P% Sft.			           Rs.5945/=

11.	Supplying and Fixing in position in iron steel grill of

¾” x ¼” Size flat Iron of approved design i/c painting

Three coats etc complete ( weight not less than 3.7 Lbs

p.Sq ft of finishing) ( CSI No. 31` Page No.99).

Qty 24.00 sft @ Rs.180/50 P.Sft.					           Rs.4332/=

12.	Fabrication of heavy steel work with angle tee flats iron round and sheet					iron g for making truses griders tanks etc i/c cutting bending drilling reviting				handing assembling and fixing etec complete (CSI No. 2 Page NO.91).

Qty 4.24 cwt @ Rs.4928/49  P.cwt.					           Rs.20897/=

13.	Cement Pointing struck joint on walls (1:3) (GSI No. 19 Page No.53).

Qty 570.00 sft @ Rs.1213/58 P.Sft.					           Rs.6917/=

14.	Earth filling water and ramming earth under floor with surplus earth 					excavated from treches lead upto one chain and lift upto 5 ft (CSI No.22					Page No. 4).

Qty 363.00 sft @ Rs.1512/50   P.Sft.					           Rs.549/=

15.	Painting new surface presparing surface and painting doors and windows					any type (GSI No. 5 c Pagew NO.70 (Two Coats).

Qty 100.00 sft @ Rs.1489/68   P%Sft.					Rs.1490/=

16.	Primary coat of chalk distembring (GSI No.26 Page No.54).

Qty 294.00 sft @ Rs.442/75    P%Sft.					Rs.1302/=

17.	Distempering two coats (GSI NO.26 b Page No.54).

Qty 294.00  @ Rs.1043/90    P%Sft.						Rs.3069/=

Total	Rs.248492/=

PART-III.	PUMP HOUSE 18’ X 12’ SIZE.

1.	Excavation in foundation of building bridges and other structure						i/c dag belling dressing refilling around the structures with excavated					eath watering ramming lead upto one chain and lift upto 5’ (GSi No.18					Page No.04).

Qty; 252.00 cft 	@Rs.3176.25   P%0 cft.				Rs.800/=

2.	Cement concrete brick or stone ballast 11/2”to 2”gauage.

(CSI No.4 P.No.15) Ratio 1:4:8.

Qty; 130.66 cft	@  Rs.9416/28 P% cft 			`         Rs.12303/=

3.	Pacca Brick work in foundation and plinth in cement sand						mortar Ratio 1:6: (CSI NO:4 Page No.23)

Qty 284.67 cft 	@ Rs.11948/36  	P% cft				Rs.34014/=

4.	Damp proof course with cement sand and shingle of asphalitic 						mixture concrete 1:2:4 i/c 2 coats (CSI NO.28 Page No. 19

Qty  71.16 sft 	@ Rs.4982/20 	P% sft					Rs.3545/=

5.	Pacca Brick Work in ground floor i/c stricking of joints in 						cement sand mortar 1:6 (CSI NO.5 P.No.20).

Qty; 416.07 cft   @ Rs. 12674/36  P.% cft				  	Rs.52734/=

6.	Providing and fxing iron steel gril door with angle iron frame of 						1 ½” x 1  ½”x ¼” and flate iron of ¾” of ¼” approved desing and 						locking arrangement embedded in masonary as per instructions of 						Engineer Incharge (CSI No. 31 Page No.94).

Qty; 42.00  sft   @ Rs.231/60  P.% sft				  	Rs.9727/=

7.	Supplying and fixing in position iron /steel grill of ¾”x ¼” size flat iron 					of approved design i/c painting 3 coats etc complete (Weight not to be less 				than 3.7 lbs / sq feet on finished grill) (gSI No. 26 Page No.92).

Qty; 24.00  sft  @ Rs.180/50 P.sft 					  	Rs.4332/=

8.	Fabrication of heavy steel work with angle tee flats iron round and sheet					iron g for making truses griders tanks etc i/c cutting bending drilling reviting				handing assembling and fixing etec complete (CSI No. 26 Page NO.92).

Qty 2.03 cwt @ Rs.4928/49  P.cwt.					           Rs.10005/=

9.	RCC work i/c all labour and material except the cost of steel					reinforcement and its labour for bending and binding of forms					mould lifting shuttering curing rendering and finishing the exposed					surface i/c serving and washing of shingle work in roof slab beams					rafts lintels column: and other structural members laid in situ for pre-cost				laid in position in all respects. Ratio 1:2:4 (CSI No.6 (a) P.No.12)

Qty; 162.85 cft  	@ 337/00   p/cft.				         Rs.54880/=

10.	Fabrication of mild steel reinforcement for cc i/c cutting bending					and laying in position making joints and fastening i/c the cost of  					binding wire also i/c removal of rust form bars.

(CSI No.8 (b) P.No. 17).

Qty: 6.54  Cwt	@ Rs.5001.70   p/cwt				                       Rs.32711/=

11.	Cement plaster 1:6: ½” thick upto 20’ height (CSI NO.13 P.N.52).

Qty: 736.44  sft 	@ 2206/60	P% Sft					Rs.16250/=

12	Cement plaster 1:4: ½” thick upto 20’ height (CSI NO.13 P.N.52).

Qty: 736.44  sft 	@ 2197/52	P% Sft					Rs.16183/=

13.	Cement Pointing struck joints on walls 1:3 (CSI No.19 Page No.28).

Qty: 594.00 sft 	@ Rs.1213/58	P% Sft					Rs.7209/=

14.	Filing watring remaining earth in floor with surplus earth from foundation					lead upto one chain and lift upto 5 ft. (GSi no. 2 page No.5).

Qty: 512.59 cft 	@ Rs.3630/- 	P%0 Sft				Rs.1861/=

15.	P/L 2”thick topping cement concrete 1:2:4 i/c surface finishing					and dividing into panels 2”thick (CSI No.6 © P.No.42).

Qty: 216.00  sft     	@ Rs.4411/82      P% Sft.			           Rs.9530/=

16.	painting new surface preparing surface painting of doors and widow of any				type i/c edges. (GSI No.5 Page NO.69).

Qty: 132.00  sft     	@ Rs.1489/68      P% Sft.			           Rs.1966/=

17.	Primary coat of chalk distembring (GSI No.26 Page No.54).

Qty 736.44  sft @ Rs.442/75    P%Sft.					Rs.3261/=

18.	White washing two coats (CSI NO.23 b Page No.59).

Qty  324.00  sft @ Rs.425/84    P%Sft.					Rs.1380/=

19.	Distembering two coats.

Qty 736.44  sft @ Rs.859/90    P%Sft.					Rs.7688/=

Total	RS.280379/=

PART-IV.	COMPOUND WALL.

1.	Excavation in foundation of building bridges and other structures I/c dag belling dressing refilling around the structures with excavated Earth watering ramming lead up to one chain and lift up to 5’ (GSI No. 18 (b) P-04)

Qty 932.00  Cft @ Rs.3176.25    P%Cft.					Rs.2960/=

2.	Cement concrete brick or stone ballast 1 ½” to 2” gauge Ratio 1:4:8

(GSI No. 4 (b) P-15)

Qty 233.00  Cft @ Rs.9416.28    P%Cft.					Rs.21940/=

3.	Pacca brick work in foundation plinth in cement sand mortor 1:6 (CSI No. P16)

Qty 1012.48  Cft @ Rs.11948.40    P%Cft.					Rs.120975/=

4.	Damp proof course with cement sand & shingle of asphaltic mixture concrete 1:2:4 i/c 2 coats 3"thick(CSI No.28 P-19)

Qty 253.12  Sft @ Rs.4982.18    P%Sft.					Rs.12611/=

5.	R.C.C work  in roof slab beams columns rafts lintels and other structural

members laid in situ or prrecast laid in position complete in all respect. (I)

Ratio 2:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge

(GSI No. 6 (b) P-17)

Qty 51.50.  Cft @ Rs.337/=    P.Cft.							Rs.17356/=

6.	Fabrication of mild steel reinforcement  for C.C i/c cutting,  bending, laying

in position making joints and fastening i/c cost of binding wire(also i/c

removal of rust from bars) (GSI No. 8 (b) P-17)

Qty 2.069  Cft @ Rs.5001/70    P.Cft.						Rs.10349/=

7.	Pacca brick work in ground floor cement, sand, mortar (1:6)                                                                                                                          (GSI No. 9 (e) P-22)

Qty  672.00 Cft @ Rs.12346/65   P%Cft.						Rs.82969/=

8.	Cement, Plaster (1:6) 1/2" thick  up to 12’ height  (GSI No.13 P-52)

Qty  2184.00 Cft @ Rs.2206/=   P%Cft.						Rs.48192/=

9.	Cement, Plaster (1:4) 3/8" thick  up to 12’ height  (GSI No.13 P-52)

Qty  2184.00 Sft @ Rs.2197/52/=   P%Sft.						Rs.47994/=

10.	Cement Pointing Struck Joints on walls (1:3) (GSI NO.19 PAGE No.53).

Qty: 896.00 Sft @ Rs.1213/58   P%Sft.						Rs.10874/=

11.	Fabrication of heavy steel work with angle tee flats iron round iron and sheet

iron for making tr uses griders tanks etc i/c cutting bending drilling

reviting handing assesmling and fixing etc complete (CSI No. 2 P-91)

Qty: 6.429 cwt @ Rs.4928/49   P.cwt							Rs.31641/=

12.	Prepairing the surface and painting with weather coat i/c paper rubbing the surface with

rubbing brick / sand (CSI No.38 P-56)

Qty: 2184.00 Sft @ Rs.1948/10   P%Sft.						Rs.42547/=

13.	Painting new surface preparing surface and painting doors and windows any type i/c edges

(GSI No.5 (c) P-70)

Qty: 120.00 Sft @ Rs.1489/68   P%Sft.						Rs.1788/=

Total	Rs.452196/=

PART-V.	STAFF QUARTER.

1.	Excavation in foundation of building Bridges and other structure including

dug bailing dressing refilling around the structure with excavated

earth watering and ramming etc.complete.Lead upto 1 chain lift upto 5’ft

(CSI No.18 bNo.4).

Qty; 347.00 cft  @Rs.3176.25   P%0 cft.						Rs.1102/=

2.		Cement concrete brick or stone ballast 11/2”to 2”gauage.

(CSI No.(b) P.No.16) Ratio 1:4:8.

Qty; 165.48.00 cft   @  Rs.9416.28  P% cft 				           Rs.15581/=

3.		Pacca Brick Work in foundation  and plinth  in cement sand mortar 1:6

(GSi No. 4 Page No.25).

Qty: 390.22  cft  at  Rs. 11948/36      	      P.% cft        			       	Rs.46625/=

4.		Dump proof course with cement sand and shingle of asphaltic mixture concrete					1:2:4 i/c 2 coats 3” thick (CSI NO.28 Page No.19).

Qty: 93.06  cft  at  Rs. 4982/20      	      P.% cft        			       	Rs.4636/=

5.		Pacca Brick Work in ground floor in cement sand mortar 1:6

(GSi No.16 Page No.24).

Qty: 509.75  cft  at  Rs. 509/80      	      P.% cft        			       	Rs.46613/=

6.		RCC work i/c all labour and material except the cost of steel

Reinforcement and its labour for bending binding, which will be

Paid Separately This rate also including all kind of forms moulds lifting

Shuttering curing rendering and finishing to be exposed surface i/c

Screening and Washing of Stone. RCC work in Roof slab beams

columns rafts lintels and other structure member lad in situe or

pre-cost laid in position Complete in all respects

(CSI  No.6 b Page No.17).(Ratio 2:2:4).

Qty: 169.65 cft at Rs.337/=  		P.cft 		                   	        	Rs. 57162/=

7.		Fabrication of Mild Steel reinforcement concrete for CC i/c Cutting, Bending					Laying in position making joints and fastening i/c Cost of binding wire also					including removal of rust from bars (CSI No.8 P.No.17).

Qty: 6.81 Cwt. at Rs.5001/70   	P/Cwt.	 	         	     	       		Rs. 34062/=

8.		Cement Plaster 1:6 upto 12’ height ½” thick (CSI No.13a

Page No.52).

Qty:  954.45 sft @ Rs.2206.60   	P% Sft.				         		Rs.21061/=

9.		Cement Plaster 1:4 upto 12’ height 3/8” thick (CSI No.13b

Page No.52).

Qty: 954.45 sft @ Rs.2197/52   	P% Sft.				         		Rs.20974/=

10.		Cement Pointing  struck joints on walls (CSI No.19 P/54).

Out Side Room

Qty: 584.71 sft @ Rs.1213/58   P% Sft.				            		Rs.7096/

11.		Earth filling water and ramming earth under floor with surplus earth excavatd					from out side lead upto one chain and lift upto 5 ft (CSI NO.22 Page No.4).

Qty: 442.38 cft @ Rs.3630.00   P%0 cft.				            		Rs.1604/=

12.		Providing laying 1” thick topping cc 1:2:4 i/c surface finishing and 						dividing into panels (CSI No. 1`6 Page No.47).3” thick.

Qty: 238.00 sft @ Rs.4412/   P% Sft.				            		Rs.10500/=

13.		Providing and fixing ornamental cement jali 2” thick 1:2:4 without 						steeel (CSI NO. 11 Page No.97).

Qty: 27.50 sft @ Rs.226/02   P. Sft.				            		Rs.6216/=

14.		Fabrication of heavy steel work with angle tee flats inron round and sheet 					iron for making trueses griders tanks etc i/c cutting bending drilling reviting					handing assembling and fixing etc complete (CSI No. 2 Page NO.91).

Qty: 3.93 cwt @ Rs.4928.49   P. cwt.			     	       		Rs 19369/=

14.		Supplying and fixing steel windows of Z-Section ¾” x ¾” partly fixed 						open able i/c gazing with 24 oz glass fitting and painting 3 coats etc complete					as per design (RA approved).

Qty: 24.00 sft  @ Rs.180/50   P% sft.			       	     		Rs 4332/=

15.		Painting new surface preparing surface and painting doors and widows						any type i/c edges (gsI NO.5 c page NO.70).

Qty: 93.50 sft @ Rs.1489/65   P% sft.				            		Rs 1393/=

16.		Primary coat of chalk distembring.

Qty: 1305/70  sft @ Rs.442/75   P% sft.			         	   		Rs 5781/=

17.		Distemper two coats.

Qty: 1539.16 Sft	@ Rs.1043.90        P% Sft		 		Rs.16067/=

Total	RS.338174/=

PART-VI.	SURFACE DRAINS.

1.	Excavation in foundation of building Bridges and other structure

Include Dug bailing dressing refilling around the structure with

Excavated earth watering and ramming etc.complete.Lead up to

1 chain lift up to 5’ft (CSI No.18 P.No.4).

Qty: 6630.00 Cft Rs.3176/25 	P.%0 Cft					Rs.21059/=.

2.	Cement concrete plain including placing compacting and curing

complete i/c  screening and washing of stone aggregate without

shuttering and washing of stone (GSI No.5 (I) P.No.16)

Ratio  1:4:8.

Qty: 1282.50  cft at Rs.11288/75 P.% cft 			         		Rs.144778/=

3.	Pacca Brick Work in foundation upto Plinth in cement 							sand mortar.( Ratio 1:6) (CSI No:5 P.No:44).

Qty: 4124.50 cft  at  Rs.11948/36 P.% cft 	       				Rs.492810/=

4.	Construction of Standard Open Drain cunette block of Cement

concrete (1:2:4) cost in situ to design profile i/c cost of mold as 					per drawing i/c applying floating coat of cement 1/32” thick be					the exposed face finished along with curing etc complete as per

detailed drawing (P.H.S.I No. 5 P.No.44).

Type I:     Qty: 1500.00 Rft @  Rs.94/00  	P.Rft.					Rs.141000/=

Type II:    Qty: 500.00 Rft @  Rs.174/00  	P.Rft.					Rs.87000/=

5.	Cement plaster 1:4 upto 20’ height ½” thick (CSI No.11 P.50).

Qty: 4470.00 sft @  Rs.2283.93  P.% sft.   	       			 	Rs. 102092/=

7.	RCC work i/c all labour  and material  except the  cost of  steel

Reinforcement and its labour for bending binding which  will be

Paid separetely. This rate also including all kind of forms moulds

Lifting shuttering curing rendering and finishing to be exposed

Surface i/c Screening and washing of Stone.RCC work in Roof

slab beams columns rafts lintels and other structure member

laid in situe or pre-cost laid in position Complete in all respects

(I) Ration 1:2:4 lbs cement 2 cft sand 4 cft shingle 1/8" to 1/4"

Guage (CSI  No.6  Page No.49).

Qty: 907.50 Cft at Rs.337/=  		P.cft 		          			Rs.305828/=

8.	Fabrication of Mild Steel reinforcement concrete for CC i/c

Cutting, Bending Laying in position making joints and fastening

i/c Cost of binding wire also including removal of rust from bars

(CSI No.7 P.No.18).

Qty: 32.41 Cwt. at Rs.5001/70    P/Cwt.	       				Rs.162105/=

Total 	Rs.1456672/=

PART-VII.	CC. TOPPING.

1.	Barrow Pit excavation undressed lad upto 100 ft (ordinary soil) 						(CSI No. 3 Page NO.1).

Qty: 11370.00 cft at Rs.2117/50    P%0 cft.	       				Rs.24076/=

2,	Earth from out side (Lead 1 Mile).

Qty: 11370.00 cft at Rs.407/=    	P% cft.	       				Rs.46276/=

3.	Earth work compaction (Soft ordinary and hard soil) (b) laying earth in 					6” layres leveling and dressing watering for compaction etc completed					(CSI NO.13 (b) Page No.3).

Qty: 18000.00 cft at Rs.263/00    P%0 cft.	       				Rs.4734/=

4.	Cement concrete brick or  stone ballast 1  ½” to 2” guage Ratio 1:4:8					(GSI NO.5 page No.15).

Qty: 3960.00 cft at Rs.9416/28    P% cft.	       				Rs.372885/=

5.	cement concrete plain i/c placing compacting finishing and curing 						complete i/c screening and washing of stone aggregate without shuttering					Ratio 1:2:4 (CSI NO.5 Page No.16).

Qty: 3000.00 cft at Rs.14429/25    P% cft.	       				Rs.432878/=

6.	Errection and removal of centering of RCC or plain 								cement concrete work of deodar wood (CSI No.18 P.No.21).

Qty: 375.00 sft at Rs.3127/41    P% sft.	       				Rs.11728/=

Total	Rs.892577/=

ABSTRACT OF SCHEDULE B”.

| S.NO. | NAME OF WORK | SCHEDULE ITEMS | NON SCHEDULE ITEMS | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | RCC Collecting Tank. | Rs.1029805/= | - | Rs.1029805/= |
| 2 | Screening Chamber | RS.153615/= | - | RS.153615/= |
| 3. | Pump House (12x16) | Rs.248492/= | - | Rs.248492/= |
|  | Pump House (18 x 12) | Rs.280379/= | - | Rs.280379/= |
| 4 | Compound Wall. | Rs.452196/= | - | Rs.452196/= |
| 5 | Staff Quarter. | Rs.338174/= | - | Rs.338174/= |
| 6 | Surface Drains. | Rs.1456672/= | - | Rs.1456672/= |
| 7 | CC Topping. | Rs.892577/= | - | Rs.892577/= |
|  |  | Rs.4851890/= | - | Rs.4851890/= |

CERTIFICATE.

- Any error or omission in the description of items or rates the original estimate schedule of rates will be referred to correct accordingly.

- No premium will be allowed on non-schedule items.

- The work will be carried out according to the drawing design and specifications

shown in the estimate.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG; DIVISION

NAUSHAHRO FEROZ