## Schedule
(Civil Works)
Sindh Schedule of Rates 2012
S.NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (S.I.No. 124/P-15). | Point | 50 | 1130 | 56500
2 | Wiring for Plug Point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (S.I.No. 126/P-15). | Point | 56 | 985 | 55160
3 | Providing and laying (Main or Sub Main) PVC insulated with size 2-7/.064 (16mm2) copper conductor in 1" dia PVC conduct on surface.(S.I.No: 7/P-1) | Mtr | 24 | 605 | 14520
4 | Wiring for Call Bell point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (S.I.No. 128/P-15). | Point | 8 | 1764 | 14112
5 | Providing & Laying (Main or sub-mains) PVC insulated with size 2-7/0.29 copper conductor in 3/4" dia PVC condiut recessed in the wall or coloumn as required. (S.I.No. 10/P-02). | Mtr | 100 | 222 | 22200
6 | Providing & Laying (Main or sub-mains) PVC insulated with size 2-7/0.44 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required. (S.I.No. 12/P-02). | Mtr | 75 | 341 | 25575
7 | Wiring for mains with 2- 7/0.64 PVC insulated wire in recessed in the wall etc complete | Mtr | 80 | 641 | 51280
8 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' in channel patti on surface as required. (S.I.No.129,P-15) | Nos | 112 | 910 | 101920
9 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' in channel patti on surface as required. (S.I.No.130,P-15) | Nos | 25 | 742 | 18550
10 | Wiring for call bell point with 1/1.13 (3/0.29) PVC insulated wire in channel patti on sruface as required. | Nos | 5 | 1590 | 7950
11 | P/F AC one way S.P 5 Amps switch flush type. (S.I.No.219/P-33). | No | 286 | 54 | 15444
12 | Providing and fixing two pin 5amp plug and socket. (S.I.No: 222/P-33) | No | 56 | 80 | 4480
13 | P/F three Pin 10/15 Amps Plug & Socket flush type. (S.I.No. 24/P-33). | No | 8 | 162 | 1296
14 | P/F brass batten holder (S.I.No. 232/P-33). | No | 106 | 70 | 7420
15 | P/F backlight ceiling rose with two terminals. (S.I.No. 228/P-33). | No | 174 | 72 | 12528
16 | P/F Circuit Breaker 6, 10, 15, 20, 30, 40, 50 & 63 Amp SP (TB-5S) on prepared board as required. (S.I.No. 203/P-31). | No | 36 | 916 | 32976
17 | P/F Circuit Breaker 6, 10, 15, 20, 30, 40, 50 & 63 Amp DP (TB-5S) on prepared board as required. (S.I.No. 204/P-31). | No | 8 | 2456 | 19648
18 | Providing Circuit Breaker 15,20,30,40,50,60,75 & 100 Amp T.P (XS-100NS)on a prepared board as required.(S.I.No.207/P-31). | No | 6 | 9261 | 55566
19 | Providing & Fixing voltmeter size 96/96mm 500 volts as required & as per instruction of EI.(S.I.No.285/P-41). | No | 9 | 999 | 8991
20 | P/F Street Light 125 Watts (PMV) having IP-54 classification with 125 W lamp,choke,capacitor & Int-ernal wiring complete in all respect at the height upto 31 ft as per site requirement and instruction of EI make of the above light is as follow. (S.I. No 159/P-25) | No | 12 | 6365 | 76380
21 | Providing & Laying (Main or sub-mains) PVC insulated with single core copper conductor 250/440 volts size (2-7/0.52) 10mm2. (S.I.No. 48/P-06). | Mtr | 150 | 335 | 50250
TOTAL AMOUNT OF SCHEDULE ITEM |  |  |  |  | 652746

## G+1 Schedule Non Schedule
(Civil Works)
Non Schedule Rates
S.NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | P/F 1-40 watts tube light complete with 40-watts with rod, chowk, starter etc complete Philips made. | Each | 65
2 | P/F 25 watts Energy saver superior quality i/c fixing on existing holder as required. | Each | 125
3 | P/F ceilling fan 56" complete in all respect as required (GFC Karachi / Pak original good quality) | Each | 60
4 | P/F flush type ceiling fan dimmer imported quality as required. | Each | 70
5 | P/F Mild Steel Bar Fan Clamp 15.8mm 5/8" dia suitable for RCC Roof. | Each | 10
6 | P/Fixing capsol light plastic body with plastic reflector holder etc. | Each | 25
7 | P/F Distribution Board of 1.5mm thick sheeting double shutter to accommodate circuit breaker, 500 V suitable for 50 Hz i/c painting with powder coated colour complete as required. | Sft | 2
8 | P/F Exhaust fan 12" Plastic Body complete in all respect as required (GFC Karachi made /Pak original good Quality) | Each | 4
TOTAL AMOUNT OF NON-SCHEDULE ITEM |  |  |  |  | 0