## FACE SHEET (hidden)
GOVERNMENT OF SINDH
EDUCATION & LITERACY DEPARTMENT PROJECT MANAGEMENT & IMPLEMENTATION UNIT (PMIU) SERP-II
PACKAGE # 04 BILL OF QUANTITIES (BOQ's)
REHABILITATION WORK
REGION - HYDERABAD DISTRICT - HYDERABAD TALUKA - LATIFABAD G.G.H.S. ZEAL PAK , SCHOOL ID : 403030209

## FACE SHEET (2) (hidden)
REHABILITATION WORK
REGION - HYDERABAD DISTRICT - HYDERABAD TALUKA - LATIFABAD G.G.H.S. ZEAL PAK , SCHOOL ID : 403030209
ABSTRACT OF COST
CIVIL WORK
FACE SHEET

## Abstract (Combined)
G.G.H.S. ZEAL PAK (S.I.D. 403030209)
BILL OF QUANTITIES (CIVIL WORK) (REHABILITATION WORK)
S # | Description of Items | Unit | Quantity | Rate | Amount
(CIVIL WORK)
(i) | SCHEDULE ITEMS: (Composite Schedule of Rates, 2012)
1 | Dismantling cement concrete reinforced separating R.C.C work from concrete cleaning & straightening the same.(S.I.NO:20/P-10) | % Cft | 15 | 5445 | 817
2 | Dismantling cement concrete plain 1:2:4.(S.I.NO:19(c)/P-10) | % Cft | 1919 | 3327.5 | 63855
3 | Dismantling brick work in lime or cement mortar (S.I.NO:13/P-10) | % Cft | 111 | 1285.63 | 1427
4 | Removing door with chowkhat. (S.I.# 33-a/P-12) | Nos | 7 | 142.18 | 995
5 | Removing windows & sky lights with chowkhat. (S.I.# 33-b/P-12) | Nos | 8 | 102.85 | 823
6 | Removing cement or lime plaster (S.I.# 53/P-13) | % Sft. | 13758 | 121 | 16647
7 | Scraping ordinary distemper, oil bound distemper or paint on walls. (S.I.NO: 54(b)P-14). | % Sft. | 27715 | 226.88 | 62880
8 | Cement concrete brick or stone ballast 1-½" to 2" gauge. 1:4:8 (S.I.# 04/P-17) | % Cft | 941 | 9416.28 | 88607
9 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate) without shuttering. Ratio 1:3:6 (S.I.# 5(h)/P-15). | % Cft | 246 | 12595 | 30984
10 | Errection & removal of centering for R.C.C. or Plain Cement Concrete works of Partal Wood (2nd-Class) (b) (ii) vertical (S.I.# 19-b (ii)/P-17) | % Sft. | 210 | 3127.41 | 6568
11 | Supplying and filling sand under floor and plugging in walls. (S.I.# 29 /P-25) | % Cft | 1205 | 1141.25 | 13752
12 | RCC work 1:2:4 i/c all labour and material except the cost of steel reinf: & its labour for bending & binding which will be paid separately. This rate also i/cs all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening & washing of shingle) (a) RCC work in roof slabs beams, coloumns, rafts lintels and other structural members laid in situ or precast laid in position complete in all respects.(SI No:6(a) P-18)
| Ground Floor (1:2:4) | P.Cft | 135 | 337 | 45495
13 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (SI No:29/ P-98) | P. Rft | 123 | 228.9 | 28155
14 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for Windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (SI No:28/ P-98) | P. Rft | 303 | 240.5 | 72872
15 | Providing & fixing in position Door, Windows and Ventilators of first class deodar wood frames, and 1-3/4" thick commercial ply veneer shutters of first class deodar skeleton (Holow) and commercial ply wood (3-ply) on both sides including hold fasts, hinges, iron tower bolts, handles and cleats with cord and one Mortice Lock and hooks.(S.I.#9/P-58) (Shutters Only) (Full rate 1227.36 (-) 370.83 = 856.53 ) | P.Sft | 35 | 856.53 | 29979
16 | Ist: class deodar wood wrought, joinery work in doors & windows etc, fixed in position i/c chowkats hold fasts, hinges iron tower bolts chocks, cleats, handles and cords with hooks etc. (Deodar paneled or paneled and glazed or fully glazed) (1273.76-370.83=902.93) (b) 1-3/4" thick (SI No:7(b) P-65) | P.Sft | 482 | 902.93 | 435212
17 | P/F with sunk iron screws wooden Architrave approved design/shape having width noth less than 2-1/2 inches as directed by Engineer Incharge. (S.I.# 60/P-66) | P.Rft | 486 | 49.97 | 24285
18 | Pacca brick work in Ground Floor including striking of joints up to 20 feet height in C.S mortar 1:4. (S.I.# 7/P-23).
| Ground Floor | % Cft | 161 | 12674.36 | 20406
19 | Pacca brick work in other than building i/c stricking of joints in cement sand ratio 1:6 (S.I No. 7/P-22) | % Cft | 360 | 12346.65 | 44448
20 | Applying floating coat of Cement No:114(i) P-53) | % Sft. | 13758 | 660.06 | 90811
21 | Cement plaster 1:6 upto 20'ft: height 1/2" thick.(SI No:13(b) P-58) | % Sft. | 15149 | 2206.6 | 334278
22 | Cement plaster 1:4 upto 20'ft: height 3/8" thick.(SI No:11(a) P-58) | % Sft. | 15149 | 2197.52 | 332902
23 | Providing & laying 1" thick topping cement concrete (1:2:4) including surface finishing and divided into panels.) (S.I.# 16-c/P-41)
(A) | 3" Thick (G.Floor) | % Sft | 825 | 4411.82 | 36398
(B) | 2" Thick (G.Floor) | % Sft | 11740 | 3275.5 | 384544
24 | Two coat of bitumen laid hot using 34 Lbs for % Sft over roof and blinded with cement sand @ one Cft Per % Sft (S.I No. 13/P- 35) | % Sft | 17396 | 1887.4 | 328332
25 | Fixing water spouts or parnala (S.I.# 37/P-38) | Each | 12 | 211.75 | 2541
26 | Laying floor of approved colour glazed tiles 1/4" thick laid in white cement and pigement on a bned of 3/4" thick cement mortor 1:2. (S.I.No. 24/P- 43 ). | % Sft | 28 | 27678.86 | 7750
27 | Glazed tiles 1/4" thick dado jointed in white cement & laid over 1:2 cement sand motar 3/4" thick i/c finishing (S.I No. 38/P-44) | % Sft | 105 | 28299.3 | 29714
28 | P/fixing 3/8" thick marble tiles of approved quality and color and shade, size 8" x 4" / 6" x 4" in dado skirting and facing removal/tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry, curing finishing, cleaning and polishing etc. complete. (S.I.# 68/P-48) | P.Sft | 1011 | 186.04 | 188086
29 | S/fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design including painting three coats etc. complete. (S.I. # 26 /P-93) | P.Sft | 166 | 180.5 | 29963
30 | Applying chemical polishing in existing mosaic / marble flooring / dado including cleaning, grinding with carborandum stone / sand paper and applying chemical polish as per requirement. (S.I. No: 70/P-48) | P.Sft | 15290 | 36.6 | 559614
31 | Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi I/c filling the joints with hill sand and laying in specified manner /pattern and design etc: complete. (S.I.# 71/P-48) | P.Sft | 1006 | 199.77 | 200969
32 | Glazing with panes (16 oz to 18 oz) including cost of putty. (S.I.# 45(a)/P-63) | P.Sft | 132 | 115.55 | 15253
33 | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" x ⅜" and ¾" square bars at 4" centre to centre. (S.I.# 24/P-92) | P.Sft. | 96 | 726.72 | 69765
34 | Painting new surfaces, painting guard bars, gates iron bars, gratings, railings including standard braces etc. and sililar open work. 3 - Coats (S.I # 4-d/P-69) | %Sft. | 192 | 1270.83 | 2440
35 | Providing & fixing angle iron vertical posts for barbed wire fencing of size 2" x 2" 1/4" embedded in RCC /Masonry pillars I/c Making cuts/ holders @ 12" I/c fixing in pillars by chiseling and filling the with cement sand mortar, spraining & finishing the surface. (S.I.# 8/P-94) | P.Rft | 150 | 169.18 | 25377
36 | Providing & fixing barbed wire fencing with 12 gauge -4 points @ 6" apart barbed wire I/c straightening & fixing in angle iron vertical posts. (S.I.# 9/P-95) | P.Rft | 1854 | 8.38 | 15537
37 | Distempering three coats. (SI No:24(c) P-60) | % Sft | 11086 | 1079.65 | 119690
38 | Preparing the surface and painting with Matt Finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete (new surface) (S.I.# 36/P-61) | % Sft | 24721 | 3444.38 | 851485
39 | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. 3-Coats (S.I.No.39 (a+b) P-56). | %Sft. | 14322 | 2567.95 | 367782
40 | Painting new surfaces, preparing surface and painting of doors and windows any type, including edges Three coats. (S.I.# 5-c/P-76) | %Sft. | 1034 | 2116.41 | 21884
41 | Painting old surfaces, painting door and windows any type. Three Coats (S.I # 4/P-68) | %Sft. | 1973 | 1662.21 | 32795
42 | (Removing Debries) Carriage of 100 Cft/ 5-Tons of all material like stone aggregate spowl, coal lime surkhi 2tc B.G. Rails fastening points and crossing Bridges Girder, Pipes, Sheets Rails M.S Bars etc or 1000 No: Bricks 10"x5"x3" or 1000 No: Tiles 12"x6"x2" or 150 Cft of timber ,or 100 munds of fuel wood by truckes or any other means owned by the contractor. (2-miles) S.I.NO:1/P-1) (Sch: of Carriage) | % Cft | 2870 | 502.52 | 14422
43 | (Sand filling) Carriage of 100 Cft/ 5-Tons of all material like stone aggregate spowl, coal lime surkhi 2tc B.G. Rails fastening points and crossing Bridges Girder, Pipes, Sheets Rails M.S Bars etc or 1000 No: Bricks 10"x5"x3" or 1000 No: Tiles 12"x6"x2" or 150 Cft of timber ,or 100 munds of fuel wood by truckes or any other means owned by the contractor. (10-miles) S.I.NO:1/P-1) (Sch: of Carriage) | % Cft | 1205 | 902.2 | 10872
44 | Difference of Cost of SR cement (S.No 45-b/P-3 (Sch: of Rates (Material) | P.Bag | 343 | 40 | 13720
|  |  |  | TOTAL | 5075131
(ii) | NON-SCHEDULE ITEMS:
1 | Providing and fabrication of deformed steel reinforcement of at least Grade-60 having yield strength at 0.2% strain for cement concrete including cutting, bending laying in position, making joints and fastenings including cost of binding wire (also including removal of rust from bars). | Ton | 0.422
2 | Providing & laying floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey cement mortar setting the tiles with grey cement slurry, jointed and washing the tiles with slurry of white cement and pigment to match the colour of tiles, including curing, grinding, rubbing and chemical polishing etc complete i.c cutting tiles to proper profile. (R.A.Approved by Chief Engineer E.W. Hyderabad) | P.Sft | 1133
TOTAL

## FACE SHEET (3) (hidden)
REHABILITATION WORK
REGION - HYDERABAD DISTRICT - HYDERABAD TALUKA - LATIFABAD G.G.H.S. ZEAL PAK , SCHOOL ID : 403030209
FACE SHEET
ABSTRACT OF COST
PLUMBING WORK

## Plumbing
G.G.H.S. ZEAL PAK (S.I.D. 403030209)
BILL OF QUANTITIES (PLUMBING WORK) (REHABILITATION WORK)
S# | Description of Items | Unit | Quantity | Rate | Amount
(PLUMBING WORK)
(i) | SCHEDULE ITEMS: (Composite Schedule of Rates, 2012)
1 | P/F Orisa type white or colour glazed earthen ware W.C. pan with cost, of low level plastic flush tank of 3' gallons capacity of approved quality I/c making req: No.of holes in walls, plinth & floor and making good in c.c. 1:2:4 (a) W.C. pan orisa type 23" with plastic tank of low down 3 gallons trap & C.I. thumble( Superior quality) (i) with 4" dia C.I. rap(S.I.No. 3(a) (ii)P-2). | No. | 2 | 5836.6 | 11673
2 | P/F Eurpean type white glazed earthen ware wash down w.c.pan complete with and i/c cost of white/black plastic seat (Best Qlty:) & laid with c.p. brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flushing cistern with siphone fitting 1-1/2" dia white procelain enamelled flush bend 3/4' dia and requisite No. of holes in walls plinth & floor for pipe connection and making good in c.c. 1:2:4 (foreign quality) (SINO.4 P-2). | No. | 1 | 11477.4 | 11477
3 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malloable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalant). (S.I.# 12/P-04) | No. | 4 | 4928 | 19712
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed (Foreign or Equivalent..) (S.I.# 11/P-03) | No. | 4 | 2533.47 | 10134
5 | P/F steel sink stainless local make complete with cast iron or wrough iron brackets 6" inches built in wall, 1-1/2" rubber plug chorme brass chain 1-1/2" C.P. brass waste with 1-1/2" plate PVC waste pipe and making requisite numbers of holes in walls and plinth and floor for pipe connection and making good in c.c. 1:2:4 (a) Steel sink stainless sized 33" x 18" local making (Standard pattern) (SINO.19 (a) P-5). | No. | 1 | 5712.3 | 5712
6 | P/F Nylon Connections complete with 1/2" dia brass stopcock with pair of brass nuts and lining joints to nylon connection. (S.I.# 23/P-06) | No. | 6 | 447.15 | 2683
7 | P/F Handle Valve (China).(S.I.# 05/P-17)
(a) | 1/2" dia | No: | 2 | 200.42 | 401
(b) | 3/4" dia | No: | 2 | 271.92 | 544
(c) | 1" dia | No: | 3 | 365.42 | 1096
8 | S/Fixing concealed Stop cock of superior quality with c.p.head 1/2" dia.(S.I.# 11-a/P-18) | No. | 10 | 478.28 | 4783
9 | S/Fixing Long bib-cock of superior quality with c.p. head 1/2"dia(S.I#13-a/P-19) | No. | 8 | 1109.46 | 8876
10 | Supplying & fixing C.P Muslim Showeer with double Bib cock & ring Pipe etc complete.(S.I.No21-a/P-19) | No. | 1 | 3432 | 3432
11 | S/Fixing swan type Pillar cock of superior quality with c.p. head 1/2" dia.(S.I.# 16-a/P-19) | No. | 5 | 795 | 3975
12 | Providing & fixing 6" x 4" C.C gully trap with 4" outlet complete with 4" thick 1: 2: 4 C.C. for bed & 1/2" thick cement plaster (1:3) to the karb, C.I grating 6" x 6" & C.I cover and frame 12" x 12" (inside) etc. complete. Earthen ware glazed gully Trap 6"x6"x4" (i) With C.I Cover & frame. (S.I.# 1(i)/P-23) | Each | 2 | 1220.67 | 2441
13 | Providing Chambers 15" x 9" (inside dimensions) x 24" deep for house maters with 6" thick C.C. 1:3:6 blocks set on 1:6 cement mortar 6" thick C.C. 1:4:8 in foundation, 1/2" thick cement plaster 1:3 to all inside wall surface and to top 1" thick C.C 1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" (inside) clear opening (wt: 1 Qr) etc. fixed in cement concrete 1:2:4 including curing excavation back filling & disposal of surplus earth etc. complete. (S.I.# 04/P-20) | No. | 2 | 4905.67 | 9811
14 | Construction of Manhole or Inspection chamber for the required dia of circular sewer & 3'- 6"(1067 mm) depth with walls B.B in cement sand mortar 1:3, cement plastered 1:3, 1/2" thick, inside of walls & 1" (25 mm) thick over benching & channel i/c fixing C.I. Manhole cover with frame of clear opening 1-1/2"x1-1/2" (457 x 457 mm) of 1.75 Cwt (88.9 kg) embedded in plain C.C 1:2:4 & fixing 1" (25mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall @ 12" (305 mm) C/C Duly painted etc. complete as per standard specification & drawing. (a) 4" to 12" dia (2' x 2' x 3' - 6"). (S.I.# P(a)/Chapter -II/P-46) (Sch: of P.H.E.W-2012) | Each | 8 | 14748 | 117984
15 | P/Fixing Soap tray of made of plastic of superior quality and design with fine finishing with c.p screws etc. complete. (S.I.# 06/P-08) | Each | 4 | 169.4 | 678
16 | P/Fixing 24" x 18" bavelled edge morror of belgium glass complete with 1/8" thick hard board and c.p. screws fixed ot wooden pleat (a) standard pattern (S.I.# 03-a/P-07) | Each | 4 | 1711.6 | 6846
17 | P/F 6"x2" of 6"x3" C.I. Floor trap of the approved self cleaning design with a C.I. Screwed down grating with or without a vent arm complete with and including making requisite number of holes in walls plinth and floor for pipe connection 1:2:4 (S.I.No. 220 P-6) | Each | 3 | 2042.43 | 6127
18 | Providing and fixing ball valve (with unsoldered copper ball ) 2" dia. (S.I. No: 8/P-18) | Each | 1 | 738 | 738
19 | Providing, laying Upvc pressure pipes of class 'B' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 61 meter or 200 ft. (S.I.No;22 item # E-1) (Public Health Sch)
(a) | 250 mm (10" dia) | Rft | 150 | 721 | 108150
|  |  |  | TOTAL | 337273
(ii) | NON-SCHEDULE ITEMS:
1 | P/F uPVC Pipe (PAK ARAB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less than 12" and fixing in position in/c cutting and jointing using Approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, cartage etc as approved by Engineer Incharge. (R.A. Approved by C.E(E.W), Hyd)
| (a) uPVC Pipe 3" dia | Rft | 50
| (b) uPVC Pipe 4" dia | Rft | 70
| (c) uPVC Pipe 6" dia | Rft | 100
2 | P/F uPVC Elbow 90 degree (PAK ARAB or equivalent) of approved quality and design of various size fixed to uPVC pipe using approved adhesive compound upto required height etc. complete. This rate also in/c all kind of labour, material, cartage etc, complete as approved by Engineer Incharge. (R.A. Approved by C.E(E.W), Hyd)
| (a) uPVC Elbow 90 degree 3" dia | Each | 4
| (b) uPVC Elbow 90 degree 4" dia | Each | 4
| (c) uPVC Elbow 90 degree 6" dia | Each | 5
3 | P/F uPVC TEE (PAK ARAB or equivalent) of approved quality and design of various size fixed to uPVC pipe using approved adhesive compound upto required height etc. complete. This rate also in/c all kind of labour, material, cartage etc, complete as approved by Engineer Incharge. (R.A. Approved by C.E(E.W), Hyd)
| (a) uPVC Tee 3" dia | Each | 4
| (b) uPVC Tee 4" dia | Each | 4
| (c) uPVC Tee 6" dia | Each | 5
4 | P/F uPVC SOCKET (PAK ARAB or equivalent) of approved quality and design of various size fixed to uPVC pipe using approved adhesive compound upto required height etc. complete. This rate also in/c all kind of labour, material, cartage etc, complete as approved by Engineer Incharge. (R.A. Approved by C.E(E.W), Hyd)
| (a) uPVC Socket 3" dia | Each | 4
| (b) uPVC Socket 4" dia | Each | 4
| (c) uPVC Socket 6" dia | Each | 5
5 | P/F uPVC Plastic Clip (PAK ARAB or equivalent) of approved quality and design of various size fixed to uPVC pipe using approved adhesive compound upto required height etc. complete. This rate also in/c all kind of labour, material, cartage etc, complete as approved by Engineer Incharge. (R.A. Approved by C.E(E.W), Hyd)
| (a) uPVC Plastic Clip 3" dia | Each | 6
| (b) uPVC Plastic Clip 4" dia | Each | 8
6 | P/F uPVC Cowel 4" dia (PAK ARAB or equivalent) of approved quality and design of various size fixed to uPVC pipe using approved adhesive compound upto required height etc. complete. This rate also in/c all kind of labour, material, cartage etc, complete as approved by Engineer Incharge. (R.A. Approved by C.E(E.W), Hyd) | Each | 5
7 | Providing and fixing water pumping set 1/2 H.P Mono Block single phase 220 bolts with 1" x 1-1/4" suction and delivery 50 ft head including making c.c 1:3:6 plateform of required size and fixing with nuts and bolts. (Local Make) (R.A. Approved by C.E(E.W), Hyd) | Each | 1
8 | P/F uPVC Pipe (PAK ARAB or equivalent) Schedule 40 on surface or concealed masonary / cement concrete / R.C.C up to required height jointing by using solvent (AGM or equivalent) and making good with C.C in/c curing finishing etc. complete with all fitting, i.e. Elbow, Union, Socket, Tee etc where required. This rate also in/c all kind of labour material, cartage etc as approved by Engineer Incharge. (R.A)
| (a) 1/2" dia | Rft | 100
| (b) 3/4" dia | Rft | 200
| (c) 1" dia | Rft | 40
9 | P/F uPVC 3" dia Floor trap with uPVC Jali size 6" x 6" approved colour & design jointing by using solvent (AGM or equivalent) and making good with C.C in/c curing finishing etc. complete.This rate also in/c all kind of labour material, cartage etc as approved by Engineer Incharge. (R.A) | Each | 4
10 | P/F uPVC 4" dia Floor trap (Dadex or equivalent) with uPVC Jali size 6" x 6" approved colour & design with 4" dia inlet and 4" dia outlet of the approved self cleaning design, jointing with uPVC pipe by using solvent (AGM or equivalent) i/c cost of making requisite number of holes in walls, plinth and floor for pipe connections and making good cement concrete 1:2:4. in/c curing finishing etc. complete.This rate also in/c all kind of labour material, cartage etc as approved by Engineer Incharge. (R.A) | Each | 4
TOTAL

## FACE SHEET (4) (hidden)
REHABILITATION WORK
REGION - HYDERABAD DISTRICT - HYDERABAD TALUKA - LATIFABAD G.G.H.S. ZEAL PAK , SCHOOL ID : 403030209
ABSTRACT OF COST
ELECTRIC WORK
FACE SHEET

## Electric
G.G.H.S. ZEAL PAK (S.I.D. 403030209)
BILL OF QUANTITIES (ELECTRICAL WORK) (REHABILITATION WORK)
S # | Description of Items | Unit | Quantity | Rate | Amount
(1) | (ELECTRICAL WORK)
(A) | SCHEDULE ITEMS: (Composite Schedule of Rates, 2012)
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (S.I.No. 124/P-15). | Point | 25 | 1130 | 28250
2 | Wiring for Plug Point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (S.I.No. 126/P-15). | Point | 30 | 985 | 29550
3 | Providing and laying (Main or Sub Main) PVC insulated with size 2-7/.064 (16mm2) copper conductor in 1" dia PVC conduct on surface.(S.I.No: 7/P-1) | Mtr | 25 | 605 | 15125
4 | Wiring for Call Bell point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (S.I.No. 128/P-15). | Point | 2 | 1764 | 3528
5 | Providing & Laying (Main or sub-mains) PVC insulated with size 2-7/0.29 copper conductor in 3/4" dia PVC condiut recessed in the wall or coloumn as required. (S.I.No. 10/P-02). | Mtr | 150 | 222 | 33300
6 | Providing & Laying (Main or sub-mains) PVC insulated with size 2-7/0.44 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required. (S.I.No. 12/P-02). | Mtr | 150 | 341 | 51150
7 | Wiring for mains with 2- 7/0.64 PVC insulated wire in recessed in the wall etc complete | Mtr | 100 | 641 | 64100
8 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4’’) channel patti on surface as required. (S.I.No.129,P-15) | Nos | 130 | 910 | 118300
9 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' in channel patti on surface as required. (S.I.No.130,P-15) | Nos | 20 | 742 | 14840
10 | Wiring for call bell point with 1/1.13 (3/0.29) PVC insulated wire in channel patti on sruface as required. (S.I.No.131,P-15) | Nos | 2 | 1590 | 3180
11 | P/F AC one way S.P 5 Amps switch flush type. (S.I.No.219/P-33). | No | 160 | 54 | 8640
12 | Providing and fixing two pin 5amp plug and socket. (S.I.No: 222/P-33) | No | 55 | 80 | 4400
13 | P/F three Pin 10/15 Amps Plug & Socket flush type. (S.I.No. 24/P-33). | No | 15 | 162 | 2430
14 | P/F brass batten holder (S.I.No. 232/P-33). | No | 105 | 70 | 7350
15 | P/F backlight ceiling rose with two terminals. (S.I.No. 228/P-33). | No | 50 | 72 | 3600
16 | P/F Circuit Breaker 6, 10, 15, 20, 30, 40, 50 & 63 Amp SP (TB-5S) on prepared board as required. (S.I.No. 203/P-31). | No | 35 | 916 | 32060
17 | P/F Circuit Breaker 6, 10, 15, 20, 30, 40, 50 & 63 Amp DP (TB-5S) on prepared board as required. (S.I.No. 204/P-31). | No | 14 | 2456 | 34384
18 | Providing Circuit Breaker 15,20,30,40,50,60,75 & 100 Amp T.P (XS-100NS)on a prepared board as required.(S.I.No.207/P-31). | No | 12 | 9261 | 111132
19 | Providing & Fixing voltmeter size 96/96mm 500 volts as required & as per instruction of EI.(S.I.No.285/P-41). | No | 10 | 999 | 9990
20 | P/F Street Light 125 Watts (PMV) having IP-54 classification with 125 W lamp,choke,capacitor & Int-ernal wiring complete in all respect at the height upto 31 ft as per site requirement and instruction of EI make of the above light is as follow. (S.I. No 159/P-25) | No | 6 | 6365 | 38190
21 | Providing & Laying (Main or sub-mains) PVC insulated with single core copper conductor 250/440 volts size (2-7/0.52) 10mm2. (S.I.No. 48/P-06). | Mtr | 120 | 335 | 40200
|  |  |  | TOTAL | 653699
(B) | (NON-SCHEDULE ITEMS)
1 | P/F 1-40 watts tube light complete with 40-watts with rod, chowk, starter etc complete Philips made. | Each | 50
2 | P/F 25 watts Energy saver superior quality i/c fixing on existing holder as required. | Each | 170
3 | P/F ceilling fan 56" complete in all respect as required (GFC Karachi / Pak original good quality) | Each | 35
4 | P/F flush type ceiling fan dimmer imported quality as required. | Each | 50
5 | P/F Mild Steel Bar Fan Clamp 15.8mm 5/8" dia suitable for RCC Roof. | Each | 5
6 | P/F Mix metallic sheet 2,4,6,8 hole i/c frame and PVC board clip switch etc as required | Nos. | 58.75
7 | P/F Mix meteallic switch socket and bell push ets as required. | Nos. | 49
8 | P/Fixing capsol light plastic body with plastic reflector holder etc. | Each | 25
9 | S/F of pilot lamp (Neon sign) 200/240 volts fixing on a prepared i/c necessary connection as required. | Nos. | 3
10 | P/F Distribution Board of 1.5mm thick sheeting double shutter to accommodate circuit breaker, 500 V suitable for 50 Hz i/c painting with powder coated colour complete as required. | Sft | 2
11 | P/F Exhaust fan 12" Plastic Body complete in all respect as required (GFC Karachi made /Pak original good Quality) | Each | 2
TOTAL