## Sch B 1
SCHEDULE "B"
NAME OF WORK: |  |  | Construction of Surface Drains, Collecting Tank, Screening Chamber, Repair of Oxidation Ponds, Compound Wall & P/L/J & Testing P.E Rising Main for Rural Drainage Scheme Village Loung Bhatti, Najamuddin Abro and Sodo Khan Sarwari Taluka Rohri District Sukkur
HEAD OF ACCOUNT:
S.# | DESCRIPTION |  |  | QTY | RATE | UNIT | AMOUNT
Sub-Work No. 1 |  |  | Surface Drains
Part-I Schedule Items
1)Excavation In foundation of Building Bridges and and other structures including dag belling dressing refilling around structure with excavated earth watering and ramming lead upto 5 feet (a) In ordinary soil( C.S.I.No.18(b)P.No.4)
Qty. | 8327.5 | Cft | at Rs. | 3176.25 |  | P.%0cft. |  | Rs. | 26450
2)Cement concrete plain including placing compacting finishing and curing complete(including screening and washing ofstone aggregate without shuttering ( C.S.I.No.5 P.No.16)
a)Ratio 1:4:8
Qty. | 1791.25 | Cft | at Rs. | 11288.75 |  | P.%cft. |  | Rs. | 202210
3)Pacca brick work in foundation and plinth 1:6. ( C.S.I.No.4(e)P.No.21)
Qty. | 5257.12 | Cft | at Rs. | 11948.36 |  | P%cft. |  | Rs. | 628140
4)Construction of standard open drain connette block of cement concrete (1:2:4) in situe to design profile i.e.cost of mould as per drawing i/c applying floating coat of cement 1/32" thick to the exposed face finished smooth curring etc. complete as per detailed drawing (P.H.S.I.No.D P.No.58)
For T-I Drains
Qty. | 2000 | Rft | at Rs. | 94 | P.Rft. |  |  | Rs. | 188000
For T-II Drains
Qty. | 775 | Rft | at Rs. | 174 |  | P.Rft. |  | Rs. | 134850
5)Cement plaster 1:4 upto 20' height ( C.S.I.No.11(b)P.No.52) (b) 1/2"thick
Qty. | 5500 | Sft | at Rs. | 2283.93 |  | P.%sft. |  | Rs. | 125616
6)Reinforced cement concrete work including all labour and materialexcept the cost of steel reinforcement and its labour for bending and binding ,witch will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingles )(a)R.C. work in roof slab beams columns rafts lintels and other structural memberlaid in situ or precost laid in position complete in all respests (i)Ratio (1:2:4)90Lbs cement 2cft,sand 4cft shingles1/8" to 1/4" guage( C.S.I.No.6(a)(i)P.No.17)
Qty. | 1265.93 | Cft | atRs. | 337 |  | P.cft. |  | Rs. | 426621
7)Fabrication of mild steel reinforcement for cement concrerte including cutting bending laying in position making joints and fastenings includiug cost of binding wire (also includes removal of rust from bars). (b) using Tor bars. (C.S.I.No.8(b) P.No.17)
Qty. | 45.21 | Cwt | at Rs. | 5001.7 |  | P.cwt. |  | Rs. | 226127
[5 empty] | Total Part-I Rs. |  |  |  | 1958014
Sub-Work No. 2 RCC Collecting Tank | [6 empty] | 15 | Ft.dia
Part-I Schedule Items
1)Excavation of well dry up to 20' below ground level and disposal of soil with in one chain (CSI 1(a) P- 86)
Qty. | 1570 | Cft | at Rs. | 2247.58 | P.%0 Cft |  |  | Rs. | 3529
2)Wet sinking of well for depth below spring level by mean of drivers including all charges of shoring loading and removing excavated material within one chain. (CSI 3(a) P- 87)
5.1'-10' depth
Qty. | 1202.03 | Cft | at Rs. | 11763.8 | P.%0 Cft |  |  | Rs. | 14140
10.1'-15' depth
Qty. | 1202.03 | Cft | at Rs. | 24260 | P.%0 Cft |  |  | Rs. | 29161
15.1'-20' depth
Qty. | 480.81 | Cft | at Rs. | 37230.77 | P.%0 Cft |  |  | Rs. | 17901
3)Reinforced cement concrete work including all labour and materialexcept the cost of steel reinforcement and its labour for bending and binding ,witch will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingles )(a)R.C. work in roof slab beams columns rafts lintels and other structural memberlaid in situ or precost laid in position complete in all respests (i)Ratio (1:2:4)90Lbs cement 2cft,sand 4cft shingles1/8" to 1/4" guage( C.S.I.No.6(a)(i)P.No.17)
Qty. | 984.41 | Cft | at Rs. | 337 | P. Cft |  |  | Rs. | 331746
4)Fabrication of mild steel reinforcement for cement concrerte including cutting bending laying in position making joints and fastenings includiug cost of binding wire (also includes removal of rust from bars). (b) using Tor bars. (C.S.I.No.8(b) P.No.17)
Qty. | 40.96 | Cwt | at Rs. | 5001.7 |  | P. Cwt |  | Rs. | 204870
5)Providing expansion joint in concrete work of 9" dia wide corugated PVC water stop (with bulb) i/c sold cost of material and labour etc complete. ( P.H.S.I.No.1 P.No.56)
Qty. | 100.48 | Rft | at Rs. | 86 | P. Rft |  |  |  | 8641
6)Cement concrete brick or stone ballast 1-1/2" to guage.( C.S.I.No.4 P.No.15)
Ratio 1:4:8
Qty. | 371.65 | Cft | at Rs. | 9416.28 | P% Cft |  |  | Rs. | 34996
7)Cement concrete plain i/c placing compacting, finishing and curing complete i/c screening and washing of stone aggregate without shuttering. (CSI No. 5 P- 16 ).
a) Ratio 1:3:6
Qty. | 176.63 | cft. | at Rs. | 12595 | P.% Cft |  |  | Rs. | 22246
b) Ratio 1:2:4
Qty. | 176.63 | cft. | at Rs. | 14429.25 | P.% Cft |  |  | Rs. | 25486
c) Ratio 1:4:8
Qty. | 176.63 | cft. | at Rs. | 11288.75 | P.% Cft |  |  | Rs. | 19939
8)Bailing or pumping out sub-soil water during excavation concreting cost in situ concrete or masonary work in foundation etc (f) only three operation to be allowed trench volume under water to be measured 1st time for excavation second time for concreting and third time for cost in situ concrete or masonary work in foundation etc.(PHSI No. 18 P- 75 ).
Qty. | 3355.87 | cft. | at Rs. | 543 | P% Cft |  |  | Rs. | 18222
[6 empty] | Total Part-I Rs. |  |  | 730877
Sub-Work No. 3 |  |  | RCC Screening Chamber
1) Excavation In foundation of Building Bridges and and other structures including dag belling dressing refilling around structure with excavated earth watering and ramming lead upto 5 feet (a) In ordinary soil. ( C.S.I.No.18(b) P.No.4)
0'-5' depth
Qty. | 616 | Cft | at Rs. | 3176.25 |  | P%0 Cft |  | Rs. | 1957
3)Extra for wet earth work. ( C.S.I.No.15 P.No.3)
Qty. | 176 | Cft | at Rs. | 1058.75 |  | P%0 Cft |  | Rs. | 186
6)Cement concrete brick or stone ballast 1-1/2" to guage.( C.S.I.No.4 P.No.15)
Ratio 1:4:8
Qty. | 66 | Cft | at Rs. | 9416.28 | P% Cft |  |  | Rs. | 6215
7)Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding ,witch will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingles )(a)R.C. work in roof slab beams columns rafts lintels and other structural member laid in situ or precost laid in position complete in all respests (i)Ratio (1:2:4)90Lbs cement 2cft,sand 4cft shingles 1/8" to 1/4" guage. ( C.S.I.No.6(a)(i) P.No.17)
Qty. | 235.27 | Cft | at Rs. | 337 | P. cft |  |  | Rs. | 79286
8)Fabrication of mild steel reinforcement for cement concrerte including cutting bending laying in position making joints and fastenings includiug cost of binding wire (also includes removal of rust from bars).(b) using tor bars. ( C.S.I.No.8(b) P.No.17)
Qty. | 9.45 | Cwt | at Rs. | 5001.7 | P. Cwt |  |  | Rs. | 47266
5)Providing construction joint in concrete work of 9" dia wide corugated PVC water stop (with bulb) i/c sold cost of material and labour etc complete. ( P.H.S.I.No.2 P.No.56)
Qty. | 29 | Rft | at Rs. | 86 |  | P. Rft |  | Rs. | 2494
9)Small iron work such as gusset plate knees bends, stirrups, rings etc. including cutting drilling, revetting, handling, assembling and fixing but excluding errection in position ( C.S.I.No.1 P.No.91 )
Qty. | 1.72 | Cwt | at Rs. | 6420.61 | P. Cwt |  |  | Rs. | 11043
8)Providing & fixing C.I Man Hole cover with frame i/c cost of material etc. (P.H.S.I. No.J(1) P-35)
Qty. | 1 | Cwt | at Rs. | 6985 |  | P. Cwt |  | Rs. | 6985
9)Errection & Fitting in position of iron trusses staging of water tanks etc. (CSI No. 3 P-91)
Qty. | 1.72 | Cwt | at Rs. | 271.04 | P. Cwt |  |  | Rs. | 466
10)Pacca brick work in foundation and plinth in cement sand mortor (1:6)(CSI No. 4(e) P-21)
Qty. | 12.4 | Cft | at Rs. | 11948.36 | P% Cft |  |  | Rs. | 1482
7)Cement plaster 1:4 upto 20' height ( C.S.I.No.11(b)P.No.52)(b)1/2"thick
Qty. | 46.02 | Sft | at Rs. | 2283.93 | P% Sft |  |  | Rs. | 1051
2)Excavation for pipe line in trenches and pits in soft soil i/c trimming and dressing sides of true alighment and shape levelling of bedsof trenches to correct levell and grade cutting joint and holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guard ,lights ,flags and temporary crossing for non vehicular traffic where ever required lift upto 5 ft.(1.52m)and lead upto one chain (30.5m). ( P.H.S.I.No.1 P.No.60)
For 15" dia pipe
Qty. | 84 | Cft | at Rs. | 3600 | P.%0 Cft |  |  | Rs. | 302
8)Refilling the excaveted stuff in trench 6" layer i/c watering ramming to full compaction etc.complete. ( P.H.S.I.No.24 P.No. 77 )
Qty. | 75.6 | Cft | at Rs. | 2760 | P.%0 Cft |  |  | Rs. | 209
10) Providing RCC pipes of A.S.T.M. C-76-62, T/C-76-70 class wall B fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure.(PHSI No. 1 Page No. 15)
15" dia pipe
Qty. | 8 | Rft | at Rs. | 515 |  | P. Rft |  | Rs. | 4120
[5 empty] | Total Part-II Rs. |  |  |  | 163062
Sub-Work No. 4 |  |  | P.E. Rising Main 6" Dia
Part-I Schedule Items
1)Excavation for pipe line in trenches and pits in soft soil i/c trimming and dressing sides of true alighment and shape levelling of beds of trenches to correct levell and grade cutting joint and holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guard ,lights ,flags and temporary crossing for non vehicular traffic where ever required lift upto 5 ft.(1.52m)and lead upto one chain (30.5m). ( P.H.S.I.No.1 P.No.60)
Qty. | 19500 | cft. | at Rs. | 3600 |  | P%0 Cft |  | Rs. | 70200
7)Providing,Laying & fixing in trench i/c cutting fitting and jointing & testing etc. complete in all respect the high Density Polythylene P.E. pipe (HDPE-100) for W/S confirming ISO 4427/DIN8074/8075 B.S.3580 & PSI 3051. (P.H.S.I.No.1 P.No.25)
P.N.08
for 6" dia (160 mm outer dia)
Qty. | 3250 | Rft | at Rs. | 440 |  | P. Rft |  | Rs. | 1430000
8)High Density Polythelene fittings(PE-100)equivalent make ( Mat.S.I.No.IX P.No.18 ) (For PN-8)
For PN-8 Fittings
(i)Elbow 45
for 6" dia (160 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 2784 |  | Each |  | Rs. | 5568
(ii)Bend 90
for 6" dia (160 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 3480 |  | Each |  | Rs. | 6960
9)Butt Fusion Joint (Mat.S.I.No.H P.No.20)
For Special fittings
i)110-160 Outer dia(O/O mm) (4" to 6")
Qty. | 4 | Nos. | at Rs. | 1000 |  | Each |  | Rs. | 4000
15)Refilling the excaveted stuff in trench 6" layer i/c watering ramming to full compaction etc.complete. ( P.H.S.I.No.24 P.No.77 )
Qty. | 17550 | Cft | at Rs. | 2760 |  | P.%0 Cft |  | Rs. | 48438
[5 empty] | Total Part-I Rs. |  |  |  | 1565166
Sub-Work No. 5 |  |  |  | Pump House
Part-I Schedule Items
1)Excavation In foundation of Building Bridges and and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 feet (a) In ordinary soil. ( C.S.I.No.18(b) P.No.4)
Qty. | 188 | cft | at Rs. | 3176.25 | P%0cft |  |  | Rs. | 597
2)Cement concerte brick or stone ballost 1-1/2" to 2" guage (C.S.I.No.4(b)P.No.15) Ratio 1:4:8
Qty. | 88.36 | cft | at Rs. | 9416.28 | P%cft. |  |  | Rs. | 8319
Part-I Schedule Items
Qty. | 278.82 | cft | at Rs. | 11948.36 | P%cft. |  |  | Rs. | 33314
5)Damp proof course with cement,sand and shingle concrete (1:2:4) including 2 coats of asphaltic mixture.(C.S.I.No.28 P.No.19)
Qty. | 53.1 | sft | at Rs. | 4982.18 | P%sft. |  |  | Rs. | 2646
7)Pacca brick work in ground floor(e) in cement sand morter 1:6 ( C.S.I.No.5 (I) (e) P.No.21)
Qty. | 308.63 | cft | at Rs. | 12674.36 |  | P%cft. |  | Rs. | 39117
8) Fabrication of heavy steel work with angles tees, flat iron, round iron and sheet iron for making trusses, gridders tands etc incluing cutting tanks etc including cutting, drilling, riverting, handling assembling and fixing but excluding errction in position. (CSI No. 2 P-91)
Qty. | 4.41 | cwt. | at Rs. | 4928.49 | P.cwt. |  |  | Rs. | 21735
9)Reinforced cement concrete work including all labour and materialexcept the cost of steel reinforcement and its labour for bending and binding ,witch will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingles )(a)R.C. work in roof slab beams columns rafts lintels and other structural memberlaid in situ or precost laid in position complete in all respests (i)Ratio (1:2:4)90Lbs cement 2cft,sand 4cft shingles1/8" to 1/4" guage( C.S.I.No.6(a)(i) P.No.17)
Lintels
Qty. | 105.36 | cft | at Rs. | 337 | P.cft |  |  | Rs. | 35509
10)Fabrication of mild steel reinforcement for cement concrerte including cutting bending laying in position making joints and fastenings includiug cost of binding wire (also includes removal of rust from bars).(b) using Tor bars ( C.S.I.No.8 (b) P.No.17)
Qty. | 4.23 | cwt. | at Rs. | 5001.7 | P.cwt. |  |  | Rs. | 21157
11)Supplying and fixing in position iron steel girl of 3/4"x1/4" size flat iron of approved design i/c painting 3coats etc.weight not less than 3.70 Lbs./sft of finished grill. (C.S.7.No.26 P.No.93)
Qty. | 24 | sft | at Rs. | 180.5 | P.sft |  |  | Rs. | 4332
12)Filling watering and ramming earth in floor with surplus earth excavated from foundation lead upto one chain and lift upto 5 ft. (C.S.7.No.21 P.No.4)
Qty. | 376.71 | cft | at Rs. | 1512.5 | P%0cft |  |  | Rs. | 570
13)Painting new surfaces.
Perparing surface and painting of doors and windows any type i/c edges.(C.S.I.No.4(c) P.No.68) Three Coats
Qty. | 104 | sft | at Rs. | 2116.41 | P.%sft |  |  | Rs. | 2201
14)Errection & fitting in position of iron trusses stagging of water tank etc complete. (G.S.I.No.3 P.No. 91)
Qty. | 4.41 | Cwt | at Rs. | 271.04 | P.Cwt |  |  | Rs. | 1195
15)Cement pointing struck joints on walls.(b)Ratio 1:3 (C.S.I.No.19(b) P.No.53)
Qty. | 448 | sft | at Rs. | 1213.58 | P.%sft |  |  | Rs. | 5437
16)Cement plaster 1:4 upto 12' height(b) 1/2" thick. C.S.I.No.11(b) P.No.52)
Qty. | 593.92 | sft. | at Rs. | 2206.6 | P.%sft |  |  | Rs. | 13105
17)Cement plaster 1:4 upto 12' height (a)3/8" thick. (C.S.I.No.11(a) P.No.52)
Qty. | 593.92 | sft. | at Rs. | 2197.52 | P.%sft |  |  | Rs. | 13052
18)White washing two coat. (C.S.I.No.26 P.No.54)
Qty. | 204 | sft | at Rs. | 425.84 | P.%sft |  |  | Rs. | 869
19)Primary coat of chalk distempering (C.S.I.No.26(a) P.No.54)
Qty. | 593.92 | sft | at Rs. | 442.75 | P.%sft |  |  | Rs. | 2630
20)Distempering two coat. (C.S.I.No.25(b) P.No.54)
Qty. | 593.92 | sft. | at Rs. | 1043.9 | P.%sft. |  |  | Rs. | 6200
21)Providing 1" thick topping cement concrete (1:2:4) i/c surface finishing and dividing in to panels. (C.S.I.No.16(d) P.No.42)
Qty. | 111.78 | sft. | at Rs. | 4411.82 | P.%sft. |  |  | Rs. | 4932
[5 empty] | Total Part-I |  |  | Rs. | 216917
Sub-Work No. 6 |  |  | Repair of Oxidation Ponds
1)Excavation for tanks and reservoirs in soft soil i/c trimming and dressing sides to true alignment design section/ profiles and shape levelling of bed of tank to correct level and grade i.c laying of earth in 6" layers for construction of banks and dressing, disposal of surplus excavated earth with in one chain as directed by Engineer incharge i/c providing fence guard light flags where ever required lift upto 5 feet (1.52 M) and lead upto one chain (30.50 M).( P.H.S.I.No.14 P.No. 52)
Qty. | 35719.59 | Cft | at Rs. | 3000 | P.%0cft. |  |  | Rs. | 107159
2)Earth work compaction (soft,Ordinary or hard soil)(a)Laying earth in 6" layers levelling and dressing complete.( C.S.I.No.13 P.No.3)
Qty. | 35719.59 | Cft | at Rs. | 354 | P.%0cft. |  |  | Rs. | 12645
3)Excavation for pipe line in trenches and pits in wet soil clay or mud i/c trimming and dressing sides of true alighment and shape levelling of bedsof trenches to correct levell and grade cutting joint and holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guard ,lights ,flags and temporary crossing for non vehicular traffic where ever required lift upto 5 ft.(1.52m)and lead upto one chain (30.5m). ( P.H.S.I.No.1 P.No.46)
Qty. | 288 | Cft | at Rs. | 3600 | P.%0 Cft |  |  | Rs. | 1037
4) Providing RCC pipes of A.S.T.M. C-76-62, T/C-76-70 class wall B fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure.
12" Dia
Qty. | 48 | Rft | at Rs. | 412 |  | P. Rft |  | Rs. | 19776
5)Refilling the excaveted stuff in trench 6" layer i/c watering ramming to full compaction etc. complete. ( P.H.S.I.No.24 P.No. 53 )
Qty. | 259.2 | Cft | at Rs. | 2760 | P.%0 Cft |  |  | Rs. | 715
[5 empty] | Total Part-I Rs. |  |  |  | 141332
Sub-Work No. 7 Paving Block Flooring
Part-I Schedule Items
1)Barrow pit excavation undressed lead upto 100 ft. (b)In Ordinary soil with three miles extra lead.(C.S.I.No.3P.No.1)
Qty. | 3025 | cft. | at Rs. | 2117.5 | P%0cft. |  |  | Rs. | 6405
2)Earth work compaction (soft,Ordinary or hard soil)(a)Laying earth in 6" layers levelling and dressing complete.( C.S.I.No.13(a) P.No.3)
Qty. | 3025 | cft. | at Rs. | 263 | P%0cft. |  |  | Rs. | 796
3)Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with natural Colours, having strength b/w 5000 psi to 8500 psi I/c filling the joints with hill sand and laying in specified manner/ pattern and design etc: complete.(C.S.I. No.71 P.No.49)
Qty. | 6225 | sft. | at Rs. | 199.77 |  |  | P.sft | Rs. | 1243568
4)Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with pigmented, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/ pattern and design etc: complete.(C.S.I.No.72 P.No.49)
Qty. | 2075 | sft. | at Rs. | 223.97 |  |  | P.sft | Rs. | 464738
5)Cement concrete plain including placing compacting finishing and curing complete(including screening and washing ofstone aggregate without shuttering. ( C.S.I.No.5 P.No.16)
(a)Ratio 1:4:8
Qty. | 136.13 | cft. | at Rs. | 11288.75 |  | P.%cft. |  | Rs. | 15367
(b)Ratio 1:2:4
Qty. | 148.5 | cft. | at Rs. | 14429.25 |  | P.%cft. |  | Rs. | 21427
6)Errection and removal of centering for R.C.C. or Plain cement concerete work of Partal wood. ( C.S.I.No.19(b)(ii) P.No.18)
(a) Vertical
Qty. | 11 | Cft | at Rs. | 3127.41 | P.%sft. |  |  | Rs. | 344
7)Hard Murrum or fine powdery murrum(SMI No.71 )
Qty. | 2075 | Cft | at Rs. | 1800 | P.%sft. |  |  | Rs. | 37350
|  |  |  | Total Part-I |  |  |  | Rft | 1789995
Sub-Work No. 6 |  |  | COMPOUND WALL
Part-I Schedule Items
1)Excavation In foundation of Building Bridges and and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 feet (a) In ordinary soil.( C.S.I.No.18(b) P.No.4)
Qty. | 852 | cft. | at Rs. | 3176.25 | P%0cft. |  |  | Rs. | 2706
2)Cement concerte brick or stone ballost 1-1/2" to 2" guage (C.S.I.No.4(c)P.No.15) Ratio 1:4:8
Qty. | 213 | cft. | at Rs. | 9416.28 | P%cft. |  |  | Rs. | 20057
5)Pacca brick work in foundation and plinth 1:6.( C.S.I.No.4(e)P.No.21)
Qty. | 1188.3 | cft. | at Rs. | 11948.36 | P%cft. |  |  | Rs. | 141982
5)Damp proof course with cement sand Ratio 1:2 mixed with .(a)1-1/2" thick. ( C.S.I.No.28 P.No.19)
Qty. | 230.52 | Sft | at Rs. | 4982.18 | P%sft. |  |  | Rs. | 11485
6)Reinforced cement concrete work including all labour and materialexcept the cost of steel reinforcement and its labour for bending and binding ,witch will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingles )(a)R.C. work in roof slab beams columns rafts lintels and other structural memberlaid in situ or precost laid in position complete in all respests (i)Ratio (1:2:4)90Lbs cement 2cft,sand 4cft shingles1/8" to 1/4" guage( C.S.I.No.6(a)(i)P.No.17)
Qty. | 51.5 | Cft | atRs. | 337 |  | P.cft. |  | Rs. | 17356
7)Fabrication of mild steel reinforcement for cement concrerte including cutting bending laying in position making joints and fastenings includiug cost of binding wire (also includes removal of rust from bars). (b) using Tor bars. (C.S.I.No.8(b) P.No.17)
Qty. | 2.06 | Cwt | at Rs. | 5001.7 |  | P.cwt. |  | Rs. | 10304
6)Pacca brick work other than building including striking of joints upto 20' height in(i)Cement sand morter(e) Ratio1:6 ( C.S.I.No.7(i)(e) P.No.22)
Qty. | 612 | Cft | at Rs. | 12346.65 | P%cft. |  |  | Rs. | 75562
7)Cement plaster 1:4 upto 20' height ( C.S.I.No.11(b)P.No.52)(b)1/2"thick
Qty. | 2142 | Sft | at Rs. | 2206.6 | P%sft. |  |  | Rs. | 47265
7)Cement plaster 1:4 upto 20' height ( C.S.I.No.11(b)P.No.52)(b)3/8"thick
Qty. | 2142 | Sft | at Rs. | 2197.52 | P%sft. |  |  | Rs. | 47071
8)Cement pointing struck joints on walls (b)1:3 ( C.S.I.No.19(b)P.No.53)
Qty. | 816 | Sft | at Rs. | 1213.58 | P%sft. |  |  | Rs. | 9903
9) Fabrication of heavy steel work with angles tees, flat iron, round iron and sheet iron for making trusses, gridders tands etc incluing cutting tanks etc including cutting, drilling, riverting, handling assembling and fixing but excluding errction in position. (CSI No. 2 P-91)
Qty. | 5.35 | cwt. | at Rs. | 4928.49 | P.cwt. |  |  | Rs. | 26367
10) Errection & fitting in poistion of iron trusses.
Qty. | 5.35 | Cwt | at Rs. | 271.04 | P.Cwt |  |  | Rs. | 1195
11) Preparing the surface & paiting with weather coat i/c rubbling the surface with rubbibg brick / sand paper filling the voids with chalk / plaster of paris and then paiting with weather coat of approved make. (CSI No. 38A P-56) 2 coats
Qty. | 2142 | Sft | at Rs. | 1948.1 | P%sft. |  |  | Rs. | 41728
12)Painting New Surfaces (d)Painting of doors and windows of any type (C.S.I.No.5(d) P.No.06 )
Qty. | 100 | Sft | at Rs. | 2116.41 | P%sft. |  |  | Rs. | 2116
[5 empty] | Total Part-I Rs. |  |  |  | 455097
ABSTRACT
Sub-Work No. 1 |  |  | Surface Drains |  |  |  |  | Rs. | 1958014
Sub-Work No. 2 |  |  | Collecting Tank |  |  |  |  | Rs. | 730877
Sub-Work No. 3 |  |  | RCC Screening Chamber |  |  |  |  | Rs. | 163062
Sub-Work No. 4 |  |  | P.E Rising Main |  |  |  |  | Rs. | 1565166
Sub-Work No. 5 |  |  | Pump House |  |  |  |  | Rs. | 216917
Sub-Work No. 6 |  |  | Repair of Oxidation Ponds |  |  |  |  | Rs. | 141332
Sub-Work No. 7 |  |  | Paving Blocks |  |  |  |  | Rs. | 1789995
Sub-Work No. 8 |  |  | Compound Wall |  |  |  |  | Rs. | 455097
[6 empty] | Total |  | Rs. | 7020460

## Sch B 2
SCHEDULE "B"
NAME OF WORK: |  |  | Providing, Laying, Jointing & Testing P.E Pipe Delivery Main & Distribution System for Water Supply Scheme Bachal Shah Miani & Village Gul Labano for UC-24 & 26 District Sukkur
HEAD OF ACCOUNT:
S.# | DESCRIPTION |  |  | QTY | RATE | UNIT | AMOUNT
Sub-Work No. 1 |  |  | P.E Pipe Lines
Part-I Schedule Items
1)Dismantalling cement concerete plain 1:2:4. ( C.S.I.No.19(c)P.No.10)
Qty. | 600 | Cft | at Rs. | 3327.5 |  | P.%cft. |  | Rs. | 19965
2)Dismantalling of road metalling. (C.S.I.No.51 P.No.13)
Qty. | 750 | Cft | at Rs. | 605 |  | P.%cft. |  | Rs. | 4538
3)Excavation for pipe line in trenches and pits in soft soil i/c trimming and dressing sides of true alighment and shape levelling of beds of trenches to correct levell and grade cutting joint and holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guard ,lights ,flags and temporary crossing for non vehicular traffic where ever required lift upto 5 ft.(1.52m)and lead upto one chain (30.5m).( P.H.S.I.No.1 P.No.60)
Qty. | 125925 | Cft | at Rs. | 3600 |  | P%0 Cft |  | Rs. | 453330
4)Providing,Laying & fixing in trench i/c cutting fitting and jointing & testing etc. complete in all respect the high Density Polythylene P.E. pipe (HDPE-100) for W/S confirming ISO 4427/DIN8074/8075 B.S.3580 & PSI 3051. (P.H.S.I.No.1 P.No.25)
P.N.08
for 3" dia (90 mm outer dia)
Qty. | 6450 | Rft | at Rs. | 148 |  | P. Rft |  | Rs. | 954600
for 4" dia (110 mm outer dia)
Qty. | 2250 | Rft | at Rs. | 224 |  | P. Rft |  | Rs. | 504000
for 6" dia (160 mm outer dia)
Qty. | 4600 | Rft | at Rs. | 440 |  | P. Rft |  | Rs. | 2024000
for 8" dia (225 mm outer dia)
Qty. | 900 | Rft | at Rs. | 860 |  | P. Rft |  | Rs. | 774000
for 12" dia (315 mm outer dia)
Qty. | 1200 | Rft | at Rs. | 1635 |  | P. Rft |  | Rs. | 1962000
5)High Density Polythelene fittings(PE-100)equivalent make ( Mat.S.I.No.IX P.No.18 ) (For PN-8)
For PN-8 Fittings
(i)Elbow 45
for 3" dia (90 mm outer dia)
Qty. | 3 | Nos. | at Rs. | 894 |  | Each |  | Rs. | 2682
for 4" dia (110 mm outer dia)
Qty. | 3 | Nos. | at Rs. | 1324 |  | Each |  | Rs. | 3972
for 6" dia (160 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 2784 |  | Each |  | Rs. | 2784
for 8" dia (225 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 5500 |  | Each |  | Rs. | 5500
for 12" dia (315 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 10753 |  | Each |  | Rs. | 10753
(ii)Elbow 90
for 3" dia (90 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1118 |  | Each |  | Rs. | 2236
for 4" dia (110 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1655 |  | Each |  | Rs. | 3310
for 6" dia (160 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 3480 |  | Each |  | Rs. | 6960
for 8" dia (225 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 6874 |  | Each |  | Rs. | 6874
for 12" dia (315 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 13441 |  | Each |  | Rs. | 13441
iii) P.E Tee
for 3" dia (90 mm outer dia)
Qty. | 5 | Nos. | at Rs. | 1341 |  | Each |  | Rs. | 6705
for 4" dia (110 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1986 |  | Each |  | Rs. | 3972
for 6" dia (160 mm outer dia)
Qty. | 4 | Nos. | at Rs. | 4175 |  | Each |  | Rs. | 16700
for 8" dia (225 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 8249 |  | Each |  | Rs. | 8249
6)Butt Fusion Joint (Mat.S.I.No.H P.No.20)
For Special fittings
i)50-90 Outer dia(O/O mm) (1-1/2" to 3")
Qty. | 15 | Nos. | at Rs. | 600 |  | Each |  | Rs. | 9000
ii)110-160 Outer dia(O/O mm) (4" to 6")
Qty. | 20 | Nos. | at Rs. | 1000 |  | Each |  | Rs. | 20000
iii)180-250 Outer dia(O/O mm) (7" to 10")
Qty. | 4 | Nos. | at Rs. | 1800 |  | Each |  | Rs. | 7200
iv)280-355 Outer dia(O/O mm) (11" to 14")
Qty. | 10 | Nos. | at Rs. | 2200 |  | Each |  | Rs. | 22000
7) C.I Sluice Valve heavy pattern test pressure..
for 4" dia (110 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 5460 |  | Each |  | Rs. | 5460
for 6" dia (160 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 9360 |  | Each |  | Rs. | 9360
for 8" dia (225 mm outer dia)
Qty. | 1 | Nos. | at Rs. | 17940 |  | Each |  | Rs. | 17940
8) Providing & fixing flange adapter.
for 4" dia (110 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1215 |  | Each |  | Rs. | 2430
for 6" dia (160 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 2025 |  | Each |  | Rs. | 4050
for 8" dia (225 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 4725 |  | Each |  | Rs. | 9450
9) Providing & fixing M.S flanges.
for 4" dia (110 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1145 |  | Each |  | Rs. | 2290
for 6" dia (160 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1520 |  | Each |  | Rs. | 3040
for 8" dia (225 mm outer dia)
Qty. | 2 | Nos. | at Rs. | 1973 |  | Each |  | Rs. | 3946
10)Providing chamber 2-1/2'x2-1/2' (750x750 mm.)inside diamension4-1/2'(1372mm.) deepas per approved design for sluice valve 3"to12" dia with 18" (457 mm.)dia inside cost iron cover and frame (wt.=1 cwt.=3 qr.)fixed in R.C.C. 1:2:4 ("4) (102mm) thick brick masonary wallsset in 1:6 cement morter 6" (152mm.)thick cement concrete 1:3:6 in foundation 1" (25 mm.)thick cement concrete 1:2:4 flooring 1/2"(12.5 mm.)thick cement plaster 1:3to inside wall surface and top i/cproviding and fixing M.S. foot rest at every one foot beyond 2-1/2' curring excavation back filling and dis posal of surplus earth etc. complete.(P.H.S.I.No.Q1 P.No.49)
Qty. | 3 | No. | at Rs. | 18820 | Each |  |  | Rs. | 56460
10)Refilling the excaveted stuff in trench 6" layer i/c watering ramming to full compaction etc.complete. ( P.H.S.I.No.24 P.No.77 )
Qty. | 114547.5 | Cft | at Rs. | 2760 |  | P.%0 Cft |  | Rs. | 316150
[5 empty] | Total Part-I Rs. |  |  |  | 7279348

## Sch B 3
SCHEDULE "B"
NAME OF WORK: |  |  | PROVIDING SOLAR POWER SYSTEM FOR 10 BHP PUMPING MACHINERY RURAL DRAINAGE SCHEME FAZALABAD TALUKA ROHRI DISTRICT SUKKUR
HEAD OF ACCOUNT:
S.# | DESCRIPTION |  |  | QTY | RATE | UNIT | AMOUNT
1 | Supplying Installing, Commissioning and Transportation at Site of Solar Modules (PERLIGHT) Mono Crystalline 280 watt x 36 Panels
(25 years warranty of Solar Modules against manufacturers defect)
ABB (German) VFD MPPT Solar Inverter x 1
(1 year for ABB Inverter against manufacturers defect)
G.I Sheet (14 Gauge) Panel Frames x 12
AC/DC Wires, Circuit Breakers, Distribution Boards, Insulation and other Installation Materials (for 140 feet distance from Panel to Inverter) including all Taxes (excluding Civil Work)
| 1 | Set | @Rs. |  |  | each |  | Rs.
2 | Construction of CC Foundation 1:3:6 Wall Size 10"x3' Height for Errection of Solar Panels (RA Attached).
| 132 | Rft | @Rs. |  |  | P Rft |  | Rs.
[6 empty] | Total :- |  | Rs.