## Sch B
S C H E D U L E -B
Construction of Imam Barghah Anjuman Hyderi Registered Taluka Chamber District Tando Allahyar (E.I Work)
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.129, P-15) | 108 | -No: | 910 | P.Point. | 98280
( Nine Hundred Ten Only )
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.130, P-15) | 32 | -No: | 742 | P.Point. | 23744
( Seven Hundred Forty Two Only )
3 | P/L (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit on surface. (S.I.No.03, P-01) | 275 | -Met: | 171 | P.Met: | 47025
( One Hundred Seventy One Only )
4 | Providnig & fixing one way SP 10/15 amp switch surface type. (S.I.No.218, P-33) | 108 | -No: | 58 | P.No: | 6264
( Fifty Eight Only )
6 | Providnig & fixing 2 pin 5 amp plug & metal board recessed in the wall or column and covered with plastic sheet (S.I.No.225, P-33) | 32 | -No: | 83 | P.No: | 2656
( Eighty Three)
7 | Providnig & fixing three pin 10/15 amp plug & socket flush type. (S.I.No.227, P-33) | 10 | -No: | 162 | P.No: | 1620
( One Hundred Sixty Two Only )
8 | Providing and fixing brass button holder (S.I.No-232/P-33) | 10 | -No: | 40 | P.No: | 400
( Forty Only )
9 | Providnig & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 23 | -No: | 72 | P.No: | 1656
( Seventy Two Only )
10 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 10 | -No: | 70 | P.No: | 700
( Seventy Only )
11 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit ressessed on wall or column as required (S.I.No.12, P-02) | 300 | -Met: | 341 | P.Met: | 102300
( Three Hundred Forty One Only )
12 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.235, P-34) | 1 | -No: | 999 | P.No: | 999
( Nine Hundred Ninety Nine Only )
13 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 32 | -No: | 916 | P.No: | 29312
( Nine Hundred Sixteen Only )
14 | Providing and laying (Main or Sub-Main) PVC insulated with size 4-7/0.64(16mm2) copper conductor in 1-1/2" dia PVC conduct recessed in the wall or column as required (S.I.No-42/P-06) | 50 | -No: | 1213 | P.No: | 60650
( One Thousand Two Hundred Thirteen Only )
15 | P/F Circuit breaker 15,20,30,40,50 & 100 TP (XS-100NS) on prepared board (S.I.No-207,P-31) | 1 | -No: | 9261 | P.No: | 9261
( Nine Thousand Two Hundred Sixty One Only )
16 | P/F Circuit breaker 125 to 225 Amps TP(XS-225NS) on prepared bard as required (S.I.No-208/P-31) | 2 | -No: | 25541 | P.No: | 51082
( Twenty Five Thousand Five Hundred Forty One Only )
17 | P/F Circuit breaker 6 to 63 Amps DP(TB-5S) on prepared bard as required (S.I.No-204/P-31) | 4 | -No: | 2456 | P.No: | 9824
( Two Thousand Four Hundred Fifty Six Only )
|  | Total Schedule Item |  |  | 445773
Part (B) Electric Non-Schedule Items.
1 | P/F earthing set with 2"x2"x1/4" copper plate burried in ground at the depth of 12" or less it water comes out from the ground level with salt and charoal etc i/c making the poir 12" deep by execution on all type of soil earth plate to be connected with No-8, S.W.G bare copper wire ruin in 1/2" G.L pipe straight from the earth plate upto the matalic electical necessary i/c providing necessary tee etc complete
|  | 1 | Nos. |  | Each.
2 | Providing & Fixing distribution borad shutter (L.Q.R)
| (2x1.25x1.50) | 3.75
|  | 4 | ft |  | Each.
3 | Fixing AC ceiling fan regulator on metal board recessed in the wall and covered with etc complete | 23 | -Nos: |  | Each.
4 | Errection of given ceiling Fan with fan i/c wiring of down rod with 1.13mm 3/0.29 PVC core etc complete | 23 | -No: |  | Each.
5 | P/F Mild steel or fan clamp 15.8mm 3/8" dia suitable for RCC Roof | 23 | -No: |  | Each.
6 | P/F Ceiling fan 56" sweep ceiling fan complate with rod flad canopy etc as required made by Pak,Royal,GFC fan etc complete | 23 | -No: |  | Each.
7 | P/F Fancy type sheet 4,8,10 holes fixed in prepared board with necessary connection etc complete | 32 | -No: |  | Each.
8 | P/F Wall Bracket light fancy type superior quailty fixing wall or etc complete | 85 | -No: |  | Each.
9 | P/F Energy savor superior quality i/c fixing on existing holder etc complete | 85 | -No: |  | Each.
Total Schedule Item
G.Total
N O T E :-
Certified that Premium not allowed on non schedule items .
Nothing shall be paid for cartage of any material what so ever brought at the site of work
material cartage form Government stores
Contractor |  | Executive Engineer
B u i l d i n g s D i v i s i o n
Tando Allahyar