## Sch B
S C H E D U L E -B
Construction of Darghah Syed Sultan Shah Taluka Chamber District Tando Allahyar (E.I work)
S.# | ITEMS OF WORK | QTY |  | RATE | UNIT |  | AMOUNT
Part-A SCHEDULE ITEMS
1 | Wiring for light of fan point with 1/1.13/3/0.29 PVC insulated wire in 20 mm (3/4) (SIN-129/P-15)
|  | 100 | Nos | 910 | P. point | Rs. | 91000
( Nine Hundred Ten Only )
2 | Wiring for plug point with 1/1 13/30.29 PVC insulated wire in 20mm (13/01") (S.O.NO130/P-115)
|  | 10 | Nos | 742 | P. point | Rs. | 7420
( Seven Hundred Forty Two Only )
3 | Wiring for call bell with 1/1 13(3/.029) PVC insulated Wire in 20mm (3/4") (S.I.No:131,p-15)
|  | 1 | Nos | 1590 | P. point |  | 1590
( One Thousend Five Hundred Ninety Only )
4 | Wiring for mains PVC insulated wire in 20mm (3/4") pre conduit filled (S.I.No: 3,p-01)
|  | 150 | Met | 171 | P.Met: | Rs. | 25650
( One Hundred Seventy One Only )
5 | P/F AC one way S.P 15/10 Amps switch flush type on metal board recessed in the wall or column or as required and cover with plastic sheet (S.I.No:218,p-33)
|  | 70 | Nos | 58 | P.NO | Rs. | 4060
( Fifty Eight Only )
6 | P/F flush type 2 pin 5 Amps S.P plug socket and metal board recessed in the wall or column and covered with plastic sheet. (S.I.NO:225/P-33)
|  | 12 | Nos | 83 | P.NO | Rs. | 996
( Eighty Three)
7 | P/F three pin 5 Amps plug and socket flush type (S.I.NO:226/P-33)
|  | 6 | Nos | 151 | P.NO | Rs. | 906
( One Hundred Fifty One Only )
8 | P/F A/C one way S.P 3/15 Amps switch flush type on metal board recessed in the wall or column or as required and cover with plastic sheet (S.INO:227/P-33)
|  | 100 | Nos | 162 | P.NO | Rs. | 16200
( One Hundred Sixty Two Only )
9 | Providing and Fixing Brass Battern Holder (S.I.No. 232/ P-33)
|  | 40 | Nos | 70 | P.NO | Rs. | 2800
( Seventy Only )
10 | Providing and Fixing Bakelite Ceiling rose with two terninals (S.I.No. 228/ P-33)
|  | 12 | Nos | 72 | P.NO | Rs. | 864
( Seventy Two Only )
11 | Providing and laying (MAIN or SUB MAIN) PVC insulated with sizw 2-7/0.44 (6mm2) copper conductor in 3/4" dua PVC conduit recessed in the wall or column as required (S.I.No. 12/ P-02)
|  | 50 | Met | 341 | P.Met: | Rs. | 17050
( Three Hundred Forty One Only )
12 | Providing and fixing voltemeter Size 96/96mm 500volt as required & as per instruction of EI (S.I.No. 285/ P-41)
|  | 1 | No | 999 | P.NO | Rs. | 999
( Nine Hundred Ninety Nine Only )
13 | Providing and fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No. 203/ P-31)
|  | 12 | Nos | 916 | P.NO | Rs. | 10992
( Nine Hundred Sixteen Only )
14 | Providing and laying (MAIN or SUB MAIN) PVC insulated with sizw 4-7/0.64 (16mm2) copper conductor in 1-1/2" dua PVC conduit recessed in the wall or column as required (S.I.No. 42/ P-06)
|  | 30 | Met | 1213 | P.Met: | Rs. | 36390
( One Thousand Two Hundred Thirteen Only )
15 | Providing and fixing A.C or D.c electric bell 200/250 volts 70mm (S.I.NO:21P.11)
|  | 1 | No | 9261 | Each | Rs. | 9261
( Nine Thousand Two Hundred Sixty One Only )
16 | Providing and fixing circuit breaker 125,150, 200 & 225amp TP (XS-225NS) on prepared board as required (S.I.No. 208/ P-31)
|  | 1 | No | 25541 | Each | Rs. | 25541
( Twenty Five Thousand Five Hundred Forty One Only )
17 | Providing and fixing DPI/C chang over Switch 500 volts 100 amps on a prepared board (S.I.No. 197/ P-30)
|  | 1 | No | 7612 | Each | Rs. | 7612
( Twenty Seven Thousand Six Hundred Twelve Only )
18 | Providing and fixing circuit breaker 6,10,15,20,30,40,50 & 63amp DP (TB-5S) on prepared board as required (S.I.No. 204/ P-31)
|  | 2 | Nos | 2456 | P.NO | Rs. | 4912
( Two Thousand Four Hundred Fifty Six Only )
|  |  |  | Total |  |  | 264243
PART-B NON SCHEDULE ITEMS
1 | P/F earting set with 2"x2" x1/4" copper plate buried in ground at a depth of 12" or less if water comes out from the ground level with salt and charcoal etc, i/c making the poir 12" deep by excavation on all type of soil earth plate to be connected with No. 8,S.W.G, bare copper wire ruin in 1/2" G.L.pipe straight from the earth plate upto the matailc electrical necessary i/c providing necessary Tee.
|  | 1 | No |  | P.NO | Rs.
2 | P/F distribution board double shutter to accommodate circuit breaker i/c pointing type batten holder 9 etc complete
|  | 2 | Sft |  | P.sft | Rs.
3 | Fixing of A.C ceiling fan regulator on matel board recessed in the wall and covered with etc complete
|  | 12 | Nos |  | P.NO | Rs.
4 | Erection of given A.C given ceiling with fan i/c wiring of down rod with 1.13mm 3/029 PVC Core etc complete
|  | 12 | Nos |  | P.NO | Rs.
5 | P/F mild steel ar for clamp 15.8mm )3/8) ida suitable for R.C.C roof
|  | 12 | Nos |  | P.NO | Rs.
6 | P/F flush type electric bell push button etc complete
|  | 1 | Nos |  | Each | Rs.
7 | P/F ceiling fan 56" sweep ceiling fan complete with rod fald canopy etc as requaired. Made by Pak,Royal , GFC fan etc complete.
|  | 12 | Nos |  | Each | Rs.
8 | P/F fancy type sheet 4,8,10 hole fixed in prepared board with ncessay connection etc complete
|  | 12 | Nos |  | Each | Rs.
9 | P/F Main Fox light & energy saver 85 wt Superior quality etc complete
|  | 4 | Nos |  | Each | Rs.
10 | S/F Door Call Bell Superior quality etc complete
|  | 1 | Nos |  | Each | Rs.
11 | P/F Energy Saver 24 watts superior quality i/c fixing on existing holder etc. complete.
|  | 83 | Nos |  | Each | Rs.
12 | S/F 1-40 Watts tube light complete with 40-watt 4” long rod, choke starter & putty with Phillips components i/c necessary electric connection & fixing on wall or ceiling etc, complete.
|  | 5 | Nos |  | Each | Rs.
Total
G.Total
N O T E :-
Certified that Premium not allowed on non schedule items .
Nothing shall be paid for cartage of any material what so ever brought at the site of work
material cartage form Government stores
Contractor |  | Executive Engineer
B u i l d i n g s D i v i s i o n
Tando Allahyar