SCHEDULE-B

CONSTRUCTION  OF FOUR COUT BUILDING AT  GAMBAT  DISTRICT KHAIRPUR MIRS. (G.FLOOR INTENRAL E.I )

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:124/p:15)

Light point 	296-Nos:   1130/-      Each	  334480/-

Fan point	   120-Nos:	1130/-     Each.	       135600/-

2.  Wiring for call bell point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit  recessed in the wall or columns as required(S.i.No:128-P15)

30-No:          1764/-   Each                  52,920/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:126P-15

122-Nos:      985/-     Each                 120,170/-

04) P/F two pin 5amps S P amps socket  switch and shoe unit  on a prepaed recessed in the wall or column as required  (S.I.NO;10-p-10)

122-No:	83/-   Each	               10,126/-

05) P/F  A C  one way  SP 5 amps one way  switch flush on a given prepared board  recessed in the wall or columns etc (S.I.NO:219.p33)

494-Nos:	34/-   Each                  16,796/-

6)P/F 3 pin 10/15 amps plug socket flush type (S.I.NO;226/33)

50-No:          151/-	EACH	      7,550/-

7) P/F brass pendant lamp holder (SINO:229-p33)

142-Nos:        74/-	    Each		     10,508/-

08) P/F  backlit ceiling rose with two terminals (S.I.NO;228P—33)

252-Nos:    	72/-	Each	               18,144/-

4)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:10p-2)

2200--Mtr:	    222/-     P-Mtr:              488,400/-

__________

Total=	1192, 042/-

Contractor                                                                       Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad

SCHEDULE-B

CONSTRUCTION  OF FOUR COUT BUILDING AT  GAMBAT  DISTRICT KHAIRPUR MIRS. (F.FLOOR INTENRAL E.I )

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1)  P/L main or sub-main PVC ins:with 2-7/.036 (6mm2)  copper conductor ¾  dia PVC

Conduit in the wall or columns as required (S.I.No:14p-02)

1200-Mtr:      252/--     P-Mtr:                 302,400/-

02 )  Wiring for main with 2-7/..044)PVC insulated wire in 25 mm PVC conduit recessed in the wall or columns as required (SINO12.P-2)

600- Mtr:       341/-      P.Mtr:                   204,600/-

03) P/F circuit  bracket 6 amp to 63 amps  SP ((TB-5S) on prepared board  As required (S.I.No.203p-31

50-Nos:       916/- -      Each                     45,800/-

04)  Providing and fixing  circuit breaker 30 amps TP on prepared  board

(S.I.NO;205P-31)

16-Nos:     5301/-       Each,     	     84816/-

05) P/F circuit  bracket 15 amp to 100 amps  TP ((XS-100NS) on prepared board  As required (S.I.No.207p-31                                        04-Nos:       9261/-     Each                      37,044/-

06) P/F Circuit breaker 250 amps TP i/c fixing on a prepared board and necessary connection

(S.I.no:207-p-31)

02-Nos:      25541/-     Each                     51,082/-

07) P/Laying  main or sub main PVC insulated  with 4 core  armored  copper  conductor

600/1000  volts size 70mm 2 (S.I.No:17-P-14)

70-Metr       5438/-      P-Meter                 380660/-

08)   Providing and fixing  circuit breaker  400 amps TP setting 250-400 amps                                          (XS-400)CJ prepared  board (S..i.No:210-p-31)

1-No:            39401/-    Each                      39401/-

_________________

Total=	1175803/-

_________________

Contractor                                                                       Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad

SCHEDULE-B

CONSTRUCTION  OF FOUR COUT BUILDING AT  GAMBAT  DISTRICT KHAIRPUR MIRS. (G.FLOOR INTENRAL E.I )

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS)

1)  P/F   main Panel board  double shutter to accommodate heavy duty circuit breaker

i/c painting  with enameled paint for other similar job on surface

12.50 SFT                                 Each

2) P/F mild steel bar fan clamps 15.8mm (5/8”) suitable for RCC roof.

112-Nos:                                  Each

3)Errection of AC ceiling fan i/c wiring of down rod with 1.1.3/.029) PVC wire in fixing on regulators blade  canopy etc complete

112-Nos:                                 Each,

4)  P/F fancy  dimmer for AC ceiling fan   etc complete

112-Nos:        	Each

5) P/F of double tube light  china made electronic chowke  grill framed and 2 Nos:

Tube rod  4 ft long etc complete.

48-Nos:                              Each.

6)  P/F of tube light  Patti fitting i/c  40 watts  choke starter 4 ft long  tube rod along with

Holder fitting complete  in all respects

84-Nos:                             Each

7)      P/F  energy  sever  superior quality 24 watt

144-Nos:                            Each

8) P/F Earthing set with  2x2x1/4 copper plate buried in the ground at a depth  of  12 ft or  less if the   water comes  out from the ground level  with salt and cholorocal  etc i/c providing G.I. pipe and copper wire size size 8 SWG in all respect

2-No:                              Each

9) S/F Exhaust fan 12” complete with iron body  i/c fixing charging

08-No:	             	   Each

10)  Providing and fixing of fancy switch plate sheet china made  10 gang frame  i/c                                        approved quality  i/c internal connection etc complete

55-Nos:            		  Each

11)    Providing and fixing of fancy switch plate sheet china made 04 gang frame i/c                                         approved quality i/c internal connection etc complete

28-No:              		Each

12) P/F Electric bell 220 volts.

30-Nos:                   		  Each.

13) P/F Bell push baton etc complete.           30-Nos:                                     Each

14)  S/F power plug 30 amps i/c shoe fixing jron board etc complete

10-Nos:               	             Each

15) P/F fancy light fitting superior quality etc complete

15-Nos:                                         Each

16)  P/F of power plug 40 amps i/c shoe fixing iron board etc complete

10-Nos:                                      Each

17) S/F  AC ceiling fan56 sweep  size pak fan GFC SK  company  i/c fixing                                       and wiring connection etc complete

112-Nos:	                              Each

______________

Total=

_____________

Contractor                                                                       Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad

SCHEDULE-B.

ESTABLISHMENT OF AGRICULTURE EXPORT  PROSESSING ZONE  IN OFFICE BLOCK AND CONFERENCE HALL AT SAKRAND (PROVIDING INTERNAL AND EXTERNAL ELECTRIFICATION.

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:129/p:15)

Light point 		15-Nos:	   910/-		Each		13650/-

Fan point	   12-Nos:	    910/-             Each.	            10920/-

2.  Wiring for call bell point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit  recessed in the wall or columns as required(S.i.No:131p-15)        6-No:           1590/-           Each               9540/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:130P-15             	  8-Nos:            742/-           Each             5936/-

4)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:31p-1)		      100Mtr:	    171/-             P-Mtr:            17100/-

5)  )  Wiring for main with 2-7/..036)PVC insulated wire in 25 mm PVC conduite recessed in the wall or columns as required (SINO4.p-1)	      50 Mtr:	   200/-              P.Mtr:		10000/-

6)  5)  )  Wiring for main with 2-7/..044)PVC insulated wire in 25 mm PVC conduit recessed in the wall or columns as required (SINO4.p-1)	      175/-             305/-             Each                53375/-

7) P/F AC One way sp 5amps switch flush type on a prepared board  recessed in the wall or columns as required(SINO:218. p-23)		     38-Nos:       58/-               Each                   2204/-

8)P/F flush type 2 pin 5amps  switch flush l type on a prepared board  in the wall or columns as required(S.I.No:225 p-25	       	8-Nos:       83/-                 Each                  664/-

9) P/F ceiling  rose  on  Sw round  lock..	         19-Nos:          72/-             Each	      1368/-

10) P/F Circuit breacker 6 amps to 63   SP (TB SS)  on a prepared board(S.I.No: 203-p31)

10-Nos:          916/-       Each                 9160/-

11) P/F circuit bracker 15 amps to 60 amps TP XE-100 on a prepared as required (s.i.no:206 p-31)                                                            ,                                                                      01-No:           5521/-      Each                  5521/-

12)  P/F AC brass  ceiling fan  56  good quality (SINO: 2135 –p34)

11-Nos:          3185/-       Each                 35035/-

__________

Total=	174,473/-

(PART B NON SCHEDULE ITEMS)

1)   S/F service wire 2-7/.064 PVC  2 core  cable approved quality

200.Mtr:              		   P-Mtr:

2)  P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

03 SFT               	 	 Each

3) P/F energy sever superior quality

26-No:             		   Each

4) S/F Exhaust fan 12” complete with iron body  i/c fixing aharging

1-No:				Each

________

Total=

(PART B NON SCHEDULE ITEMS)  EXTERNAL E.I

1. S/F L.T almunam conductor s annt: 7/12” on all type of poles  approved by Engineer Incharge.

5139-RFT:  		Each

2.   S/F shackle insulator and medium pressure (3x3) single  with out nuts and bolts and stips etc as required.

75-No:           		     Each

3) P/F shackle D iron clamps baltaes made galvanized mild street  plate 1/4x3/4 sizeheavy bolts with nuts (3x3) size of clamps 1/2x1/4 x1/2 inchs etc complete

75-Nos:         		     Each

4) S/ F Stay rod with G.I rod 8/12 i/c  ancher rod  full threaded with bolts  with making of cc foundation  of required depth  ratio 1:2: 4; etc

15Nos:	    		       P-Mtr:

5)S/F G>I. strips nuts bolts for shackle insultors  heaving 7.1/2 inches  double strips 1/6x1-1/2  ) size for the use porcelain insulator 3/6  etc complete

75 Mtr:	   	       P.Mtr:

6)  P/F Earthing  set with 2x2x1/8 copper plate buried in the ground at  depthof 12 ft  kor less i/c water comes out from the soil with salt  chkorocoil letc earth plalte to be connected with SWG  No: 8  copper  conductor  in  G .I pipe  ½  dia etc complete.

10-Nos:          	                         Each

7)  Binding of insulator with copper conductor SWG No: 16 etc complete

75-No::       		               Each

8) P/F Street light poles 250 watt mercury bulbs philps made  i/c 250 watt chowke  and shade with  G.I. Pipe with clamps etc complete  as approved by Engineer Incharge.

10-No:        			   Each

_____________

Total=

____________

Contractor                                                                       Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad

SCHEDULE-B.

ESTABLISHMENT OF AGRICULTURE EXPORT  PROSESSING ZONE  IN OFFICE BLOCK AND CONFERENCE HALL AT SADUJA DISTRICT NAUSHAHRO FEROZE.

(INTERNAL & EXTERNAL E.I)

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:129/p:15)

Light point 		15-Nos:	   910/-		Each		13650/-

Fan point	   12-Nos:	    910/-             Each.	            10920/-

2.  Wiring for call bell point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit  recessed in the wall or columns as required(S.i.No:131p-15)        6-No:           1590/-           Each               9540/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:130P-15             	  8-Nos:            742/-           Each             5936/-

4)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:31p-1)		      100Mtr:	    171/-             P-Mtr:            17100/-

5)  )  Wiring for main with 2-7/..036)PVC insulated wire in 25 mm PVC conduite recessed in the wall or columns as required (SINO4.p-1)	      50 Mtr:	   200/-              P.Mtr:		10000/-

6)  5)  )  Wiring for main with 2-7/..044)PVC insulated wire in 25 mm PVC conduit recessed in the wall or columns as required (SINO4.p-1)	      175/-             305/-             Each                53375/-

7) P/F AC One way sp 5amps switch flush type on a prepared board  recessed in the wall or columns as required(SINO:218. p-23)		     38-Nos:       58/-               Each                   2204/-

8)P/F flush type 2 pin 5amps  switch flush l type on a prepared board  in the wall or columns as required(S.I.No:225 p-25	       	8-Nos:       83/-                 Each                  664/-

9) P/F ceiling  rose  on  Sw round  lock..	         19-Nos:          72/-             Each	      1368/-

10) P/F Circuit breacker 6 amps to 63   SP (TB SS)  on a prepared board(S.I.No: 203-p31)

10-Nos:          916/-       Each                 9160/-

11) P/F circuit bracker 15 amps to 60 amps TP XE-100 on a prepared as required (s.i.no:206 p-31)                                                            ,                                                                      01-No:           5521/-      Each                  5521/-

12)  P/F AC brass  ceiling fan  56  good quality (SINO: 2135 –p34)

11-Nos:          3185/-       Each                 35035/-

__________

Total=	174,473/-

(PART B NON SCHEDULE ITEMS)

1)   S/F service wire 2-7/.064 PVC  2 core  cable approved quality

200.Mtr:              		   P-Mtr:

2)  P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

03 SFT               	 	 Each

3) P/F energy sever superior quality

26-No:             		   Each

4) S/F Exhaust fan 12” complete with iron body  i/c fixing aharging

1-No:			   	Each

________

Total=

(PART B NON SCHEDULE ITEMS)  EXTERNAL E.I

1. S/F L.T almunam conductor s annt: 7/12” on all type of poles  approved by Engineer

Incharge.

5139-RFT:  		             Each

2.   S/F shackle insulator and medium pressure (3x3) single  with out nuts and bolts and stips etc as required.

75-No:           	             Each

3) P/F shackle D iron clamps baltaes made galvanized mild street  plate 1/4x3/4 sizeheavy bolts with nuts (3x3) size of clamps 1/2x1/4 x1/2 inchs etc complete

75-Nos:         		   Each

4) S/ F Stay rod with G.I rod 8/12 i/c  ancher rod  full threaded with bolts  with making of cc foundation  of required depth  ratio 1:2: 4; etc

15Nos:	    		          P-Mtr:

5)S/F G>I. strips nuts bolts for shackle insultors  heaving 7.1/2 inches  double strips 1/6x1-1/2  ) size for the use porcelain insulator 3/6  etc complete

75 Mtr:	   		              P.Mtr:

6)  P/F Earthing  set with 2x2x1/8 copper plate buried in the ground at  depthof 12 ft  kor less i/c water comes out from the soil with salt  chkorocoil letc earth plalte to be connected with SWG  No: 8  copper  conductor  in  G .I pipe  ½  dia etc complete.

10-Nos:          			    Each

7)  Binding of insulator with copper conductor SWG No: 16 etc complete

75-No::       			               Each

8) P/F Street light poles 250 watt mercury bulbs philps made  i/c 250 watt chowke  and shade with  G.I. Pipe with clamps etc complete  as approved by Engineer Incharge.

10-No:        		             Each

_____________

Total=

____________

Contractor                                                                       Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad