SCHEDULE-B    		CONSTRUCTION OF  04 FOUR NOS COURT 	BUILDING  GAMBAT

DISTRICT KHAIRPUR.

(Remaining Work)

S.NO		ITEM  OF  WORK		QTY:		RATE		UNIT		AMOUNT.

GROUND FLOOR

01/-	Cement Plaster 1:6 up to 20’-0’ height ½” thick.

Qty: 14407 Sft	  @RS: 2206.60	% Sft	RS: 1156280/-

02/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick.

Qty: 42120 Sft	   @RS: 2197.52	% Sft	RS: 925595/-

04/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(e), P. No.18)

Qty: 2322 Cft	  @RS: 14429.25  	% Cft	RS: 232600/-

05/-	Laying white marble flooring fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (b) 1” thick flooring.(S.I.NO.28 (b) Page No. 43)

Qty: 14479 Sft	  @RS: 567.48		P.Sft	RS: 8216543/-

06/-	Providing and fixing 3/8” thick marble tile of approved quality and colour and shade size 8”x4”/6”x4” in dado skirting and facing removal/tucking of existing plaster surface etc over ½” thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filing the joints and washing the tiles with white cement slurry cutting, finishing cleaning and polishing etc complete (2) for old works. (S.I. No.68 (ii) P. No.49)

Qty: 3172 Sft	@RS: 186.04		P.Sft	RS: 573747/-

07/-	Providing and laying tile glazed 6”x ¼” on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.52)

Qty: 6583 Sft	@RS: 30509.77	% Sft	RS: 2008458/-

08/-	First Class Deodar wood wrought, joinery in doors and windows etc, fixed in position including Chowkhats hold fats hinges, iron tower bolts, chocks cleats, handles and cords with hooks etc. deodar paneled or paneled and glazed or fully glazed, (b) 1 ¾’’ thick.(S.I. No. 7, (b) P. No. 65)

Qty: 2222 Sft	@RS: 902.93		P.Sft	RS: 2006310/-

09/-	Galvanized wire gauze  fixed to chowkats with ¾” thick deodar steps and screws.

Qty: 1135 Sft	@RS: 190.72		P.Sft	RS:216467/-

10/-	Supplying and fixing in position iron/steel grill of ¾” x ¼” size flat iron of approved design including painting 3 coats etc complete (Weight or not less than 3.7 Lbs/sq feet of finished grill)(S.I.NO.26 Page No.97)

Qty: 766 Sft	@RS: 180.50		P.Sft	RS: 138263/-

11/-	M/F Grating in openings i/c fixing @ site into flat iron 2’x3/8” and ¾” sq: base @ 4”c/c etc.(S.I NO: 25 P-92)

Qty: 1241 Sft	@RS: 293.15		P.Sft	RS: 363799/-

12/-	P/F deodar Alimirah 9”-12” depth i/c  boxing with back shelves shutters brass fitting(S.I NO: 23 P-61)

Qty: 98 Sft	@RS: 1778.50		P.Sft	RS: 174293/-

13/-	S/F false ceiling of plaster of  Paris, in panels i/c making frame, work of deodar wood i/c painting with soligia paint.(S.I.NO.52 Page No. 64)

Qty: 767 Sft	@RS: 25293.42	% Sft	RS: 194000/-

14/-	P/F plaster of pairs ceiling border of 8”-10” with of specified design & thickness i/c fixing besides ceiling with nails screws with getties.(S.I.No.44 P.No.39)

Qty: 61 Rft	@RS: 104.22		P.Rft	RS: 16779/-

15/-	White washing 03 coats.(S.I NO: 26 (c)P-54).

Qty: 13310 Sft	   @RS: 829.95		% Sft	RS: 110466/-

16/-	Preparing the surface and painting with matt finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of  paris mixture, applying first coat  premix, making the surface smooth and then painting 3 coats with matt finish  of approved make etc: complete .(new surface).(S.I NO: 36)

Qty: 40061 Sft	@RS: 3444.38		% Sft	RS: 1379853/-

17/-	Painting the surface  preparing surface surface and  painting  of door & window any type including  edges of 03 coats.(S.I NO: 5 (c)P-70).

Qty: 4444 Sft	@RS: 2116.41		% Sft	RS: 94053/-

18/-	Painted sashes, fan lights, glazed or gauzed , doors and windows.(s.i no: 4(B) P68)

Qty: 1135 Sft	@RS: 896.39		% Sft	RS: 10174/-

19/-	Providing & fixing colour crete jto wall surface to provide, durable crust and aesthetics having thickness upto 3/4" with specified colour having water, fire and temite resistance (upto 20' -0 height).(s.i no: 44  -56)

Qty: 8649 Sft	@RS: 6319.50		% Sft	RS; 546574/-

===========================================

Total						RS: 16163700/-

S.NO		ITEM  OF  WORK		QTY:		RATE		UNIT		AMOUNT.

FIRST FLOOR

01/-	Cement Plaster 1:6 up to 20’-0’ height ½” thick.

Qty: 14407 Sft	@RS: 2206.60	% Sft		RS: 1156280/-

02/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick.

Qty: 42283 Sft	 @RS: 2197.52	% Sft		RS: 929177/-

03/-	Laying white marble flooring fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 43)

Qty: 14591 Sft	  @RS: 567.48	P.Sft		RS: 8280101/-

04/-	Providing and fixing 3/8” thick marble tile of approved quality and colour and shade size 8”x4”/6”x4” in dado skirting and facing removal/tucking of existing plaster surface etc over ½” thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filing the joints and washing the tiles with white cement slurry cutting, finishing cleaning and polishing etc complete (2) for old works. (S.I. No.68 (ii) P. No.55)

Qty: 3172 Sft	@RS: 186.04	P.Sft		RS: 527609/-

05/-	Providing and laying tile glazed 6”x ¼” on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.52)

Qty: 16583Sft	@RS: 30509.77   % Sft		RS: 2008458/-

06/-	First Class Deodar wood wrought, joinery in doors and windows etc, fixed in position including Chowkhats hold fats hinges, iron tower bolts, chocks cleats, handles and cords with hooks etc. deodar paneled or paneled and glazed or fully glazed, (b) 1 ¾’’ thick.(S.I. No. 7, (b) P. No. 65)

Qty: 2243 Sft	@RS: 902.93	P.Sft		RS: 2025272/-

07/-	Galvanized wire gauze  fixed to chowkats with ¾” thick deodar steps and screwa.

Qty: 1135 Sft	@RS: 190.72	P.Sft		RS: 216467/-

08/-	Supplying and fixing in position iron/steel grill of ¾” x ¼” size flat iron of approved design including painting 3 coats etc complete (Weight or not less than 3.7 Lbs/sq feet of finished grill)(S.I.NO.27 Page No.97)

Qty: 766 Sft	@RS: 180.50	P.Sft		RS: 138263/-

09/-	M/F Grating in openings i/c fixing @ site into flat iron 2’x3/8” and ¾” sq: base @ 4”c/c etc.

Qty: 1241 Sft	@RS: 293.15	P.Sft		RS: 363799/-

10/-	P/F deodar Alimirah 9”-12” depth i/c  boxing with back shelves shutters brass fitting

Qty: 98 Sft	@RS: 1778.50	P.Sft		RS: 174293/-

11/-	S/F false ceiling of plaster of  paris, in panels i/c making frame, work of deodar wood i/c painting with soligia paint.(S.I.NO.52 Page No. 72)

Qty: 767 Sft	@RS: 25293.42  % Sft		RS: 194000/-

12/-	P/F plaster of pairs ceiling border of 8”-10” with of specified design & thickness i/c fixing besides ceiling with nails screws with getties.(S.I.No.44 P.No.45)

Qty: 61 Rft	@RS: 104.22	P.Rft		RS: 16779/-

13/-	White washing 03 coats.

Qty: 13310 Sft	  @RS: 829.95	 % Sft		RS: 110466/-

14/-	Preparing the surface and painting with matt finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of  paris mixture, applying first coat  premix, making the surface smooth and then painting 3 coats with matt finish  of approved make etc: complete .(new surface).(S.I NO: 36)

Qty: 50159 Sft	@RS: 3444.38	% Sft		RS: 1727666/-

15/-	Painting the surface  preparing surface surface and  painting  of door & window any type including  edges of 03 coats.

Qty: 4486 Sft	@RS: 2116.41  % Sft		RS: 94942/-

16/-	Painted sashes, fan lights, glazed or gauzed , doors and windows.(s.i no: 4(B) P68)

Qty: 1135 Sft	@RS:896.39	% Sft		RS: 10174/-

17/-	Providing & fixing colour crete jto wall surface to provide, durable crust and aesthetics having thickness upto 3/4" with specified colour having water, fire and temite resistance (upto 20' -0 height).(s.i no: 44  -56)					1x2(173.83+96.0)x18.50	=	9983	sft

Qty: 9728 Sft	@RS: 6319.50	% Sft		RS: 614761/-

=====================================

Total					RS: 18588512/-

CONTRACTOR					   EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD