SCHEDULE-B            M/R TO SESSION JUDGE BUNGALOW @ KHAIRPUR

| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01/- | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 including rubbing and polishing of the joints.(S.I NO: 28 P.NO: 43) |  |  |  |  |  |  |  |
|  |  |  | = | 2272 | “ | 567.48 | P.Sft | 1289314/- |
| 02 | Providing and fixing 3/8" thick marble tiles of approved quality and color and shade size 8" x 4" /6" x 4" in dado skirting and facing removal /tucking of existing plaster surface etc. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry , currant finishing, cleaning and polishing etc. complete.(S.I NO: 68 P.NO: 49) |  |  |  |  |  |  |  |
|  |  |  | = | 120 | “ | 186.04 | P.Sft | 22325/- |
| 03 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile.(S.I NO: 60 P-47) |  |  |  |  |  |  |  |
|  |  |  | = | 2322 | “ | 30509.77 | % Sft | 708437/- |
| 04 | Preparing the surface and painting with matt finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete .(new surface).(S.I |  |  |  |  |  |  |  |
|  |  |  | = | 5168 sft | Sft | 2499.76 | % Sft | 129188/- |
| 05 | Painting Doors & windows any type etc |  |  |  |  |  |  |  |
|  |  |  | = | 866 | “ | 1160.06 | % Sft | 10051/- |
| 06 | First class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc.(1 3/4" thick)(S.I NO: 7 P-58) |  |  |  |  |  |  |  |
|  |  |  | = | 49 | Sft | 902.93 | P.Sft | 44244/- |
|  |  |  | = |  |  |  |  |  |
|  |  |  |  |  | ============================= |  |  |  |
|  |  |  |  | Total |  |  |  | 2203564/- |

CONTRACTOR					        EXECUITIVE ENGINEER

PROVINCIAL BUILDING DIVISION

SHAHEED EBNAZIR ABAD