### Total No. of Sheets: 13

### TERMS & CONDITIONS

Re-Tender No: 49/2016 dated:  02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply, Installation and Expansion of Existing CCTV System with following items.

Cameras = 128-Nos, LED 55” = 12-Nos, NVR = 04-Nos, Cabling  (As per installation requirement)

- Cost of Tender is Rs. 1000/- (Rupees One Thousand only) [Not refundable].

- Tender Selling Date from 17-10-2017 to 31-10-2017.

- Tender Submission Date 02-11-2017 before 11:30 a.m (in Procurement Department)

- Tender will be opened on 02-11-2017 at 12:00 Noon in Conference Hall/Nursing Hostel Building of NICVD, Karachi.

NOTE:

Read the Terms & Conditions carefully.

Tenderers are required to comply all the clauses mentioned in the Terms and Conditions of the tender and any deviation will forbid them in competing the tender.

1.	In this tender TWO Envelopes procedure of SPPRA-2010 46(2,a) will be followed i.e. (i) The bid shall comprise two separate envelopes. Each envelope shall contain separately the financial proposal and the technical proposal (ii) The envelopes shall be marked as “Financial Proposal” and “Technical Proposal” in bold and legible letters to avoid confusion each envelope should be dropped in separate box (iii) initially, only the envelope marked “Technical Proposal” shall be opened (iv) The financial proposals of bids will opened publicly, time date and venue will be announced later.

- In Technical Bid, the bidder must provide copy of pay order of Bid Security with hiding of amount shall be attached, original data sheet and technical brochure and all other documents; otherwise, the bid will be ignored. The technical evaluation will be done on the basis of data sheet provided by the vendor as per technical bid.

- In Financial Bid, the vendor should mention financial offer along with a Bank Draft/Pay Order of 1% value of the quoted item, in the name of Executive Director, NICVD, Karachi, as Bid security and it will not be released till complete supply of items of the tender. In case the tender is accepted by competent authority and the supplies are not made according to samples/specification within stipulated time (i.e. 20days) the bid security for the tender would be forfeited to the NICVD account. In case of default the firm may be black listed or financial penalties may be imposed depending upon the gravity of defaults/circumstances in each case as mentioned in Ministry of Health letter No. F.11.9/96-PHC of June 04, 1996. In-time supply must be assured

- The disclosure of firm’s equipment price at the time of opening of technical bid will result in the rejection of the bid.

- No tender will be entertained without bid security, The bid security will be forfeited to Government Accounts in case of non-submission of security money within seven (7) days of receipt of the other letter.

- No tender will be entertained without bid security. Conditional Tender(s)will not be accepted.

- The previous bid security or security money will not be carried forward. If any tenderer encloses a cheque with the tender their tender will be rejected out rightly. In case it is found at tender opening or at later stage that pay order is fake tender/contract will be cancelled and firm will be black listed from future participation in tender security money will be forfeited and their name will also be circulated in other Fed. Govt./Semi Govt. Autonomous/Semi Autonomous Deptt. For severe action.

- In case any tenderer after the tender is awarded, failed to deposit security money or refuses to execute the contract after tender awarding within the given period not only his bid security (pay order) or security money will be forfeited but the differences between the Ist & 2nd lowest will also be recovered from the Ist lowest tenderer by cancellation of his tender, failing which he will be black listed in future participation in tender. His name will also be circulated in Govt./Semi Govt. Autonomous/Semi Autonomous etc. for similar action.

- Only Manufacturer, Sole Agent can participate in the tender.

- The rates once mentioned in tender will be final and no change therein will be accepted after the tender opening. Rates should be inclusive with sales tax on taxable articles. In case of any inconvenience the Executive Director NICVD Karachi reserves the right not to announce the tender rates or otherwise. If any scheme regarding discount in price or given any product free with the items whatever which benefit will go to this Institute.

- The rate should be quoted on FOR Basis.

- First Scrutiny of technical bids will be performed by the technical committee. Financial Bids of those firms will be opened which qualify technically.

- The equipment offered must be of latest version/generation and in case the old model is offered, it will not be considered, even though it is as per the tender specifications.

- Quality Assurance Tools/test equipment availability with local tenderer for PPM (Periodic Preventive Maintenance) and periodic calibration along with list of test tools with calibration validity be provided by firms before entering in the agreement.

- Certificate from the Sole Agent/Manufacturer that the vendor has fully equipped workshop, along with the list of Trained Personnel/Engineers and Equipment should be provided with technical bid and it can be physically verified by the Technical committee of NICVD, Karachi.

- The successful bidder will be required to submit security money in shape of pay order/ deposit at call @ 5% of the total value of order in the name of NICVD, Karachi within Seven (7) days which will be kept with NICVD till the end of the Warrantee period of Three (3) years.

- Firm must provide complete details of their financial standing, listing of similar equipment supplied in Pakistan, bio-data of engineers with training certificates/test equipment, details of local stock of spare parts for similar equipment and details of office with number of personals.

- The vendor will provide technical / end user from factory trained engineers. The supplier should provide detail of training program.

- All equipment to be supplied should be accompanied with Three (3) original copies of the operation, service / maintenance and schematic diagram and spare parts list manual in the English language.

- The vendor has to quote only one rate for each item as per tender specifications. No alternate model will be accepted, only first offer will be considered. Hand written tenders or any over writing, cutting, erasing will liable to be ignored.

- Bid validity period will remain for 90 days as per SPPRA rules 2010.

- The bidder shall submit with the bid, an Undertaking on judicial paper, stating that the equipment to be supplied is brand new and of latest generation, free from defects in design material and workmanship and will bind himself for availability of spares for a period of 10 years from the date of supply. In case of winding up of his business, the supplier shall be bound to make an alternate arrangement of spares and maintenance of equipment. In case of default, depreciated cost of equipment will be recoverable from him.

- Vendor will be responsible for pre-requisition installation, free of cost and also responsible for pre-installation work, if required.

- Price escalation will not be allowed.

- The original tender purchase receipt issued by the NICVD should be submitted along with Technical Bid.

- If vendor doesn’t supply equipment in accordance with the supply order or fails to supply according to terms and conditions or incase of any other default, it will be black listed and the bid security will be forfeited.

- If the supplier fails to give supply and install within the stipulated period, penalty will be imposed @ 0.1% of the total value of equipment per day, subject to a maximum of 10%.

- The decision once taken will be final and will not be challenged in any court of law.

- The payment will be made after getting the Satisfactory Report of the Incharge of Maintenance Department.

- Income tax will be deducted according to Government Rules. A Copy of income Tax and GST Registration Certificate should be submitted along with Technical Bid.

- Conditional tender(s) and Hand written tender(s) will not be entertained.

- All equipment should be Dicom Compatible, if applicable, and must be FDA or CE marked.

- The Vendor should submit a Data Sheet according to the Tender Specifications Format mentioned in the tender and highlight the tender specifications in their Technical Data Sheet. Additional Feature can be mentioned separately.

- The vendor should attach copy of last three year Income Tax return. Original copy should be provided on request.

- The attached questioner Performa must be properly filled and should be complete in all respect. In case questioner Performa is incomplete or information provided are incorrect, the tender shall be rejected.

- The Executive Director NICVD reserves the right to reject or accept any / all tender(s) without assigning reason thereof and the decision of the competent Authority will be final.

- Tender which does not fulfill the prescribed conditions in the tender is liable to be ignored.

- The Executive Director, NICVD, Karachi, reserve the right to increase or decrease the quantity mentioned in the tender.

- All amendments charges in the L/C will born by the tenderer/tender winner.

- Certification that no Government servant has directly or indirectly has a share or interest with our firm.

I / We agreed above mentioned terms & conditions:

Note:

Only one representative of a firm who has been authorized will be present at the time of opening of tender.

Name of Contractor ______________________________ Signature______________

Full Address__________________________________________________________.

Contact person Name:	___________________________

CNIC #			___________________________

Postal Address		___________________________

E-mail Address		___________________________

Stamp			___________________________

Phone No.		___________________________

Fax No.			___________________________

Mobile No.		___________________________

WITNESSES

1. __________________________________

2.__________________________________

### ANNEXURE- “A”

### DATA SHEET

RE-TENDER NO. 49/2016 DATED 02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

| S.NO | A- MANDATORY | Tick relevant box |
| --- | --- | --- |
| 1 | Name, Address, Tel, Fax #, E-mail Address |  |
| 2 | National tax Number (NTN) |  |
| 3 | Latest Income Tax Certificate or Income Tax exemption certificate. |  |
| 4 | Latest GST/SST Certificate or exemption certificate. |  |
| 5 | Name of Banker with Current Bank statement. |  |
| 6 | Copy of Bid Security (1% of Bid Value of the quoted items) As per clause no 1-b. (Original with commercial bid). |  |
| 7 | List of litigation with clients (if any) and nature of litigations. |  |
| 8 | Affidavit that the firm has never been black Listed. |  |
| 9 | Detail of Registration with major organizations |  |
| 10 | Original tender purchase receipt. |  |
| 11 | Original terms and conditions duly signed and stamped. |  |
| 12 | Each page should be signed and stamped by competent authority. |  |

TOTAL MARKS:100

TECHNICAL EVALUATION

RE-TENDER NO. 49/2016 DATED 02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Bidders provide all following documents:-

| S.NO | Descriptions | Total Points | Yes | NO |
| --- | --- | --- | --- | --- |
| 01 | Quoted Equipment is as per specification – No major deviation. | 20 | 20 | 00 |
| 02 | Bidder is in business since last 2 years. | 10 | 10 | 00 |
| 03 | Firm’s last year business turnover is atleast 5 million. | 10 | 10 | 00 |
| 04 | Client list contain client whose business turnover is 100 million. (At least one Client) | 10 | 10 | 00 |
| 05 | Warranty as per Specification. | 10 | 10 | 00 |
| 06 | Firm should have its office in Karachi with service workshop. | 10 | 10 | 00 |
| 07 | Staff list contain atleast 3 service Engineer | 10 | 10 | 00 |
| 08 | Equipment quoted must contain certification | 10 | 10 | 00 |
| 09 | Bidder must provide the following documents. - Affidavit that the firm has never been black Listed. - A certificate that the firm will abide all terms and conditions of the tender infringement for consequence as recommended by the competent authority. - Certificate that the prices quoted are not high or more than local/imported market. - Bio Data of key personnel / staff strength with designation, education & experience and details of man power. | 10 | 10 | 00 |

Note: Qualifying marks at technical stage is 70 out of 100 (i.e. 70%)

### TENDER SPECIFICATIONS

Re-Tender No: 49/2016 dated: 02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

| BOQ (Technical) For N.I.C.V.D. CCTV Project |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CCTV Brand = Dahua / HIK or equivalent |  |  |  |  |  |  |
| S# | Work/Item Description | Unit | Qty | Make | Unit Price | Total Amount |
| 1 | Fiber support SFPs Giga bit POE Switch. These must be compatible with the access switches SFPs, direct cable is to be used to connect the access switch will centralisation switch in CCTV control room. 08/16 Port with Enclosure. | No | 08-Port = 16, 16-Port = 05 |  |  |  |
| 2 | NVR 32 channel rack mount N1-E4, 32 Channel non PoE with 16 TB surveillance grade storage, From OEM/Seagate or equivalent. | No | 4 |  |  |  |
| 3 | 4MP Dome IP Camera night vision with default lense and installation and mounting. | No | 16 |  |  |  |
| 4 | 4MP Bullet IP Camera night vision with default lense and installation and mounting. | No | 96 |  |  |  |
| 5 | 3MP PTZ IP Camera night vision with 36x Zoom default lense and installation with bracket and mounting with PTZ controller. |  | 4 |  |  |  |
| 6 | Fiber Optic Components |  |  |  |  |  |
| 7 | Rack Mounted ODF (4 Ports, Loaded) | No | 5 |  |  |  |
| 8 | Rack Mounted ODF (24 Ports, Loaded) | No | 1 |  |  |  |
| 9 | Single Mode FiberOptic Cable OM3 (50/125) *Laser Optimized* Minimum 04 Core from security room to each network node. | ft | 2000/As per actual |  |  |  |
| 10 | Fiber cable secure laying with protection of rodents. The job include all accessories such as PVC Dura Duct (Adamjee or equivalent), PVC Conduit and other pipe End to end splicing, termination, labelling job, cable management and OTDR report, 4 Cores of fiber must be spliced in all switch rooms and in CCTV control room. | job | 1 | Services |  |  |
|  | UTP Components |  |  |  |  |  |
| 11 | Pure copper UTP CAT-6e Cable | ft | 18000/As per actual |  |  |  |
| 12 | CAT-6e 24 Port fully loaded patch panel | No | 6 |  |  |  |
| 13 | Cable management 1U Unit | No | 8 |  |  |  |
| 14 | Branded 27U Rack (600x600) with 3 x Tray, 2 x Fans and 1 x branded 6 way all usage PDU. | No | 1 |  |  |  |
| 15 | Cat-6a, 4 Pair RJ-45 to Rj-45, Factory certified colored patch Cord, 3mtr. | No | 60 |  |  |  |

| 16 | Rack installation / Mounting, UTP cabling, Ducting, Piping, Termination, Tagging / Labling proper cable Harnessing / Organizing with Fluke meter testing, Installation of I/O, UTP cable laying using PVC Dura Duct (Adamjee or equivalent), PVC, Conduit and other pipes. | job | 1 | Services |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 17 | LED 55" with HDMI, VGA and Power cable, Samsung or equivalent. | No | 12 |  |  |  |
| 18 | LED 55" Installation and wall Mounting kit with mounting, Samsung or equivalent. | Job | 12 |  |  |  |
| 19 | computer Intel Core i7-6th Gen Processor (6100U - 3M Cache, 2.30 GHz) with 20" LED, keyboard / mouse | Set | 4 |  |  |  |
| 20 | 10KVA Online UPS with 60 Min. backup. | No | 1 |  |  |  |

Re-Tender No: 49/2016 dated: 02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

| BOQ (Commercial) For N.I.C.V.D. CCTV Project |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CCTV Brand = Dahua / HIK or equivalent |  |  |  |  |  |  |
| S# | Work/Item Description | Unit | Qty | Make | Unit Price | Total Amount |
| 1 | Fiber support SFPs Giga bit POE Switch. These must be compatible with the access switches SFPs, direct cable is to be used to connect the access switch will centralisation switch in CCTV control room. 08/16 Port with Enclosure. | No | 08-Port = 16, 16-Port = 05 |  |  |  |
| 2 | NVR 32 channel rack mount N1-E4, 32 Channel non PoE with 16 TB surveillance grade storage, From OEM/Seagate or equivalent. | No | 4 |  |  |  |
| 3 | 4MP Dome IP Camera night vision with default lense and installation and mounting. | No | 16 |  |  |  |
| 4 | 4MP Bullet IP Camera night vision with default lense and installation and mounting. | No | 96 |  |  |  |
| 5 | 3MP PTZ IP Camera night vision with 36x Zoom default lense and installation with bracket and mounting with PTZ controller. |  | 4 |  |  |  |
| 6 | Fiber Optic Components |  |  |  |  |  |
| 7 | Rack Mounted ODF (4 Ports, Loaded) | No | 5 |  |  |  |
| 8 | Rack Mounted ODF (24 Ports, Loaded) | No | 1 |  |  |  |
| 9 | Single Mode FiberOptic Cable OM3 (50/125) *Laser Optimized* Minimum 04 Core from security room to each network node. | ft | 2000/As per actual |  |  |  |
| 10 | Fiber cable secure laying with protection of rodents. The job include all accessories such as PVC Dura Duct (Adamjee or equivalent), PVC Conduit and other pipe End to end splicing, termination, labelling job, cable management and OTDR report, 4 Cores of fiber must be spliced in all switch rooms and in CCTV control room. | job | 1 | Services |  |  |
|  | UTP Components |  |  |  |  |  |
| 11 | Pure copper UTP CAT-6e Cable | ft | 18000/As per actual |  |  |  |
| 12 | CAT-6e 24 Port fully loaded patch panel | No | 6 |  |  |  |
| 13 | Cable management 1U Unit | No | 8 |  |  |  |
| 14 | Branded 27U Rack (600x600) with 3 x Tray, 2 x Fans and 1 x branded 6 way all usage PDU. | No | 1 |  |  |  |
| 15 | Cat-6a, 4 Pair RJ-45 to Rj-45, Factory certified coloredpatch Cord, 3mtr. | No | 60 |  |  |  |

| 16 | Rack installation / Mounting, UTP cabling, Ducting, Piping, Termination, Tagging / Labling proper cable Harnessing / Organizing with Fluke meter testing, Installation of I/O, UTP cable laying using PVC Dura Duct (Adamjee or equivalent), PVC, Conduit and other pipes. | job | 1 | Services |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 17 | LED 55" with HDMI, VGA and Power cable, Samsung or equivalent. | No | 12 |  |  |  |
| 18 | LED 55" Installation and wall Mounting kit with mounting, Samsung or equivalent. | Job | 12 |  |  |  |
| 19 | computer Intel Core i7-6th Gen Processor (6100U - 3M Cache, 2.30 GHz) with 20" LED, keyboard / mouse | Set | 4 |  |  |  |
| 20 | 10KVA Online UPS with 60 Min. backup. | No | 1 |  |  |  |

SUPPLIERS QUESTIONNAIRE / PERFORMA

(To be filled in by the vendor)

Equipment _______________________________ Model ______________________

Manufacturer _____________________________ Supplier ____________________

1-  Year of Introduction of the offered model:			_______________

Version (if same model revised):				_______________

- Number of equipment installed

(Please provide Names of institution for

Pakistan / Islamabad).

-	World wide.					________________

-	In Pakistan.					________________

-	In Islamabad/Rawalpindi.				________________

3-	Manuals to be provided:					Yes		No

-	Service.						_____		_____

-	Parts List					_____		_____

-	Electrical Drawing / Schematics			_____		_____

-	Operational / Application				_____		_____

4-	Spare parts Availability Guarantee (No of years)		______________

5-	Source of spares availability				Lead time

-	Local						________

-	Overseas					________

6-	Equipment life period (number of years)			________

7-	Do you hold specialized tools/test equipment required for.

-	Maintenance					Yes	No	N/A

-	Calibration					____	____	____

Please provide list of tools / test equipment including their calibration status on a separate sheet.

8-	Annual Maintenance contract Price:

-	Parts and Labor:			_____________

-	Labor without parts:		_____________

- On call service charges:

-	Minimum			_____________

-	Per day				_____________

- In case of in house maintenance by NICVD engineers are you willing to

Provide following during post warranty period.

-	Back up engineer support whenever requested	Yes		No

-	Prompt supply of spares/consumables		______		______

11	Are you authorized representative of manufacturer	   	__________             __________

12	No of Factory trained engineer available

Locally on offered equipment(provide training

Certificate & years of experience).			  _______________________

13-	Total number of years in business:			  ________________________

- Warranty period (Please provide following details):

-	Uptime Guarantee:				_______________%

-	Response time to maintenance requested		_______________Hrs.

-	No of PPM/Year:					_______________

-	Any other:					_______________

- Do you have any objection/concerns to use similar		Yes		No

Specification spares of alternate/other manufacturer	   	________               ________

during warranty of maintenance contract(if available)

16-	Comprehensive NICVD Engineer Training			Yes		No

if yes state what included					_____		______

-	Training Fees					_____		______

-	Airfare						_____		______

-	Boarding/Lodging				_____		______

-	Free of charge					_____		______

-	None of the above				_____		______

- Up-gradation possibility.

-	Hardware					______		______

-	Software					______		______

If above has any cost please provide the details of up-gradation with estimated price.

________________________________________________________________________

________________________________________________________________________

Please state safety standard conformance (e.g IEO 601,FDA, AAMI etc):

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

- Pre-Installation services requirements:

Power:	__________________________ KW

Voltage:	__________________________ Single/Three phase

Gas:	__________________________ Cuft/hr

Water:	__________________________ Galleons/Liter/Hour

__________________________ PSI (Pascal)

(If pre-treated water required, please provide details)

Air _________________PSI		Vacuum ______________mmgh

Other:__________________________________________________

(e.g. Drain, Exhaust, Physical facility change etc)

Installation time:						_____________________

Installation/commissioning by whom:				_____________________

- Environmental Parameters Limits:

  - Temperature ____________ to _______________ centigrade / Fahrenheit

  - Humidity _______________ to _______________ %RH

IEC 601- International Electro Technical Commission (Code 601)

AAMI	- American Association for medical instrumentation.

- Any other specific requirement (e.g. UPS. Voltage Stabilizer etc. provide details):

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

- Briefly state facilities and benefits provided during warranty period.

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

22-	Please give the rates of consumable, Disposable items and parts required for proper functioning of Machine/equipment life period of each item (in days/months).

______________________________________________________________________

______________________________________________________________________

### TENDER PROFORMA FOR COMMERICAL BID

Re-Tender No: 49/2016 dated 02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply, Installation and Expansion of Existing CCTV System with following items.

Cameras = 128-Nos, LED 55” = 12-Nos, NVR = 04-Nos, Cabling  (As per installation requirement)

| Sr.# | Description | Specification of Quoted items | Qty. | Unit | Model # | Make | Country of Origin. | Rate per Unit F.O.R. Price | Delivery Period | Warranty |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature															                                                               Official Seal

### TENDER PROFORMA FOR TECHNICAL BID

Re-Tender No: 49/2016 dated: 02-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply, Installation and Expansion of Existing CCTV System with following items.

Cameras = 128-Nos, LED 55” = 12-Nos, NVR = 04-Nos, Cabling  (As per installation requirement)

| Sr.# | Description | Specification of Quoted items | Qty. | Unit | Model # | Make | Country of Origin. | Availability of Parts (Yes/No) | Warranty | Delivery Period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature															                          Official Seal