## Summary of Cost
Establishment of Government Monotechnic Institute, Golarchi
SUMMARY OF COST
| 1 | Civil Work ( Schedule Item ) | Rs
| 2 | Civil Work ( Non Schedule Item ) | Rs
| 3 | Civil Work ( Ext:Development work Schedule.Items ) | Rs
| 4 | Civil Work ( Ext: Development work N.S.Items ) | Rs
| 5 | Electrical Work ( Schedule Item ) | Rs
| 6 | Electrical Work ( Non Schedule Item ) | Rs
Total Rs

## Civil Work
Bill of Quantity
Establishment of Government Monotechnic Institute, Golarchi Civil Work ( Schedule Work )
BOQ Item No. | Item Description | BOQ Quantity | Unit | Rate | BOQ Amount
A.1
1 | cement concrete plain including placing cmpacting, finishing and curing complete (including screening and washing at ston aggregate without. Ratio 1:2:4 (S.I.No 5(f) p.16) | 114.41 | %SFT | 14429.25 | 16508.5049
2 | Making & Fixing barbed wire fencing including R.C.C posts upto 4 horizontal and across wires (S.I.No 7 P-No-95) | 5500 | %Lft | 25283.36 | 1390584.8
3 | Providing & Fixing angle iron vertical plsts for barbed wire fencing of size 2" x2" x 1/4" embedded in RCC/Masonry pillers I/C making cuts/ holders @ 12" I/C fixing in pillers by chiseling and filling the with cement sand morter , seprining & finishing the surface (S.I.No 8 P-No-95) | 850 | P-Rft | 169.18 | 143803
|  |  | Total Rs |  | 1550896.3049
| Sub Total |  | Rs=
| ________ % below / above |  | Rs=
| Cost of Civil Work (Schedule Works) |  | Rs=

## Civil Non Schedule
Bill of Quantity
Establishment of Government Monotechnic Institute, Golarchi Civil Work ( Non Schedule Work )
BOQ Item No. | Item Description | BOQ Quantity | Unit | Rate | BOQ Amount
A.1
1 | Providing And laying National tiles glazed on floor or wall facing in required colour and apttern of STILEspecification jointed in white cement and pigment over a base of 1:2 grey cemeng mortar 3/4" thick including washing and filling of joint with slaurry of white cement and pigment in desired shape withfinishing, clearing and cost of wax polish etc. complete including cutting . | 16000 | P-Sft
2 | Providing & fixing steel Railing for car poarch at out side porch as required | 300 | P-Rft
3 | Making and fixing ( Poly technical institute ) Name and logo mounted and board as per instruction of architect and site engineer incharge | 2 | Each
Total Rs

## Civil Ext;Dev.S.Items
Bill of Quantity
Establishment of Government Monotechnic Institute, Golarchi External Development (Schedule Items) ( Civil Work )
BOQ Item No. | Item Description | BOQ Quantity | Unit | Rate | BOQ Amount
A.1
1 | Excavation in foundation of building and structure i/c dagbelling dressing around the structure with excavated earth watering a dreaming lead upto one chain & lift upto 5 fts.(S.I.No 18(b)P.4). | 1650 | %0CFT | 3176.25 | 5240.8125
2 | Cement concrete or stone ballast 1 ½ “ to 2” gauge ratio 1:4:8(S.I.No-4(b)P14) | 2953.5 | %CFT | 9416.28 | 278109.8298
3 | Errection and removal of centering for R.C.C or plain cement concrete work of deodar wood (2 nd Class) ( S.I.No 19 (ii) P-No 18 ) | 2750 | %SFT | 7000 | 192500
4 | cement concrete plain including placing cmpacting, finishing and curing complete (including screening and washing at ston aggregate without. Ratio 1:2:4 (S.I.No 5(f) p.16) | 1375 | %SFT | 14429.25 | 198402.1875
5 | cement concrete plain including placing cmpacting, finishing and curing complete (including screening and washing at ston aggregate without. Ratio 1:3:6 (S.I.No 5(h) p.16) | 2541 | %SFT | 12595 | 320038.95
6 | Providing and fixing cement paving blocks flooring having size of 197x97x80 (mm) of city / quddra / cobble shape with pigment having strength b/w 5000 psi to 8500 psi I/C filling the joints with hill sand and laying in soecified manner / patter and design etc complete. S.I.No 74 P-No 50) | 9000 | P-RFT | 248.17 | 2233530
|  |  | Total Rs |  | 3227821.7798
| Sub Total |  | Rs=
| ________ % below / above |  | Rs=
| Cost of Civil Work (Schedule Works) |  | Rs=

## Civil Ext;Dev N.S.Items
Bill of Quantity
Establishment of Government Monotechnic Institute, Golarchi External Development (Non Schedule items) ( Civil Work )
BOQ Item No. | Item Description | BOQ Quantity | Unit | Rate | BOQ Amount
A.1
1 | Filling watering and ramming earth under floor with new earth from out side up to one chain and lift upto 5 feet as required as per instruction by Engineer incharge. | 165000 | P-Cft
Total Rs

## Electrical Work Schedule It
Bill of Quantity
Establishment of Government Monotechnic Institute, Golarchi Electrical work ( Schedule Items )
BOQ Item No. | Item Description | BOQ Quantity | Unit | Rate | BOQ Amount
1 | Wiring for light or fan point with 1/1.13 (3/0.29) PVC insulated wire in (3/4") Conduit recessed in the wall or Column etc complete. (S.I.No. 124/P-15) | 200 | Each | 1130 | 226000
2 | Wiring for plug point with 1/1.13 (3/0.29) PVC insulated wire in recessed in the wall etc complete. (S.I.No. 126/P-15) | 35 | Each | 669 | 23415
03 | Wiring for call bell point with 1/1.13 (3/0.29) PVC insulated wire in recessed in the wall etc complete. (S.I.No. 128/P-15) | 19 | Each | 1764 | 33516
04 | Wiring for mains with 2 - 7/0.29 PVC insulated wire in recessed in the wall etc complete. (S.I.No. 10/P-2) | 800 | P/Meter | 222 | 177600
05 | Wiring for mains with 2 - 7/0.44 PVC insulated wire in recessed in the wall etc complete. (S.I.No. 12/P-2) | 700 | P/Meter | 341 | 238700
06 | P/F flush type 2 pin 5 amps single phase plug socket switch & shoe unit on prepared board .(S.I.No. 225/P-33) | 35 | Each | 83 | 2905
07 | P/F AC one way single phase 10/15 amps switch flush type on a given prepared board. (S.I.No. 219/P-33) | 200 | Each | 54 | 10800
08 | P/F Street Light 400 watts classification with 400 w lamp, choke ,capacitor & internal wiring complete in all respect as required.(S.I.No. 168/P-26) | 4 | Each | 26330 | 105320
09 | P/F Circuit breaker 15,20,30,and 100 amps triple pole including fixing as required (S.I.No. 207/P-31) | 15 | Each | 9261 | 138915
10 | P/F Brass Battern holder. (S.I.No. 232/P-33) | 175 | Each | 70 | 12250
11 | P/F SW baklite ceiling rose on SW board. (S.I.No. 228/P-33) | 115 | Each | 72 | 8280
|  |  | Total Rs: |  | 977701
| Sub Total |  | Rs=
| ________ % below / above |  | Rs=
| Cost of Civil Work (Schedule Works) |  | Rs=

## Electrical Non Schedule Item
Bill of Quantity
Establishment of Government Monotechnic Institute, Golarchi Electrical work ( Non Schedule Items )
BOQ Item No. | Item Description | BOQ Quantity | Unit | Rate | BOQ Amount
1 | P/F AC ceiling fan regulator on metal board recessed in the wall. | 60 | Each
2 | Provinding and Laying (Main or sub Main ) 4x10 mm 2 PVC insulated 300/500 volts grade with standared copper conductor wire in 30 mm conduit recessed in the wall or coloum as required | 100 | Meter
3 | P/F 15 amps single phase 3 pin power plug socket switch & shoe unit with fancy gang plate fixed in wall or coloum. | 15 | Each
4 | P/F 5/10 amps S P switch Polycarbonate frame with fancy type superior quality i/c necessary electric connection recessed in the wall or coloum as required.
| Four Gang switch | 11 | Each
| Six Gang switch | 10 | Each
| Eight Gang switch | 12 | Each
| Ten Gang switch | 15 | Each
5 | P/F Basic Batten, surface type fitting complete with 2x36 w /coloured / day light lamp starter chocke etc complete as required. fixing on wall or ceiling ete complete | 10 | Each
6 | P/F 8"/10" ceiling globe fitting complete glass / fiber shade with brass batten holder superior quality i/c 23 watts energy saver on wall or ceiling ete complete | 70 | Each
7 | Making hole of Exhoust fan 12 " size with cutting plaster of the wall and finish good the same as required | 2 | Each
8 | P/F 12" sweep Matalic body Exhoust fan complete with blades flexible wire complete in all respect as required. | 2 | Each
9 | P/F heavy gauge Matalic shutter suitable for 16 " sweep Exhoust fan complete complete in all respect as required. | 2 | Each
10 | P/F 50mm dia pvc pipe under flooor cable tranch including installation complete in all respect as per instruction of Engineer in-charge | 100 | Each
11 | P/F Wall / Floor / Flush type Main Electric panal board with heavy gauge sheet ,dully painted with superior quality paint after degreasing and phyosphating process,with equipped with following accessories.
1set controll wiring Bus Bar
Neutral connecting terminals
indicator lamp
phase selector switch
Earth connecting switch
300 amps circuit breaker
| 100 amps c.b 6 nos | 1 | Each
12 | P/F Wall / Floor / Flush type Main Electric panal board with heavy gauge sheet ,dully painted with superior quality paint after degreasing and phyosphating process,with equipped with following accessories.
1set controll wiring Bus Bar
Neutral connecting terminals
indicator lamp
phase selector switch
Earth connecting switch
63 amps circuit breaker
| 15 amps c.b 20 nos | 2 | Each
13 | P/F Fancy ceiling mount light for porch imported make as per choice of architect / engineer including the cost of energy saver lamp, holder complete in all respect as requiredn all respect. | 100 | Each
14 | P/F Capsol light fancy type superior quality i/c necessary electric connection and fixing on wall or ceiling ete complete | 60 | Each
15 | P/F Energy saver superior quality ete complete | 320 | Each
16 | P/F Ceiling fan 56" sweep complete in all respect as required (S.I.No- 235 P-34 ) | 60 | Each
17 | P/F Electric water cooler totally rust proof, pressure type with stainless steel body as approved by Engineer in-charge | 2 | Each
18 | P/F of wall mounted spit type Air Conditioner 1.5ton18000 BTU 220 volts A.C supply complete with inner and outer fixing of angle iron ets as required as approved Make Gree Haier by Engineer in-charge | 2 | Each
Total Rs