SCHEDULE –B

PROVIDING, LAYING, JOINTING AND TESTING OF P.E PIPE 4" DIA FOR PROVIDING WATER SUPPLY FACILITIES FROM MALANHORE PUMPING STATION TO OLD SETTLEMENT OF MALANHORE VENA (PART-I)

| 1. | Dismantling and removing road mantling. |
| --- | --- |

48.00 Sft			@ Rs. 605/=			P% Sft			          Rs. 290/=

(Rupees Six Hundred Five ) only( Per Hundred Sft)

| 2. | Providing, laying and fixing in trenches i/c fitting, jointing and testing etc complete in all respect the high density polyethylene P.E Pipe (HDPE-100) for W/S confirming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 PN 10(OD90 mm) |
| --- | --- |

4" Dia

2300.0 Rft		@ Rs. 268/=			P.Rft			          Rs. 6,16,400/=

(Rupees Two Hundred sixty Eight ) only( Per Rft)

| 3. | Butt fusion joint |
| --- | --- |

(110-160)

2 Joint 			@ Rs. 1000/=  			P.Joint			         Rs. 2,000/=

(Rupees One Thousand ) only( Per Joint)

| 4. | Stub End Piece (PN-10) |
| --- | --- |

110mm

2 Joints 			@ Rs. 2020/=  			P.Joint			         Rs. 4,040/=

(Rupees Two Thousand Twenty) only( Per Joint)

| 5. | C.I sluice valve heavy pattern test pressure 21 kg/sq:cm or 300 lbs/sq: inch. |
| --- | --- |

4" Dia

01 No:			@ Rs. 5460/=			Each			         Rs.5,460/=

(Rupees Five Thousand four hundred sixty ) only( Per Each)

| 6. | Cast iron special for A.C pressure pipe (Standard Weight A.C.I.L “B” Class) |
| --- | --- |

(i)	Short Piece/Tail Piece

4" dia

02 Nos:			@ Rs. 487/50  		  	Each			        Rs. 975/=

(Rupees Four Hundred Eighty seven and								  paisa fifty )  only( Per Each)

(ii)	C.I Tee 4" x 4" x  3"

01 Nos:			@ Rs. 1037/50    			Each			        Rs. 1,038/=

(  Rupees One Thousand Thirty Seven and							              paisa Fifty )  only( Per Each)

| 7. | Providing and fixing M.S flange made of M.S plate having a thickness and total weight as mentioned against each item. It includes the cost of making holes, facing, welding, nuts bolts, rubber packing, white lead, fitter cartage etc complete. |
| --- | --- |

4" dia

02 Nos:			@ Rs. 1148/=  			Each			        Rs. 2,296/=

(  Rupees One Thousand one Hundred									 Forty Eight ) only( Per Each)

| 8. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc.. complete |
| --- | --- |

4" dia

2 Joint			@ Rs. 513/=  			P.Joint			         Rs. 1,026/=

(  Rupees Five Hundred Thirteen ) only( Per Joint)

| 9. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). |
| --- | --- |

4" dia

16100.0 Cft		@ Rs. 3750/=			P‰ Cft			         Rs. 60,375/=

(  Rupees Three Thousand Seven  Hundred 								  fifty ) only( Per thousand Cft)

| 10. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. |
| --- | --- |

14490.00 Cft		@ Rs. 2760/=			P‰ Cft			        Rs. 39,992/=

(  Rupees Two Thousand Seven  Hundred 								  Sixty ) only( Per thousand Cft)

| 11. | Providing chamber 3' x 2' (915 x 615 mm) inside dimension 4 ½' (1372 mm) deep as per approved design for sluice valve 3" to 12" dia with 18" (457 mm) dia inside cost iron cover and frame (wt = 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick (with 5 Lbs steel per cft) 9" (299 mm) thick brick masonry wall set in 1:6 cement mortar 6" (1152 mm) thick cement concrete 1:3:6 in foundation 1" (25 mm) thick cement concrete 1:2:4 flooring ½" (12.5 mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at every one foot beyond 2 ½ ft depth curing, excavation, back filling and disposal of surplus earth etc complete. |
| --- | --- |

01 No:			@ Rs. 18820/=			Each			Rs. 18,820/=

(Rupees Eighteen Thousand Eight Hundred 				          Twenty) only( Per Each)

Total	Rs. 7,52,712/=

CONDITIONS

- The rates should be inclusive of all Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/ pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/ items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |