SCHEDULE-B

UPVC PIPE 4’’ & 3’’ DIA FOR PROVIDING, LAYING, & JOINTING 8”/6” DIA WATER SUPPLY PIPE LINE FROM VILLAGE KASBO WELLS TO VILLAGE SURACHAND I/C PUMP HOUSE & PUMPING MACHINERY TO BE OPERATED ON SOLAR ENERGY TALUKA NAGARPARKAR (PART-III) DISTRICT THARPARKAR.

| 1. | Providing PVC pipe of class “B” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” Joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft. (P.H.S.I. No. 1 P-22). |
| --- | --- |

4" Dia

2500.0 Rft	@ Rs. 137/=					P.Rft		Rs. 3,42,500/=

3" Dia		(Rupees One Hundred Thirty Seven Only)

2400.0 Rft	@ Rs. 90/=					P.Rft		Rs. 2,16,000/=

(Rupees Ninety Only)

| 2. | C.I sluice valve heavy pattern test pressure 21 kg/sq:cm or 300 lbs/sq: inch. (P.H.S. of Mat: Item No. 2 P-9). |
| --- | --- |

4" Dia

1 No:		@ Rs. 5460/=				Each		Rs. 5,460/=

(Rupees Five Thousand Four Hundred Sixty Only)

3" Dia

8 Nos:		@ Rs. 4290/=				Each		Rs. 34,320/=

(Rupees Four Thousand Two Hundred Ninety Only)

| 3. | PVC “Z” Joint fitting (P.H.S.O.M. Item No. 16 P-28). |
| --- | --- |

(i)	PVC Tee  6" dia

1 No:		@ Rs. 1800/=    				Each		Rs. 1,800/=

(Rupees One Thousand Eight Hundred Only)

(ii)	PVC Tee  4" dia

2 Nos:		@ Rs. 1181/=    				Each		Rs. 2,362/=

(Rupees One Thousand One Hundred Eighty One Only)

(iii)	PVC Tee  3" dia

3 Nos:		@ Rs. 900/=    				Each		Rs. 2,700/=

(Rupees Nine Hundred Only)

(iv)	End Plug 3" dia

1 No:		@ Rs. 382/=    				Each		Rs. 382/=

(Rupees Three Hundred Eighty Two Only)

(v)	Valve socket 3" dia

2 Nos:		@ Rs. 450/=    				Each		Rs. 900/=

(Rupees Four Hundred Fifty Only)

(vi)	Valve socket 4" dia

2 Nos:		@ Rs. 500/=    				Each		Rs. 1,000/=

(Rupees Five Hundred Only)

(vii)	PVC Bend 3" dia

2 Nos:		@ Rs. 731/=    				Each		Rs. 1,462/=

(Rupees Seven Hundred Thirty One Only)

| 4. | C.I bend with flanged end with holes i/c turning and facing flanges for all size (S.M.I. No. 8 P-12). |
| --- | --- |

4.0 Cwt	@ Rs. 6096/-					P.Cwt		Rs. 24,384/=

(Rupees Six Thousand Ninety Six Only)

| 5. | Cast iron special for UPVC pipe A.C pressure pipe (Standard Weight A.C.I.L “B” Class) (P.H.S.O.M.I No: 9 P-15). |
| --- | --- |

(i)	Short Piece

4" dia	for S.V

2 Nos:		@ Rs. 487/50 	   			Each		Rs. 975/=

(Rupees Four Hundred Eighty Seven & Paisa Fifty Only)

3" dia for S.V

10 Nos:	@ Rs. 375/=  	  			Each		Rs. 3,750/=

(Rupees Three Hundred Seventy Five Only)

| 6. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including i/c applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc.. complete (P.H.S.I No: 1 P-40). |
| --- | --- |

4" dia for S.V

2 Joints	@ Rs. 513/=					P.Joint	Rs. 1,026/=

(Rupees Five Hundred Thirteen Only)

3" dia for S.V

42 Joints	@ Rs. 499/=  				P.Joint	Rs. 20,958/=

(Rupees Four Hundred Ninety Nine Only)

| 7. | Providing, Laying, jointing and testing G.I Pipe of standard approved quality with thickness 6SWG test pressure 725 PSI (S.S.I. No. 1 P-6)(S.O.Sani.(M) I.No. P5) |
| --- | --- |

Inter Connection for R.C.C U.G.R Tank

3" dia

80 Rft		@ Rs. 304/02				P.Rft		Rs. 24,322/=

(Rupees Three Hundred Four & Paisa Two Only)

| 8. | Manufacturing, Supplying M.S flanges dia made out M.S sheet of 3/8 i/c cutting, drilling holes and welding of flanges with G.I/M.S pipe etc complete. (R.A.A based on schedule) |
| --- | --- |

3" dia

32 Nos.	@ Rs. 500/89				Each		Rs. 16,028/=

(Rupees Five Hundred & Eighty Nine Only)

| 9. | Making joints to PVC specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the specied pressure and making good o all leaky joints etc complete.. (P.H.S.I.No. 1 P-41). |
| --- | --- |

4" dia

2 Joint	@ Rs. 70/=  					P.Joint	Rs. 140/=

(Rupees Seventy Only)

3" dia

10 Joint	@ Rs. 59/=  					P.Joint	Rs. 590/=

(Rupees Fifty Nine Only)

| 10. | Excavation for pipe line trenches and pits in hard soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (P.H.S.I. No. 3 P-61). |
| --- | --- |

4" dia, 3" dia

29400.0 Cft	@ Rs. 3900/=				P‰ Cft	Rs. 1,14,660/=

(Rupees Three Thousand Nine Hundred Only)

| 11. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No.24 P-53). |
| --- | --- |

26460.0 Cft	@ Rs. 2760/=				P‰ Cft	Rs. 73,030/=

(Rupees Two Thousand Seven Hundred Sixty Only)

| 12. | Providing chamber 3' x 2' (915 x 615 mm) inside dimension 4 ½' (1372 mm) deep as per approved design for sluice valve 3" to 12" dia with 18" (457 mm) dia inside cost iron cover and frame (wt = 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick (with 5 Lbs steel per cft) 9" (299 mm) thick brick masonry wall set in 1:6 cement mortar 6" (1152 mm) thick cement concrete 1:3:6 in foundation 1" (25 mm) thick cement concrete 1:2:4 flooring ½" (12.5 mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at every one foot beyond 2 ½ ft depth curing, excavation, back filling and disposal of surplus earth etc complete. (P.H.S.I.No. 1 P-49). |
| --- | --- |

2 Nos:		@ Rs. 18820/=				Each		Rs. 37,640/=

(Rupees Eighteen Thousand Eight Hundred Twenty Only)

Total	Rs. 9,26,389/-

CONDITIONS

- The rates should be inclusive of all Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/ pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/ items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |