## Sheet1
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of Rural Health Center Jam Nawaz Ali District Sanghar ( Balance Work )
S.# | Items of Work |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (MAIN BUILDING).
1 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  |  | 289 | Sft | 1285.63 | %Sft | 3715
2 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  |  | 590 | Cft | 3176.25 | %0Cft | 1874
3 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  |  | 541 | Cft | 8694.95 | %Cft | 47040
4 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  | 266 | Sft | 14429.25 | %Sft | 38382
5 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  |  | 768 | Cft | 11948.36 | %Cft | 91763
6 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  |  | 97 | Cft | 337 | P.Cft | 32689
7 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) |  |  |  | 4.37 | cwt | 4820.2 | P.cwt | 21064
8 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) |  |  |  | 96 | Cft | 12346.65 | %Sft | 11853
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  | 1295 | Cft | 2206.6 | %Sft | 28575
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  | 1295 | Sft | 2197.52 | %Sft | 28458
11 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  | 34 | sft | 1273.76 | P.Rft | 43308
12 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  |  | 50 | Sft | 567.48 | P.Sft | 28374
13 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  |  | 19 | Sft | 186.04 | P.Sft | 3535
14 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  | 36 | Sft | 27747.06 | %Sft | 9989
15 | Providing and laying glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick i/c finishing lish etc complete (S.I.No 38 P.No 45) |  |  |  | 116 | Sft | 28299.3 | %Stt | 32827
16 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) |  |  |  | 60 | Sft | 726.72 | P.Sft | 43603
17 | Oranetal Jali (S.I.No………. P.No………) |  |  |  | 32 | Sft | 195 | P.Sft | 6240
18 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 60) |  |  |  | 64 | Sft | 190.72 | P.Sft | 12206
19 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  | 64 | Sft | 180.5 | P.Sft | 11552
20 | Colour wash 3 Coats (S.I.No 25 P.No 53) |  |  |  | 1239 | Sft | 1303.17 | %Sft | 16146
|  |  |  | Amount of Schedule Items |  |  |  | Total | 513193
| Add: / Deduct _________ %Above / Below except Marble / Halla Tiles of rates oc CSR Rs: | [5 empty] | Rs.
Total
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  | 1 | Nos | 5486.8 | Each | 5487
2 | Providing RCC Pipe and colars of Class B and fitting in treach i/c cutting and jointing with maxphalt composition and cement mortor 1:1 i/c testing with water preasure to a head of 4 feet above the top of the eight pie and refilling with excavated stuf (S.I.No 2 P.NO 21)
| 4" dia |  |  |  | 10 | Rft | 146.57 | P.Rft | 1466
| 6" dia |  |  |  | 10 | Rft | 199.25 | P.Rft | 1993
3 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  | 20 | Rft | 73.21 | P.RRft | 1464
| ii) 3/4" dia |  |  |  | 20 | Rft | 95.79 | P.RRft | 1916
| iii) 1" dia |  |  |  | 10 | Rft | 128.55 | P.RRft | 1286
4 | P/F Handel valve's (Chaina Make ) (S.I.No 7 P.No 4)
| i) 1/2" dia |  |  |  | 1 | No: | 200.42 | Each | 200
| ii) 3/4" dia |  |  |  | 1 | No: | 271.92 | Each | 272
5 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  | 1 | Nos | 889.46 | P.No: | 889
6 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  | 1 | Nos | 1109.46 | Each | 1109
8 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  | 2 | Nos | 447.15 | Each | 894
14 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  | 1 | Nos | 1142.24 | Each | 1142
15 | P/F 24"x12" beveled edge mirrior of Belguim glass complete with 1/8" thick hard board abd C.P screws fixed to wooden plate (a) standared pattern (S.I.No 3 (a) P.No 7) |  |  |  | 1 | Nos | 1711.6 | Each | 1712
16 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  | 1 | Nos | 795 | P.No: | 795
17 | Providing Chamber 15"X19" inside Dimantion 24" depth for homes meters etc complete |  |  |  | 1 | Nos | 5913.22 | P.No: | 5913
|  |  |  | Amount of Schedule Items |  |  |  | Total | 26538
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## Sheet2
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation/Renovation of Taluka Head Quarter Hospital Tando Adam District Sanghar ( Residential Quarters).
S.# | Items of Work |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) |  |  |  | 944 | Cft | 3327.5 | %Cft | 31412
2 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) |  |  |  | 51 | Cft | 5445 | %Cft | 2777
3 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  |  | 35 | Sft | 1285.63 | %Sft | 450
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  |  | 122 | Cft | 3176.25 | %0Cft | 388
5 | Cement concrete brick work or stone ballast 1:4:8 (S.I.No.4 ( B ) P-15) |  |  |  | 1924 | Cft | 9416.28 | %Cft | 181169
6 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  | 1191 | Sft | 14429.25 | %Sft | 171852
7 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  |  | 97 | Cft | 11948.36 | %Cft | 11590
8 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  |  | 37 | Sft | 12674.36 | %Sft | 4690
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  | 132 | Cft | 2206.6 | %Sft | 2913
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  | 132 | Sft | 2197.52 | %Sft | 2901
10 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  |  | 30 | Cft | 337 | P.Cft | 10110
11 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) ( Tar Bar) |  |  |  | 1.38 | cwt | 5001.7 | P.cwt | 6902
12 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  | 49 | Sft | 1273.76 | P.Sft | 62414.24
13 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  | 32 | Sft | 180.5 | P.Sft | 5776
14 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) |  |  |  | 32 | Sft | 190.72 | P.Sft | 6103
15 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41) (2" thick) |  |  |  | 944 | Sft | 3275.5 | %Sft | 30921
16 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  | 149 | Sft | 27747.06 | %Sft | 41343
17 | Providing and laying glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick i/c finishing lish etc complete (S.I.No 38 P.No 45) |  |  |  | 428 | Sft | 28299.3 | %Stt | 121121
18 | White washing 3 coats (S.I.No 26-C-P.No 53) |  |  |  | 944 | Sft | 829.95 | %Sft | 7835
19 | Colour wash 3 Coats (S.I.No 25 P.No 53) |  |  |  | 647 | Sft | 1303.17 | %Sft | 8432
|  |  |  | Amount of Schedule Items |  |  |  | Total | 711099.24
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total (A)
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  | 2 | Nos | 4846.6 | Each | 9693.2
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  | 2 | Nos | 4694.8 | Each | 9389.6
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  | 2 | Nos | 938.47 | Each | 1876.94
4 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
5 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  | 5 | Nos | 889.46 | P.No: | 4447.3
6 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  | 2 | Nos | 795 | P.No: | 1590
7 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  | 2 | Nos | 447.15 | Each | 894.3
8 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) |  |  |  | 2 | Nos | 2024.43 | Each | 4048.86
9 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  | 58 | Rft | 73.21 | P.RRft | 4246.18
| ii) 3/4" dia |  |  |  | 50 | Rft | 95.79 | P.RRft | 4789.5
| iii) 1" dia |  |  |  | 30 | Rft | 128.55 | P.RRft | 3856.5
10 | P/F: Handle valve (Chine Make) |  |  |  | 2 | Nos | 271.92 | P.No: | 543.84
11 | Providing and Fixing Locla Make Steel Sink (S.I.No 19-c-P.No 6) |  |  |  | 2 | Nos | 5712.3 | Each | 11424.6
12 | Providing R.C.C pipe with collars slass "B" and digging the trenches to required depth & fixing inposition including cutting , fitting & jointing with maxphalt composition & cement mortor 1: 1 and testing with water pressure jto a head of 4 feet a bove the top of the heghest pipe & refilling with excavated staff.
| a)4" dia pipe |  |  |  | 40 | Rft | 146.57 | P/Rft | 5863
| b)6" dia pipe |  |  |  | 30 | Rft | 199.25 | P/Rft | 5978
| c) 9" dia |  |  |  | 50 | Rft | 250.6 | Each | 12530
13 | P/F: Chamber 15" X 9" ( Inside dimension) x 24" deep for house maters with 6" thick c.c 1:2 block get on 1:6 cement morter 6" thick c,c, 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cast concrate a cover and frame 15" x 9" (inside) clear opning wt: 1"qr : etc fixed in cement concrate 1:2:4 i/c curring excavation back filling and disposal of earth etc complete (S.I.No 4 P.No 20) |  |  |  | 1 | Nos | 5905.67 | Each | 5905.67
14 | P/F 24"x18" bevelled edges Mirrior of belgum glass complete with 1/8" thick hard board (S.I.No 3-a-P.No 7) |  |  |  | 1 | Nos | 972 | Each | 972
15 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) |  |  |  | 2 | Nos | 1082.95 | Each | 2165.9
|  |  |  | Amount of Schedule Items |  |  |  | Total | 94653.23
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## Sheet3
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation/Renovation of Deputy Commissioner Office Sanghar ( (E.I)
S.No | Description |  |  | Quantity |  | Rate | Unit |  | Amount
1 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti ( S.I.NO.13 P.15) |  |  | 5 | Nos | 1590 | Each | Rs | 7950
2 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 150 | Mtr | 171 | P.Mtr | Rs: | 25650
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 212 | Mtr | 305 | P.Mtr | Rs: | 64660
4 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 10 | Nos | 83 | Each | Rs | 830
5 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 2 | Nos | 151 | Each | Rs | 302
6 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 20 | Nos | 916 | Each. | Rs: | 18320
7 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps DB on prepared board. (S.I.No: 204 P.31). |  |  | 1 | Nos | 2456 | Each. | Rs: | 2456
8 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). |  |  | 3 | Nos | 9261 | Each. | Rs: | 27783
9 | P/F Circuit breaker 225 Amps: TP Setting ) on prepared board as required (S.I.No: ……. P…….). |  |  | 1 | Nos | 18307 | Each. | Rs: | 18307
10 | P/F of Brass Bracket Fan 18" (good Quality) (S.I.No 236 P.No 34) |  |  | 5 | Nos | 2791 | Each | Rs: | 13955
|  |  | Amount of Schedule Items | Total |  |  |  | #REF! | 180213
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total
PART" B" NON SCHEDULE ITEM.
1 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy (L.Q.R) |  |  | 5 | Nos |  | Each. | Rs:
2 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 50 | Nos |  | Each. | Rs:
3 | Repair of Split A.C Gas & Service Charges |  |  | 4 | Nos |  | Each. | Rs:
4 | Repair of Amplifire |  |  | 3 | Nos |  | Each. | Rs:
5 | Repair of Old Mike |  |  | 7 | Nos |  | Each. | Rs:
6 | P/F Hand Mike Superior Quality |  |  | 1 | Nos |  | Each. | Rs:
7 | P/F Mike Battery Superior Quality |  |  | 28 | Nos |  | Each. | Rs:
8 | P/F Energy sever superior quality 45 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 10 | Nos |  | Each. | Rs:
9 | Generator Repair & Services |  |  | 1 | Nos |  | Each. | Rs:
10 | Repair and Fixed LED Scree |  |  | 1 | Nos |  | Each. | Rs:
|  |  | Amount of Non-Schedule Items | Total |  |  |  | #REF!
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER |  | EXECUTIVE ENGINEER
[6 empty] | BUILDINGS DIVISION |  | BUILDINGS DIVISION
[6 empty] | SANGHAR. |  | SANGHAR.

## Sheet4.
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Category 3rd Type Bungalow in Revenue Colony Sanghar ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 17 | Nos | 910 | Each | Rs | 15470
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 10 | Nos | 742 | Each | Rs | 7420
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 100 | Mtr | 171 | P.Mtr | Rs: | 17100
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 30 | Mtr | 305 | P.Mtr | Rs: | 9150
5 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 17 | Nos | 58 | Each |  | 986
6 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 10 | Nos | 83 | Each | Rs | 830
7 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 3 | Nos | 151 | Each | Rs | 453
8 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 14 | Nos | 70 | Each. | Rs: | 980
9 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 5 | Nos | 72 | Each. | Rs: | 360
10 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 6 | Nos | 916 | Each. | Rs: | 5496
12 | P/F Circuit breaker 15,20,30,40,50, 60, TP on prepared board. (S.I.No: 206 P.31). |  |  | 1 | Nos | 5521 | Each. | Rs: | 5521
19 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 3 | Nos | 3185 | Each. | Rs: | 9555
|  | Amount of Schedule Items |  |  |  |  | Rs. |  | 73321
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 4 | Nos | 730 | Each. | Rs:
2 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 20 | Nos | 497 | Each. | Rs:
3 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 1 | Sft | 2933 | P.Sft | Rs:
4 | Fixing A.C Fan regulator on SW Board |  |  | 3 | Nos | 200 | Each. | Rs:
5 | Errection of ceilling fan |  |  | 3 | Nos | 195 | Each. | Rs:
Total (B)
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## Sheet5
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Dargah Wali Mohammad Shah Village Karam Ali Umrani Taluka Shahdadpur District Sanghar ( Electrification)
S.No | Description |  |  | Quantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 43 | Nos | 910 | Each | Rs | 39130
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 10 | Nos | 742 | Each | Rs | 7420
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 150 | Mtr | 171 | P.Mtr | Rs: | 25650
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 110 | Mtr | 305 | P.Mtr | Rs: | 33550
5 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 43 | Nos | 58 | Each |  | 2494
6 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 10 | Nos | 83 | Each | Rs | 830
7 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 3 | Nos | 151 | Each | Rs | 453
8 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 31 | Nos | 70 | Each. | Rs: | 2170
9 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 20 | Nos | 72 | Each. | Rs: | 1440
10 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 6 | Nos | 916 | Each. | Rs: | 5496
11 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). |  |  | 1 | Nos | 9261 | Each. | Rs: | 9261
12 | P/F Circuit breaker 15,20,30,40,50, 60, TP on prepared board. (S.I.No: 206 P.31). |  |  | 2 | Nos | 5521 | Each. | Rs: | 11042
13 | Wiring for main with 2-7/0.85 (7./.064) pvc insulated in 30 mm (1/4") pvc instulled wire (S.I.No: 7 P.1 ). |  |  | 50 | Mtr | 605 | P.Mtr | Rs: | 30250
14 | P/F DB i/c Change over switch 500 volts 300 amps:on a prepared board ( S.I.No:199 P30) |  |  | 1 | Nos | 11506 | Each. | Rs: | 11506
15 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 1 | Nos | 999 | Each. | Rs: | 999
16 | P/F of Street Light 250 Watts (HPMB) having ip 54 Classified with 250 watts lamps chowks capcitor and internal wiring complet in all respect at the height upto 31 ft as per side required and internal of E.I incharge (S.I.No 160 P.No 25) |  |  | 3 | Nos | 8455 | Each | Rs: | 25365
17 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 1 | Nos | 1054 | Each. | Rs: | 1054
18 | P/F of Brass Bracket Fan 18" (good Quality) (S.I.No 236 P.No 34) |  |  | 1 | Nos | 2791 | Each | Rs: | 2791
19 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 15 | Nos | 3185 | Each. | Rs: | 47775
|  | Amount of Schedule Items |  |  |  |  | Rs. |  | 258676
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 4 | Nos |  | Each. | Rs:
2 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 20 | Nos |  | Each. | Rs:
3 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 1 | Sft |  | P.Sft | Rs:
4 | Fixing A.C Fan regulator on SW Board |  |  | 15 | Nos |  | Each. | Rs:
5 | Errection of ceilling fan |  |  | 15 | Nos |  | Each. | Rs:
Total (B)
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## Sheet6.
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Category 3rd Type Bungalow in Revenue Colony Sanghar ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 29 | Nos | 910 | Each | Rs | 26390
2 | Wiring for Call Bell Point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 2 | Nos | 1590 | Each | Rs | 3180
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 12 | Nos | 742 | Each | Rs | 8904
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 80 | Mtr | 171 | P.Mtr | Rs: | 13680
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.036 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 4 P.No. 1 ). |  |  | 55 | Mtr | 200 | P.Mtr | Rs: | 11000
| Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 55 | Mtr | 305 | P.Mtr | Rs: | 16775
5 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 29 | Nos | 58 | Each |  | 1682
6 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 4 | Nos | 83 | Each | Rs | 332
7 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 2 | Nos | 151 | Each | Rs | 302
8 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 20 | Nos | 70 | Each. | Rs: | 1400
9 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 3 | Nos | 72 | Each. | Rs: | 216
10 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 3 | Nos | 916 | Each. | Rs: | 2748
| P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P DB prepared board. (S.I.No: 204 P.31). |  |  | 1 | Nos | 2456 | Each. | Rs: | 2456
12 | P/F Circuit breaker 15,20,30,40,50, 60, TP on prepared board. (S.I.No: 206 P.31). |  |  | 1 | Nos | 5521 | Each. | Rs: | 5521
| P/F Volts meters size 96/96 500 volts as required(SI NO,285P41) |  |  | 1 | Nos | 999 | Each. | Rs: | 999
| P/F Amps Meter size 96/96mm 15-60 Amps 100 Am,ps as required SiNO284P.41 |  |  | 1 | Nos | 1054 | Each. | Rs: | 1054
19 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 3 | Nos | 3185 | Each. | Rs: | 9555
|  | Amount of Schedule Items |  |  |  |  | Rs. |  | 106194
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 1 | Nos |  | Each. | Rs:
2 | P/F AC or DC electric Bell 220 volts ding dong condy |  |  | 2 | Nos |  | Each. | Rs:
3 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 6 | Nos |  | Each. | Rs:
4 | P/F Bulb 100watts |  |  | 2 | Nos |  | Each. | Rs:
5 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 1 | Sft |  | P.Sft | Rs:
6 | Fixing A.C Fan regulator on SW Board |  |  | 3 | Nos |  | Each. | Rs:
7 | Errection of ceilling fan |  |  | 3 | Nos |  | Each. | Rs:
Total (B)
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.