# National Institute of Cardiovascular Diseases

## Rafiqui (H.J.) Shaheed Road, Karachi - Pakistan

Tel No.3521-8530, 9920-1271 Ext. 419 – Fax No. 9920-1289

Total pages 09

### TERMS & CONDITIONS

Tender No. 50/2017 Dated: 30-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply & Installation of Picture Archiving & Communication System (PACS) Qty=01

- Cost of Tender is Rs. 1000/- (Rupees One Thousand only) [Not refundable].

- Tender Selling Date from 13-11-2017 to 27-11-2017.

- Tender Submission Date 30-11-2017 before 11:30 a.m. (Procurement Department)

- Tender will be opened on 30-11-2017 at 12:00 noon in Conference Hall or Nursing Hostel Building of NICVD, Karachi.

NOTE:

Read the Terms & Conditions carefully.

Tenders are required to comply all the clauses mentioned in the Terms and Conditions of the tender and any deviation will forbid them in competing the tender.

1.	In this tender TWO Envelopes procedure of SPPRA-2010 46(2,a) will be followed i.e. (i) The bid shall comprise two separate envelopes. Each envelope shall contain separately the financial proposal and the technical proposal (ii) The envelopes shall be marked as “Financial Proposal” and “Technical Proposal” in bold and legible letters to avoid confusion each envelope should be dropped in separate box (iii) initially, only the envelope marked “Technical Proposal” shall be opened (iv) The financial proposals of bids will opened publicly, time date and venue will be announced later.

- In Technical Bid, the bidder must provide copy of pay order of Bid Security with hiding of amount shall be attached, original data sheet and technical brochure and all other documents; otherwise, the bid will be ignored. The technical evaluation will be done on the basis of data sheet provided by the vendor as per technical bid.

- In Financial Bid, the vendor should mention financial offer along with a Bank Draft/Pay Order of 1% value of the quoted item, Refundable) in the name of Executive Director, NICVD, Karachi, as Bid security and it will not be released till complete supply of items of the tender. In case the tender is accepted by competent authority and the supplies are not made according to samples/specification as per agreed time period on contract, the bid security for the tender would be forfeited to the NICVD account. In case of default the firm may be black listed or financial penalties may be imposed depending upon the gravity of defaults/circumstances in each case as mentioned in Ministry of Health letter No. F.11.9/96-PHC of June 04, 1996. In-time supply must be assured

- The disclosure of firm’s equipment price at the time of opening of technical bid will result in the rejection of the bid.

- No tender will be entertained without bid security, The bid security will be forfeited to Government Accounts in case of non-submission of security money within seven (7) days of receipt of the other letter.

- No tender will be entertained without bid security. Conditional Tender(s)will not be accepted.

- The previous bid security or security money will not be carried forward. If any tenderer encloses a cheque with the tender their tender will be rejected out rightly. In case it is found at tender opening or at later stage that pay order is fake tender/contract will be cancelled and firm will be black listed from future participation in tender security money will be forfeited and their name will also be circulated in other Fed. Govt./Semi Govt. Autonomous/Semi Autonomous Deptt. For severe action.

- In case any tenderer after the tender is awarded, failed to deposit security money or refuses to execute the contract after tender awarding within the given period not only his bid security (pay order) or security money will be forfeited but the differences between the Ist & 2nd lowest will also be recovered from the Ist lowest tenderer by cancellation of his tender, failing which he will be black listed in future participation in tender. His name will also be circulated in Govt./Semi Govt. Autonomous/Semi Autonomous etc. for similar action.

- Only Manufacturer, Sole Agent can participate in the tender.

- The rates once mentioned in tender will be final and no change therein will be accepted after the tender opening. Rates should be inclusive with sales tax on taxable articles. In case of any inconvenience the Executive Director NICVD Karachi reserves the right not to announce the tender rates or otherwise. If any scheme regarding discount in price or given any product free with the items whatever which benefit will go to this Institute.

- The rate should be quoted on FOR Basis.

- First Scrutiny of technical bids will be performed by the technical committee. Financial Bids of those firms will be opened which qualify technically.

- The equipment offered must be of latest version/generation and in case the old model is offered, it will not be considered, even though it is as per the tender specifications.

- Certificate from the Sole Agent/Manufacturer that the vendor has fully equipped workshop, along with the list of Trained Personnel/Engineers and Equipment should be provided with technical bid and it can be physically verified by the Technical committee of NICVD, Karachi.

- The successful bidder will be required to submit security money in shape of pay order/ deposit at call @ 5% of the total value of order in the name of NICVD, Karachi within Seven (7) days which will be kept with NICVD till the end of the Warrantee period of Three (3) years.

- The warranty period will commence from the date of installaion.

- Firm must provide complete details of their financial standing, listing of similar equipment supplied in Pakistan, bio-data of engineers with training certificates/test equipment, details of local stock of spare parts for similar equipment and details of office with number of personals.

- The vendor will provide technical / end user from factory trained engineers. The supplier should provide detail of training program.

- All equipment to be supplied, should be accompanied with Three (3) original copies of the operation, service / maintenance and schematic diagram and spare parts list manual in the English language.

- The vendor has to quote only one rate for each item as per tender specifications. No alternate model will be accepted, only first offer will be considered. Hand written tenders or any over writing, cutting, erasing will liable to be ignored.

- Bid validity period will remain for 90 days as per SPPRA rules 2010.

- The bidder shall submit with the bid, an Undertaking on judicial paper, stating that the equipments to be supplied are brand new and of latest generation, free from defects in design material and workmanship and will bind himself for availability of spares for a period of 07 (Seven) years from the date of supply. In case of winding up of his business, the supplier shall be bound to make an alternate arrangement of spares and maintenance of equipment. In case of default, depreciated cost of equipment will be recoverable from him.

- Vendor will be responsible for pre-requisition installation, free of cost and also responsible for pre-installation work, if required.

- Price escalation will not be allowed.

- The original tender purchase receipt issued by the NICVD should be submitted along with Technical Bid.

- If vendor doesn’t supply equipment in accordance with the supply order or fails to supply according to terms and conditions or incase of any other default, it will be black listed and the bid security will be forfeited.

- If the supplier fails to give supply and install within the stipulated period, penalty will be imposed @ 0.1% of the total value of equipment per day, subject to a maximum of 10%.

- The decision once taken will be final and will not be challenged in any court of law.

- Income tax will be deducted according to Government Rules. A Copy of income Tax and GST Registration Certificate should be submitted along with Technical Bid.

- Conditional tender(s) and Hand written tender(s) will not be entertained.

- All equipment should be Dicom Compatible, if applicable, and must be FDA or CE marked.

- The Vendor should submit a Data Sheet according to the Tender Specifications Format mentioned in the tender and highlight the tender specifications in their Technical Data Sheet. Additional Feature can be mentioned separately.

- The vendor should attach copy of last three year Income Tax return. Original copy should be provided on request.

- The attached questioner Performa must be properly filled and should be complete in all respect. In case questioner Performa is incomplete or information formations provided are incorrect, the tender shall be rejected.

- The Executive Director NICVD reserves the right to reject or accept any / all tender(s) without assigning reason thereof and the decision of the competent Authority will be final.

- Tender which does not fulfill the prescribed conditions in the tender is liable to be ignored.

- The Executive Director, NICVD, Karachi, reserve the right to increase or decrease the quantity mentioned in the tender.

- All  amendments charges in the L/C will be bear  by the tenderer/tender winner.

- Certification that no Government servant has directly or indirectly has a share or interest with our firm.

- Criteria for Evaluation of Bid (as per annexure)

- All Mandatory requirement as per annexure”A” must be submitted otherwise bid would not be consider.

- Specification compliance (as per evaluation sheet total marks-100)

- Compliance of Terms & Conditions and additional terms & conditions of the Bid form.

Note:	Only one representative of a firm who has been authorized will be present at the time of opening of tender.

INSTRUCTION FOR PURCHASE ON C&F BASIS.

If contract / purchase order place on C&F basis following instructions / terms and conditions will also be followed:

- NICVD will issue contract / purchase order. The vendor will carry out all works regarding the import of equipment i.e. from opening of L/C to delivery and installation.

- The vendors have to open Letter of Credit in the name of Director, NICVD, Karachi. For items as per purchase order. A copy of all documents should be submitted to NICVD time to time, NICVD is also the consignee of the equipment or NICVD will open L/C after getting the proforma Invoice from Vendor as per agreed rates/quotation/approved rates.

- NICVD will assist the vendor in clearing the consignment. NICVD will provide UNDERTAKING and other letter for the exemption of the payment of Sale Tax, Customs Charges, Income Tax and Other Taxes applicable on such import.

- NICVD will not be responsible for escalation of currency rate after opening the tender.

- Vendor should mention / include all expenses related to the import until clearance.

I / We agreed above mentioned terms & conditions:

Name of Contractor ______________________________ Signature______________

Full Address__________________________________________________________.

Contact person Name:	___________________________

CNIC #			___________________________

Postal Address		___________________________

E-mail Address		___________________________

Stamp			___________________________

Phone No.		___________________________

Fax No.			___________________________

Mobile No.		___________________________

WITNESSES

1. __________________________________

2.__________________________________

# National Institute of Cardiovascular Diseases

## Rafiqui (H.J.) Shaheed Road, Karachi - Pakistan

Tel No.3521-8530, 9920-1271 Ext. 419 – Fax No. 9920-1289

### ANNEXURE- “A”

### DATA SHEET

Tender No. 50/2017 Dated: 30-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply & Installation of Picture Archiving & Communication System (PACS) Qty=01

| S.NO | A- MANDATORY | Tick relevant box |
| --- | --- | --- |
| 1 | Name, Address, Tel, Fax #, E-mail Address |  |
| 2 | National tax Number(NTN) |  |
| 3 | Latest Income Tax Certificate or Income Tax exemption certificate. |  |
| 4 | Latest GST/SST Certificate or exemption certificate. |  |
| 5 | Name of Banker with Current Bank statement. |  |
| 6 | Copy of Bid Security (1% of Bid Value of the quoted items) As per clause no 1-b. (Original with commercial bid). |  |
| 7 | List of litigation with clients (if any) and nature of litigations. |  |
| 8 | Affidavit that the firm has never been black Listed. |  |
| 9 | Detail of Registration with major organizations |  |
| 10 | Original tender purchase receipt. |  |
| 11 | Original terms and conditions duly signed and stamped. |  |
| 12 | Each page should be signed and stamped by competent authority. |  |
| 13 | - Literature and catalogue of quoted items in English. - Demonstration (if required by the end-user). |  |
| 14 | Copy of SLA / service level agreement. |  |

# National Institute of Cardiovascular Diseases

## Rafiqui (H.J.) Shaheed Road, Karachi - Pakistan

Tel No.3521-8530, 9920-1271 Ext. 419 – Fax No. 9920-1289

TECHNICAL EVALUATION

Tender No. 50/2017 Dated: 30-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply & Installation of Picture Archiving & Communication System (PACS) Qty=01

| S.NO | Description | Total Points | Yes | NO |
| --- | --- | --- | --- | --- |
| 01 | Bidder provide Internationally certified & approved. | 30 | 30 | 00 |
| 02 | Software fulfilled all regulatory requirement. | 20 | 20 | 00 |
| 03 | Bidder provide the license of software. | 20 | 20 | 00 |
| 04 | Software already installed in other hospital of Pakistan by bidder. | 10 | 10 | 00 |
| 05 | Bidder has its office in Karachi. | 10 | 10 | 00 |
| 06 | Bidder has at least 02 service m, m Engineers. | 10 | 10 | 00 |

Note: Qualifying marks at technical stage is 70 out of 100 (i.e. 70%)

# National Institute of Cardiovascular Diseases

## Rafiqui (H.J.) Shaheed Road, Karachi - Pakistan

Tel No.3521-8530, 9920-1271 Ext. 419 – Fax No. 9920-1289

### TENDER LIST/SPECIFICTIONS

Tender No. 50/2017 Dated: 30-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply & Installation of Picture Archiving & Communication System (PACS) Qty=01

| S.NO | ITEM | SPECIFICATIONS | QTY |
| --- | --- | --- | --- |
| 1. | - Picture Archiving & Communication system (PACS) | - Integrated Cardiology PACS software experience in Pakistan. - Relevant support & maintenance experience of Turn-Key solution of integrated PACS & Hospital Management information system of Hospital. - Relevant experience of Turn Key integrated Digital Imaging Viewing & Archiving Management System Project. - Provide assistance to the software team or vendor for integration of PACS solution with HMS to view images in the software. - Solution is capable to provide details image view to 3D and 4D levels for radiologist. - Capable to manage compression and decompression of images and manage storage. - Intelligent search engine for images. - Sufficiency of staff and other resources to carry out execution on intended scale. - Capable to handle all modalities. | 01 |

# National Institute of Cardiovascular Diseases

## Rafiqui (H.J.) Shaheed Road, Karachi - Pakistan

Tel No.3521-8530, 9920-1271 Ext. 419 – Fax No. 9920-1289

### TENDER PROFORMA FOR COMMERICAL BID

Tender No. 50/2017 Dated: 30-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply & Installation of Picture Archiving & Communication System (PACS) Qty=01

Note: Columns to be filled

| ##### S # | Description with specification and Complete Detail of Work | Brand | Model No. | Make | Country of Origin | Qty | Rate per unit | ##### Total Amount | Delivery Period | Warranty |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature															                                                               Official Seal

# National Institute of Cardiovascular Diseases

## Rafiqui (H.J.) Shaheed Road, Karachi - Pakistan

Tel No.3521-8530, 9920-1271 Ext. 419 – Fax No. 9920-1289

### TENDER PROFORMA FOR TECHNICAL BID

Tender No. 50/2017 Dated: 30-11-2017

###### FOR THE YEAR 2017-2018 & 2018-2019

Supply & Installation of Picture Archiving & Communication System (PACS) Qty=01

Note: Columns to be filled

| Sr.# | Description with specification and complete Detail work | Qty. | Brand | Model No | Make | Country of Origin. | Delivery Period | Warranty |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature															                                                               Official Seal