## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- Construction Of Community Public School At Saleh Pat Under District Adp 2016-17 Programme (Administration / Academic Block & Boundary Wall) (Electrification)
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
PART "A" SCHEDULE ITEMS
1 | 637 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.No. 124 P-15). | 1130 | per point | 719810
2 | 90 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.I.No:126 P- No:15) | 985 | per point | 88650
3 | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.I.No:126 P- No:15) | 1764 | per point | 7056
4 | 1200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:10 P- No:2) | 222 | per Meter | 266400
5 | 900 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P- No:2) | 252 | per Meter | 226800
6 | 800 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P- No:2) | 341 | per Meter | 272800
7 | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated size 2-7/.064 (16mm2) copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:14 P- No:2) | 641 | per Meter | 256400
8 | 207 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No:228 P- No:33) | 72 | P.No | 14904
9 | 350 | Providing & fixing Brass Battern holder c(S.I.No:232 P- No:33) | 70 | P.No | 24500
10 | 80 | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No:202 P- No:30) | 916 | P.No | 73280
11 | 6 | Providing & fixing circuit breaker 15,20,30, 40,50,60,75 & 100amp TP (XS-100NS) on prepared board as required (S.I.No:207 P- No:31) | 9261 | P.No | 55566
12 | 3 | Providing & fixing circuit breaker 125,150,200 & 225amp TP (XS-225NS) on prepared board as required. (CSI No. 208 Page No.31). | 25541 | P.No | 76623
13 | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core Armoured copper conductor 600/1000 volts size 16mm2 | 1679 | P.No | 167900
14 | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core Armoured copper conductor 600/1000 volts size 25mm2 | 2435 | P.No | 121750
15 | 10 | Construction of RCC foundation as per following specification & instruction of EI for 31ft/40ft long tubular pole Excavation of soft/hard soil 3`×3`×5.5` Stone soiling 3`×3`×6`` making lean in the ratio of 1:4:8 Length of MS bolts 6 ½`( ¾ `` dia) 4 no’s & making thread on MS rod Template 16``×16``× ¼`` Rings ¼`` dia round bar 4 no’s to the welded with MS rod RCC foundation ratio 1:2:4 with appropriate size 2`×2`×6.5` (CSI No. 139 Page No. 19) | 15168 | P.No | 151680
16 | 10 | Providing & fixing of MS tabular pole as following specification to be fixed on pre-cast foundation with the help of hydraulic crane & manual labour 20ft-(6`` dia) × 5.5ft (5`` dia) × 5.5ft (4`` dia) = 31ft wall thickness 8 SWG Base plate 18`` × 18`` × ¾ `` Hole 4 no’s stiffeners 4 nos. 9 ½``× 4 ½`` × ½`` Making window in the pole required size with LN key provision Two coats red oxide (2 coat) as rust preventive & Of required oil paint (2 coat) as per site requirement & instruction of EI (S.I.No:132 P- No:16) | 36697 | P.No | 366970
17 | 10 | 160. Providing & Fixing of street light 250 watts (HPMV) having IP54 classification with 250w lamp, choke, capacitor & Internal wiring complete in all respect at the height up to 31ft as per site requirement and instruction of EI. Make of the above light is as follow | 8455 | P.No | 84550
18 | 10 | Providing & Fixing of street light 250 watts (SON-T) having IP65 classification with 250w lamp, choke, capacitor & Internal wiring complete in all respect at the height With the help of hydraulic crane as per site requirement and instruction of EI. (S.I.No:161 P- No:25) | 16100 | P.No | 161000
|  |  | TOTAL :- |  | 3136639
Amount Total (CSR)
Part "A" |  | % Above / Below ____________ | Total Amount
Total A
NON SCHEDULE ITEMS
1 | 637 | P/F flush type fancy switch 10 amps i/c plastic board imported made etc complece |  | Each
2 | 90 | P/F flush type 2 pin plug socket 10 amps with fancy type board and sheet i/c necessary |  | Each
3 | 20 | P/F flush type 3 pin plug socket 10 amps with fancy type board and sheet i/c necessary |  | Each
4 | 12 | P/F fit.sh type 3 pin plug socket 15 amps with fancy type board and sheet i/c necessary connection |  | Each
5 | 197 | S/F A.C electric ceiling fans 56" sweep (Pure copper winding) i/c down rod, canopy blade, |  | Each
6 | 197 | P/F fan dimmer 220/240 volts fancy type imported make with necessary connection etc complete |  | Each
7 | 20 | P/F distribution board double shutter for accommodate circuit breaker and buslor i/c painting With enameled paint |  | P.Sft
8 | 10 | P/F main panel board 3'x4' double shutter for accommodate circuit breaker and busbar i/c Painting with enameled paint |  | Each
9 | 3 | P/F earthing set size (1x1) copper plate i/c excavation of rock earth 12/ depth or if water comes out i/c Salt choracale mixed with '3.I. Road with nuts, bolts testing topping etc complete |  | Each
10 | 3 | P/F on a prepared board iron clad bus bar with 4 copper strips of 200 amps in 24.4 mm x 5.50 mm Rs. 18000.00 Each lc/ necessary electric connection |  | Each
11 | 16 | P/F-. wall / Ceiling mounted light fancy type, superior quality i/c necessary electric connection an with holder , without energy Saver etc |  | Each
12 | 280 | P/F Energy saver superior quality i/c fixing on existing holder etc complete etc |  | Each
13 | 1 | P/F on a prepared board iron clad bus bar with 4 copper strips of 400 amps in 24.4mm x 5.50mm (1'x7/32") i/c necessary electric connection etc |  | Each
14 | 20 | P/F P/F 2-40 watts tube light complete with 40-watts 4"-0 long rod chowck starter and putty with "fluorescent components i/c necessary electric connection and fixing on wall or ceiling etc as a approved by Engineer/lncharge |  | Each
15 | 30 | P/F 1-40 watts tube light complete with 40-watts 4"-0 long rod chowck starter and putty with fluorescent components i/c necessary electric connection and fixing on wall or ceiling etc as a approved by Engineer/lncharge |  | Each
16 | 1900 | P/F Hard Draw & copper wire No:12 SWG as earth continuity conductor with any given mains or Sub-mains in all system of wiring i/c electric necessary as a approved by Engineer/Incharge |  | Each
17 | 40 | P/F 'LED Tube light 18 watts (Light emitting Diod) classification, with L.E.D driver complete Plastic covered and base etc complete |  | Each
18 | 76 | P/F L.E.D light 8" square / circle shop (09) e'att in plastic cover fancy type(China made) |  | Each
19 | 2 | P/F Water Cooler metallic body 60 gallons Na.z:onal make or approved quality i/c Filter etc complete |  | Each
20 |  | P/F Main Cable tray shape / made 4"x9"x4" with openings G.I.Plate 18 SING gauge along with Cap Rs. 512.00 Pith 9"x1/2" tic nut, bolts, clips & powder coating etc complete & approved by Engineer Incharge |  | P.Rft
21 | 30 | P/F L.E.D fancy type blub in/c 20 to 32 watt.; as required |  | Each
22 | 2 | P/F wall bricked fan 24" (Mega) iron grill Local make superior quality i/c necessary electric connection etc. |  | Each
23 |  | P/F water pumping set 01 HP 2800 RPM Single phase 240 volts 1".0x1-1/2 section and delivery 40 head in clouding base plate & along with nuts &bolts complete in all respect as a approved by Engineer /Incharge |  | Each
24 | 10 | P/F wall bricked fan 18" sweep i/c connection etc complete (Superior Quality) |  | Each
25 | 20 | P/F Exhaust Fan 10" to 12" plastic body complete in all respect (GEC) made/Pak good quality (RA) |  | Each
TOTAL :-
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SUKKUR

## Schedule (2)
BILL OF QUANTITIES
Discription and Rate of Items based on Market (Offered Rates)
NAME OF WORK :- UP-GRADATION OF PRIMARY SCHOOL TO MIDDLE SCHOOL IN SUKKUR DISTRICT 2013-14 PROGRAMME AT GBPS KAMIL MAGSI TALUKA SALEH PAT.
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
1 | 132 | P/F gutka brick facing 2 1/4" x 9" x 1 1/2" size and approved shape cement sand mortor including filling with the joints with white slurry using colour pigment matelling i/c leveling smooth finishing curring and sky folding welding etc complete as per specification at as directed by the Engineer Incharge. |  | P.Sft
2 | 1 | P/F piston pump set 1 H.P single phase 220 valts with 1/1/4" x 1/1/4" suction and delivery (Local made ) (Electric) |  | Each
TOTAL :-
Total (b) in words & figures
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SUKKUR