## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- UP-GRADATION OF PRIMARY SCHOOL TO MIDDLE SCHOOL IN DISTRICT SUKKUR 2017-18 PROGRAMME AT GGPS CENTRAL JAIL TALUKA ROHRI. (ADP NO. 235)
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
PART "A" SCHEDULE ITEMS
1 | 6638 | Excavtion in foundation of Building Bridges and other structures including dagbelling dressing,refilling around structrure with excavated earth Watering and ramming lead upto 5 ft (b) in ordinary soil (C.S.I No:18 (b)P.4) | 3176.25 | %0Cft | 21083.9475
2 | 1149 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:5:10 (C.S.I No: 4 (c) Page No:15) | 8694.95 | %Cft | 99904.9755
3 | 1447 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:6:12 (C.S.I No: 4 (D) Page No:15) | 8122.95 | %Cft | 117539.0865
5 | 5313 | Pacca brick work in foundation and plinth in cement sand mortor ratio 1:6(C.S.I No:4 (e) P.21). | 11948.36 | %Cft | 635055
6 | 3116 | Rein forced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid sepretely this rate also includes all kinds of forms moulds:lifting shuttering curing rending and finishing the exposed surface (including screening and washing of shingle) (a) RC work in slabe bams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respects. (I)Ratio (1:2:4) 90 Lbs cement 2 Cft. sand 4 Cft . shingle 1/8" to 1/4" guage.(C.S.I No:6 A (1) P.17). | 337 | P.Cft | 1050092
7 | 153.017 | Fabrication of Tor steel reinforecement for cement concrete including cutting bending and laying in position making joints and fastings including cost of binding wire also includes removal of rust from bars (C.S.I No:8 B P.17). | 5001.7 | P.Cwt | 765345.1289
8 | 4425 | Filling watering and raming earth in floor with surplus from foundation lead upto one chain and lift upto 5ft. (C.S.I No: 21 P.4). | 1512.5 | %0Cft | 6692.8125
9 | 6790 | Filling watering and raming earth under floor with new earth excavated from outside lead upto on chain and lift upto 5ft. (C.S.I No: 22 P.4). | 3630 | %0Cft | 24647.7
11 | 1425 | Pacca brick work other then building including stricking of joints up to feet height (C.S.I No: 7 (e) Page No: 26) | 12346.65 | %Cft | 175939.7625
12 | 5412 | Pacca brick work in ground floor in cement sand mortor ratio: (C.S.I No: 5 (e) Page No: 21) | 12674.36 | %Cft | 685936.3632
13 | 11802 | Cement plaster upto 20' height 1/2" thick rario 1:6 (C.S.I No: 13 (b)Page No: 52). | 2206.6 | %Sft | 260422.932
14 | 11802 | Cement plaster upto 20' height 3/8" thick rario 1:4 (C.S.I No: 11 (a) Page No: 52). | 2197.52 | %Sft | 259351.3104
15 | 5159 | Cement pointing strucking of joints of walls ratio 1:2 (C.S.I No: 19 (a) Page. 53) | 1287.44 | %Sft | 66419.0296
16 | 262 | First class deodar wood wrought joinery in doors and windos etcfied inosition I/c in chwoakts holds fasts hings iron tower bolts chowks cleats handles and cards with hooks etc Deodar paneled or paned are fully glazed 1/3/4"only shutter (C.S.I No:7 (b) P.58). | 902.93 | P.Sft | 236567.66
17 | 277 | Providing and fixing in position, Doors, Windows and Ventilators of first class deodar wood frames, and 1 3/4" thick commercial , ply veneer shutters of first class deodar skeleton (H ollow ) and commercial ply wood (3 ply ) on both sides. | 856.03 | P.Sft | 237120.31
18 | 715 | Providing and laying single per layer of polithin 0.13mm thick for water proffing per specification and instructions of engineer incharge(C.S.I No:38 P.44). | 10.7 | P.Sft | 7650.5
19 | 32 | Providing and fixing deodar Almirah 9"-12" depth including boxing with back shalves shutters rass fitting complete. (C.S.I No:23 P.61). | 1778.59 | P.Sft | 56914.88
20 | 218 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for door using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ration 1:6 and reparing the jambs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:29 P.93). | 228.9 | P.Rft | 49900.2
21 | 493 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for windows using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ratio 1:6 and reparing the janbs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:28 P.93). | 240.5 | P.Rft | 118566.5
22 | 468 | M/F Grating in opening i/c fixing at site with iron 2" x 3/8" and 3/4" bars 4" centre to centre (CSI No. 25 P.92). | 293.15 | P.Sft | 137194.2
23 | 1073 | Cement concrete plain including placing compacting, finishing curing, complete including screening and washing of stone aggregate without shuttering. (CSI No.5(a) P-18) | 14429.25 | %Cft | 154825.8525
24 | 3595 | Providing and lying 2" thick topping cement concrete 1:2:4. Including surface finishing dividing into panels(C.S.I No:16 (c) P-42) . | 3275.5 | %Sft | 117754.225
25 | 1960 | Mosaic tiles of white cement 8" x 8" 1" of approved shade laid flat in 1:2 white cement mortar over a bed of 3/4" thick lime mortar 1:2. (C.S.I No. 45 P-45). | 12416.99 | %Sft | 243373.004
26 | 328 | Mosire dado skinting one partt of gray cement and two part of marble chips laid over 3/8" thick cement plaster 1:3 complete with finishing (C.S.I No: 39 (a) Page- 45) | 9986.71 | %Sft | 32756.4088
27 | 128 | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 over 3/4: thick cement mortor 1:2 complete (C.S.I No:24 P-43) . | 27678.68 | %Sft | 35428.7104
28 | 448 | White glazed tile 14" thick dado jointed in white cement and laid over 1:2 cement sand mortor 3/4 " thick including finishing (C.S.I No:37 P-45) . | 28253.61 | %Sft | 126576.1728
29 | 160 | Notice board made with cement (C.S.I No:1 P.95). | 58.11 | P.Sft | 9297.6
30 | 80 | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangemtnt. (C.S.I No:24 P-92) | 726.72 | P.Sft | 58137.6
31 | 540 | P/F Fixing paving blocks flooring having size of 197x97x80 (mm) of city / guddra / cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc complete (C.S.I No. 74 P-50). | 248.17 | P.Sft | 134011.8
32 | 3595 | Two coats of bitumen laid hot using 34"Lbs for 100sft over roof and blinded with sand at 1Sft per 100sft (C.S.I No:13 P.35). | 1887.4 | %Sft | 67852.03
33 | 2867 | White wash three coats (C.S.I No:26 (c) P-54). | 829.95 | %Sft | 23794.6665
34 | 11802 | Primary coat of chalk under destember (C.S.I No:23 P-54). | 442.75 | %Sft | 52253.355
35 | 9180 | Destember three coats (C.S.I No:24 (c) P-54). | 1079.65 | %Sft | 99111.87
36 | 7250 | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. Three coats (CSI No. 38 (c) P. No. 56) | 1328.25 | %Sft | 96298.125
37 | 1178 | Painting new surface, and paiting of doors and windows any type (i/c edges) 2 coats (C.S.I No:4 (c) P-76). | 2116.41 | %Sft | 24931.3098
38 | 160 | Painting guard bars gats iron bars grating raling including standard braces etc and smiller open work three coat (C.S.I No:4 (d) (ii) P-70). | 1270.83 | %Sft | 2033.328
|  |  | TOTAL :- |  | 6290791
PART "B"
1 | 3 | Providing & fixing squating type white glazed of flushe cisten with internal fitting&flush pippe with bend and making requesite numbers of holes in wall plinth & floor for pipe conection & making good in cement concrete 1:2:4. W.C not less than 19" clear opening between flushing rims and 3 gallons flushing tank with4" dia C.I trap with C.I thumble. (S.I No:1 (b) i P-No:1) | 4802.6 | Each | 14407.8
2 | 3 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into wall, painted white in two coast after a primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or c.P brass traps malloable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection and making good in cement concrete 1: 2: 4 (Standard pattern). (S.I No:8 P-No:3). | 4253.7 | Each | 12761.1
3 | 3 | Add: extra labour for providing and fixing of earthen wire padestle whiute or colored glass standared pattern (S.I No:9 P-No:3). . | 938.47 | Each | 2815.41
4 | 4 | P/F in position nyloon connections complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nyloon connection (S.I No:23 P-No:6). | 447.15 | Each | 1788.6
5 | 2 | P/F 6" x 4" c.c gully trap with 4" dia out let complte with 4" thick 1:2:4 c.c for bed and 1/2" thick cement plaster 1:3 to the karb c.I caning 6" x 6" and c.I cover and frame 12" x 12" in side etc complete (S.I No:1(a-i) P-No:21). | 1193.17 | Each | 2386.34
6 | 2 | Providing & fixing 6" x 2" or 6" x 3" C.I floor trap of the approved selt cleaning design with a C.I scrrewed down gratting with or without a vent arm complete with & I/c making requisite number of holes in walls, plinth & floor for Pipe connections & making good cement concrete 1:2:4. (S.I No.. 20 Page No.3). | 2042.43 | Each | 4084.86
7 |  | RCC pipe with colar class "B" and didding the traches to the required depth an fixing in positin I/c cutting fitting and jointing with max phalt composition and cemen mortor 1:1 and testing with water presure to head of 4 Ft aboe the top of theheight
| 50 | 4"dia | 146.57 | Each | 7328.5
| 30 | 6" dia | 199.25 | Each | 5977.5
8 |  | Providing G.I pipe special and clamps etc including fixing cutting and fitting complete with and including cost of breaking throuhg walls and roof making good etc, painting 2 coats after cleaning the pipes etc with white zink paint with pigment to match t
| 100 | 1/2"dia | 73.21 | Each | 7321
| 50 | 3/4"dia | 95.79 | Each | 4789.5
| 30 | 1"dia | 128.5 | Each | 3855
| 20 | 1 1/4"" dia | 153.19 | Each | 3063.8
9 |  | Add: extra labor for concealed G.I pipe and fitting I/c making recess in the wall for pipe and making good in cement mortor etc complete (S.I No:2 P-No:11).
| 100 | 1/2"dia | 7.82 | Each | 782
| 50 | 3/4"dia | 8.45 | Each | 422.5
10 |  | Providing and fixing full way gun metal values with wheels threaded or flanged ends with rubber washing (b) standared pattern (Note standared Manufacture by M/S Anwar Mechnical works (S.I No:4 (b) P-No:17).
| 2 | 1/2"dia | 161.92 | Each | 323.84
| 2 | 3/4 dia | 227.92 | Each | 455.84
8 | 4 | S/F concelled stop cock of superior quality with crystal head head 1/2" dia (S.I No:11 (b) P-No:18). | 478.28 | Each | 1913.12
9 | 1 | S/F long bib cock of crystal head with c.p head1/2" dia (S.I No:13 (b) P-No:19). | 1109.46 | Each | 1109.46
10 | 1 | S./F wash been mixture of superior quality with c.p head 1/2" dia with crystal head (S.I No:16 (b) P-No:15). | 2882 | Each | 2882
11 | 1 | S/F swan type piller cock | 795 | Each | 795
12 |  | P/F handle values (China) (S.I No:7 P-No:14).
i | 2 | 3/4" dia | 271.92 | Each | 543.84
ii | 2 | 1" dia | 365.42 | Each | 730.84
13 |  | Supplying & fixing fibre glass tank of approved quality and design and wall thicness as specified I/c cost of nutes, bolts and fixing in plateform of cement concerete 1: 3: 6 and makin connections for in -let ,& ou-let & over flow pipes etc. complete.
i | 1 | 250 Gallon | 21989.62 | Each | 21989.62
14 | 80 | Boring for tube well in all watering berring soils from ground level upto 100 ft or 30.5 mt i/c sinking and withdrawing of cassing pipr 8mm 3" dia | 160 | Each | 12800
15 | 8 | Constrction of main hols in inspection chamber. | 14748 | Each | 117984
16 |  | Providing PVC Pipes of class D equalvalent make) fixinbg in trench i/c cutting fitting and jointing with "Z" joint with one rubber Ring i/c testing with water to head of 122 metere or400ft. (S.I.No:3 Page No:23)
i | 100 | 3" dia | 137 | Each | 13700
ii | 100 | 4" dia | 226 | Each | 22600
17 | 1 | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hineges and buffers, 3 gallons white glazed earthen earthen ware low level foushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls, plinth and floor for Pipe connectios and making good in cement concerete 1: 2: 4. (Foreign Quality). | 11477 | Each | 11477
|  |  | TOTAL :- |  | 281063
Amount Total (CSR)
Part "A" |  | % Above / Below ____________ | Total Amount
Part "B" |  | % Above / Below ____________ | Total Amount
Total "A+B"
NON SCHEDULE ITEMS
1 | 812 | Providing & laying floor of Verona marble tiles of size 12” x 12” x ¾” fine dressed on the surface without winding set in white cement laid over 3 / 4” thick bed of 1:2 grey cement mortar setting the tiles with grey cement slurry, jointing and washing the tiles with slurry of white cement and pigment to match the colour of titles, including curring, grinding, rubbing and chemical polishing etc. complete i/c cutting tiles to proper profile. |  | P.Sft
TOTAL :-
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SUKKUR