## Est Elect A
Schedul B
Name Of Work |  | Construction of Public @ Jhangara Library Taluka Sehwan, District Jamshoro. ADP No. 216 of 2017-18
| Description | Quantity |  |  | Rate |  |  | Unit |  | Amount
Part A (Schedule Item)
1 | Wiring for light or fan point with 1/1.13 (3/0.29) PVC insulated wire in (3/4") Conduit recessed in the wall or Column etc complete. (S.I.No. 124/P-15)
|  | 93 | Nos. | Rs. |  | 1130 |  | Each |  | Rs. | 105090
2 | Wiring for plug point with 1/1.13 (3/0.29) PVC insulated wire in recessed in the wall etc complete. (S.I.No. 126/P-15)
|  | 21 | Nos. | Rs. |  | 985 |  | Each |  | Rs. | 20685
3 | Wiring for call bell point with 1/1.13 (3/0.29) PVC insulated wire in recessed in the wall etc complete. (S.I.No. 128/P-15)
|  | 2 | Nos. | Rs. |  | 1764 |  | Each |  | Rs. | 3528
4 | Wiring for mains with 2 - 7/0.29 PVC insulated wire in recessed in the wall etc complete. (S.I.No. 10/P-2)
|  | 177 | Mtr | Rs. |  | 222 |  | P.Mtr |  | Rs. | 39294
5 | Wiring for mains with 2 - 7/0.44 PVC insulated wire in recessed in the wall etc complete. (S.I.No. 12/P-2)
|  | 100 | Mtr | Rs. |  | 341 |  | P.Mtr |  | Rs. | 34100
6 | Wiring for mains with 2 - 7/0.52 PVC
|  | 33 | Mtr | Rs. |  | 463 |  | P.Mtr |  | Rs. | 15279
7 | Wiring for mains with 2 - 7/0.64 PVC insulated wire in recessed in the wall etc complete. (S.I.No. 14/P-2)
|  | 0 | Mtr | Rs. |  | 641 |  | P.Mtr |  | Rs. | 0
07 | P/F AC one way single phase 10/15 amps switch flush type on a given prepared board. (S.I.No. 219/P-33)
|  | 0 | Nos. | Rs. |  | 54 |  | Each |  | Rs. | 0
08 | P/F flush type 2 pin 5 amps single phase plug socket switch & shoe unit on prepared board .(S.I.No. 225/P-33)
|  | 0 | Nos. | Rs. |  | 83 |  | Each |  | Rs. | 0
09 | P/F flush type 3 pin 5 amps single phase plug socket switch & shoe unit on a given prepared board. (S.I.No. 226/P-33)
|  | 0 | Nos. | Rs. |  | 151 |  | Each |  | Rs. | 0
10 | P/F flush type 3 pin 15 amps single phase surface plug socket switch & shoe unit on a given prepared board. (S.I.No. 227/P-33)
|  | 0 | Nos. | Rs. |  | 162 |  | Each |  | Rs. | 0
8 | P/F Brass Battern holder. (S.I.No. 232/P-33)
|  | 30 | Nos. | Rs. |  | 70 |  | Each |  | Rs. | 2100
9 | P/F SW baklite ceiling rose on SW board. (S.I.No. 228/P-33)
|  | 37 | Nos. | Rs. |  | 72 |  | Each |  | Rs. | 2664
10 | P/F Circuit breaker 6 amps to 63 amps S.P including fixing as required (S.I.No-203/P-31)
|  | 13 | Nos. | Rs. |  | 916 |  | Each |  | Rs. | 11908
11 | P/F Circuit breaker 6 amps to 63 amps D.P including fixing as required (S.I.No-204/P-31)
|  | 2 | Nos. | Rs. |  | 2456 |  | Each |  | Rs. | 4912
12 | P/F Circuit breaker 6,to 63 amps T.P including fixing as required (S.I.No-206/P-31)
|  | 1 | Nos. | Rs. |  | 5521 |  | Each |  | Rs. | 5521
15 | P/F Circuit breaker 15,20,30,&100 amps triple pole including fixing as required (S.I.No-207/P-31)
|  | 0 | Nos. | Rs. |  | 9261 |  | Each |  | Rs. | 0
16 | P/F Ceiling fan 56" sweep complete in all respect as required (S.I.No- 235 P-34 )
|  | 0 | Nos. | Rs. |  | 3185 |  | Each |  | Rs. | 0
13 | P/F Volt meter 500 volts as required ( S.I.No 285 P-41)
|  | 1 | Nos. | Rs. |  | 999 |  | Each |  | Rs. | 999
[7 empty] | Total |  |  | Rs. | 246080
Part B (Non Schedule Item)
1 | P/F 1-40 watts tube light complete with 40 watt s 4' long rod. Chock starter and patty as required
|  | 17 | Nos. | Rs. |  | 802.63 |  | Each |  | Rs. | 13645
2 | P/F 25 watts Energy saver of superior quality as required
|  | 45 | Nos. | Rs. |  | 407 |  | Each |  | Rs. | 18315
3 | Providing & fixing capsol light plastic body with plasitc reflector holder etc.
|  | 15 | Nos. | Rs. |  | 609.84 |  | Each |  | Rs. | 9148
4 | P/F Ceilling fan 56" complete in all respect as required (GFC Karachi made/pak orignal good Quility)
|  | 20 | Nos. | Rs. |  | 5262 |  | Each |  | Rs. | 105240
5 | P/F Mix metallic sheet 2.4.6.8 hole including frame and Pvc board clip switch etc as required
|  | 25 | Nos. | Rs. |  | 385 |  | Each |  | Rs. | 9625
6 | P/F A.C Power plug Imported Quality complete with switch socket 3-pin 15 Amps i/c sheet frame with PVC board clips complete as required
|  | 3 | Nos. | Rs. |  | 785.1 |  | Each |  | Rs. | 2355
7 | P/F flush type ceiling fan dimmer imported Quality as required
|  | 20 | Nos. | Rs. |  | 354.64 |  | Each |  | Rs. | 7093
8 | P/F Mild steel bar fan clamps 15.8mm 5/8" dia suitable for Rcc roof.
|  | 20 | Nos. | Rs. |  | 236.94 |  | Each |  | Rs. | 4739
9 | Providing 20mm (3/4") G.I pipe with 1/1.13mm (3/29) PVC wire for down rod of ceiling fan paiting with enameled paint complete as required
|  | 20 | Nos. | Rs. |  | 193.23 |  | Each |  | Rs. | 3865
10 | P/F Distribution board of 1.5mm thick sheeting double shutter to accommodate circuit breaker, 500 V suitable for 50 Hz i/c painting with powder coated colour complete as required
|  | 8 | Sft | Rs. |  | 1950 |  | P.Sft |  | Rs. | 15600
11 | P/F Main Panel board 12 guage sheeting double shutter to accommodate heavy duty circuit breaker i/c painting with powder coated colour complete as require
|  | 5 | Sft | Rs. |  | 2324 |  | P.Sft |  | Rs. | 11620
12 | P/F Exhaust fan 12" Plastic Body complete in all respect as required (GFC Karachi made/pak orignal good Quility)
|  | 3 | Nos. | Rs. |  | 3223 |  | Each |  | Rs. | 9669
13 | P/F Wall Bracket fan 18" complete in all respect as required (GFC Karachi made/pak orignal good Quilit
|  | 2 | Nos. | Rs. |  | 4922.5 |  | Each |  | Rs. | 9845
P/F Metalic Switch Socket and bell push etc component in all respect as required.
|  | 96 | Nos. | Rs. |  | 244 |  | Each |  | Rs. | 23424
15 | P/F AC or DC Electri Bell 200/240 China Made
|  | 2 | Nos. | Rs. |  | 515 |  | Each |  | Rs. | 1030
16 | Erection of given A.C Celling fan i/c wiring of down rod with 1.13m (3/29) PVC Wire
|  | 20 | Nos. | Rs. |  |  |  | Each |  | Rs. | 0
16 | S/F Pilot lamp 200/240V China made (R.A.A)
|  | 9 | Nos. | Rs. |  | 204 |  | Each |  | Rs. | 1836
18 | P/F metal holder suitable for false ceilling saver cor plate as required
|  | 5 | Nos. | Rs. |  | 604 |  | Each |  | Rs. | 3020
19 | P/F LED light 8'' Square / Circle ( 9 Watt) in plastic cover fancy type (China made)
|  | 2 | Nos. | Rs. |  | 2450 |  | Each |  | Rs. | 4900
20 | P/F LED Tube light 18 Watt (Light emitting diod) Clasfication with LED driver completed plastic cover and base etc complete
|  | 2 | Nos. | Rs. |  | 3500 |  | Each |  | Rs. | 7000
[7 empty] | Total (Part B) |  |  | Rs. | 261969
[7 empty] | Total (Part A) S.I |  |  | Rs. | 246080
| __________________ % Above / Below on the Rates of CSR | [7 empty] | Amount to be added / deducted on
basis of premium quoted Total (b)
Total a + b Rs. (a) ______________Rs. (b) _____________ Rs. _______________(c) +NSI Rs__________________
Total (a+b+c) ___________________
In words & fiqure _______________________________________________________________________
_____________________________________________________________________________________
| CONTRACTOR | [7 empty] | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
JAMSHORO