S.No.53

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE DHORONARO

NAME OF WORK: 	DE-SILTING OF STORAGE TANK OF WATER SUPPLY SCHEME OF DHORONARO TOWN.

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 112896.0 | Earth work excavation in ashes sand soft soil or silt clearance undressed lead upto 50 ft ( GSI No. 2 P-1) | 1663/75 | P%0 Cft | Rs.187831/= |
| 02 | 112896.0 | Extra for wet earth work (GSI No.15 P-3) | 1058/75 | P% Cft | Rs.119529/= |
| 03 | 70.0 | Full hire charges of the pumping set per day inclusive of wge of driver and assistant fuel or electric energy plate forms required for placing pumps etc at l;ower depth with suction and delivery pipes of pumping out water found at various depths from tre3nches i/c the cost of erection and dismantling after completion of the job. (iv) Hire charges of pumping set of upto 10 H.P (But not less than 5 H.P ) pumping out water from 10 ft deep trenches ( Sch: Rates vol-3 Part- iv No. 23/iv P-76). | 1500/= | P.day | Rs.105000/= |
| 04 | 112896.0 | Cartage Item (Schedule) Cartage of 100 Cft stone of all material like stone aggregate Schedule of material (lead 3miles) | 502/52 | P% Cft | Rs.567325/= |
| - | - | - | Total==== |  | Rs.979685/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency