S.No.55

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE DHORONARO

NAME OF WORK: 	SUPPLY AND FIXING / INSTALLATION OF HAND PUMP IN VARIOUSE WARD NO.1 DHORONARO

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 1000 | Boring for the tube wail in all water bearing soils from grounds Level upto 100 ft. or 30.50 meter depth i/c sinking and with drawing Of casing pipe (P.H.I.No.--- 1 P/41..I.No.1.a) 3 " Dia | 160/= | Prft | Rs.160000/= |
| 02 | 700.0 | Suppling and installion PVC blaind pipe B class Of approved desgn and make i/c nesserry socket etc complete( PHED.P.N.44.I.N.12.a) | 119/7 | Prft | Rs.83790/= |
| 03 | 300.0 | Suppling and installion PVC Strainer pipe B class Of approved desgn and make i/c nesserry socket etc complete( PHED.P.N.43.I.N.9.a) | 166/35 | Prft | Rs.49905/= |
| 04 | 400.0 | G.I Pipe of approved quality to be tested with pressue head 0f 200 Foor etc complete 6"dia SPH of Rate Material W/S P-6 itom No.1.G (111) | 235/96 | Prft | Rs.94384/= |
| 05 | 500.0 | Exaction in foundation of building bridges and other structure i/c bag belling dressing refilling around structure with excavated watering and ramming lead up to one chain and lift up to 5 feet (G.S.I.No.18 P-04) | 3176/25 | P%0 Cft | Rs.1588/= |
| 06 | 250.0 | cement concrete plain i/c placing compacting finishing and curing 1:4:8 ratioand curing complete i/c screening and washing of stone aggregate Without shuttering ration 1:2:4. | 11288/75 | P% Cft | Rs.28221/875 |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 07 | 293.20 | Ratio: 1 :2:4 | 14429/25 | P% Cft | Rs.42306.561 |
| 08 | 20.0 | Providing and fixing /Hand pump machine i/c with all accessories etc complete | 2500.0 | P.Job | Rs.50000/= |
| - | - | - | Total==== |  | Rs.510196/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency