S.No:30

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE DHORONARO

NAME OF WORK: 	SURFACE DRAINS NEHAL HOUSE TO G.P.S ABDULLAH SHAH & ARBAB MANGRIO HOUSE TO CHANISAR ARISAR HOUSE & IMAM UL-DIN TO SULTAN HOUSE & MUHAMMAD AMEEN RIND TO IMAM UL-DIN SHOP & G.P.S ALAM BHATTI TO G.P.S ALLAH BUX MAHAR

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 41.08 | Dismantling brick work in lime or cement mortar ( GSI No. 13 P-10) | 1285/63 | P% Cft | Rs.528/= |
| 02 | 11.01 | Dismantling of cement concrete plain (1:4:8) (GSI No.19/a P-110) | 1663/75 | P% Cft | Rs.183/= |
| 03 | 7.26 | Dismantling of cement concrete plain (1:2:4) (GSI No.19/c P-10) | 3327.50 | P% Cft | Rs.242/= |
| 04 | 9.58 | Dismantling cement concrete reinforced separating einfor cement from concrete cleaning and straighting the same (GSI NO.20 P-10) | 5445/= | P% Cft | Rs.522/= |
| 05 | 2420.0 | Excavation in foundation of building bridges and other structures i/c dag belling dressing refilling earth around structure with excavated earth watering and ramming lead upto 5’ ft (G.S.I No. 18 P-4) | 3176/25 | P%0 Cft | Rs.7687/= |
| 06 | 605.0 | Cement concrete plain i/c placing compacting, finishing and curing complete i/c screening & washing of stone aggregate, without shuttering Ratio (1:4:8) (GSI No. 5/1 P-16) | 11288/75 | P% Cft | Rs.68297/= |
| 07 | 1500.0 | Pacca brick work in foundation and plinth in cement sand mortar Ratio (1:6) (G S I No. 4/e P-20). | 11948/36 | P% Cft | Rs.179225/= |
| 08 | 1000.0 | Construction of standard open type drain cunette block of cement concrete (1:2:4)cast in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32”to the exposed face finished smooth curing etc complete as per det ailed drawing (PHSI NO;1 PAGE-58) | 94/= | P.Rft | Rs.94000/= |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 09 | 3000.0 | Cement Plaster (1:4) up top 12’ ft height ½ thick (GSI No. 11/B P-52). | 2283/93 | P% Sft | Rs.68518/= |
| 10 | 288.75 | R.CC work i/c all labour and material except the cost of steel reinforcement and its labour for bending & binding which will be paid separately. This rate also includes all kind of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of single. (a) R.C work in roof slab, beams columns raft. Lintels and other structural members laid in situ or precast laid in position compete in all respect. ( GSI No.6 P-18) | 337/= | P.Cft | Rs.97309/= |
| 11 | 11.60 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars (GSI No.7(ii) P-20). | 5001/70 | P.Cwt | Rs.58028/= |
| 12 | 2488.93 | Earth from outside of town to site of work (lead 2 miles) | 502/52 | P% Cft | Rs.12507/= |
| - | - | - | Total==== |  | Rs.587045/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency