S.No.48

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE DHORONARO

NAME OF WORK: 	PROVIDING LAYING JOINTING & TESTING 6”X4”X3” DIA PUVC PRESSURE PIPE AT DARO SOOMRA PARA KORI PARO MENGHWAR PARO & CHOHAN PARO.

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 6”dia 400.0 | Providing laying UPVC Pipes of Class B (equivalent make) fixing in trench i/c cutting fitting and jointing with Z joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft(PHSI No.1 P.22) | 262/= | P.Rft | Rs.104800/= |
|  | 500.0 | 4”dia | 137/= | P.Rft | Rs.68500/= |
|  | 2500.0 | 3”dia | 90/= | P.Rft | Rs.225000/= |
| 02 | 6”dia 4 Nos | C.I Sluice valve heavy pattern (test pressure 300 Ibs/sq: inch) (SOMI No.2 P-97) | 9360/= | P.Each | Rs.37440/= |
|  | 4 Nos | 4”dia | 5460/= | P.Each | Rs.21840/= |
|  | 6 Nos | 3”dia | 4290/= | P.Each | Rs.25740/= |
| 03 | 8 Nos | Short pieces (SMI No.9 P.No.101) | 618/75 | P.Each | Rs.4950/= |
|  | 8 Nos | 4”dia | 487/50 | P.Each | Rs.3900/= |
|  | 12 Nos | 3”dia | 618/75 | P.Each | Rs.7425/= |
| 04 | 4 Nos | C.I Gibault Joints (SOMI No.14 P.No.103) | 1062/50 | P.Each | Rs.4250/= |
|  | 8 Nos | 4”dia | 731/25 | P.Each | Rs.2925/= |
|  | 6 Nos | 3”dia | 568/75 | P.Each | Rs.3413/= |
| 05 | 2 Nos | Reducers (SOMI No.11 P.No.102) | 568/75 | P.Each | Rs.1138/= |
|  | 3 Nos | 6”X4 | 893/75 | P.Each | Rs.2681/= |
| 06 | 4 Nos | Specials for PVC pipe “B” Class standard weight ACIL (SOMI No.18 P-112) | 1800/= | P.Each | Rs.7200/= |
|  | 8 Nos | 4”X4”3 | 1181/= | P.Each | Rs.9448/= |
|  | 10 Nos | 3”X3” | 900/= | P.Each | Rs.9000/= |
|  | 3 Nos | 6”dia | 1913/= | P.Each | Rs.5739/= |
|  | 3 Nos | 4”dia | 956/= | P.Each | Rs.4780/= |
|  | 8 Nos | 3”dia | 731/= | P.Each | Rs.5848/= |
|  | 6 Nos | 6”dia | 1775/= | P.Each | Rs10650/= |
|  | 3 Nos | 4”dia | 1125/= | P.Each | Rs.4500/= |
|  | 10 Nos | 3”dia | 405/= | P.Each | Rs.4050/= |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 07 | 20 Joint | Making Joints to PVC specials fitting (i/c laying of specials and cost of solvent cement) of required diameter and festing the joints along with PVC pipe line ‘B’ ‘C’ and ‘D’ class to the specified pressure and making good to all leaky joints etc complete.( PHSI No.1 P.No.41) | 96/= | P.Joint | Rs.1920/= |
|  | 18 Joint | 6”dia | 70/= | P.Joint | Rs.1260/= |
|  | 30 Joint | 3”dia | 59/= | P.Joint | Rs.1770/= |
| 08 | 8 Joint | Jointing C.I M.S flanged pipes and special flange and inside a trench i/c supplying rubber Packing of the required thickness nuts bolts with was hers etc and other tools required for jo Jointing and testing and testing the joint to the specified pressure etc complete (PHSI (M) No.1 P-40) | 938/= | P.Joint | Rs.7504/= |
|  | 8 Joint | 4”dia | 513/= | P.Joint | Rs.4104/= |
|  | 12 Joint | 3”dia | 499/= | P.Joint | Rs.5988/= |
| 09 | 21500.0 | Excavation for pipe lines in trenches, and pits in soft soils i/c trimming and pits in wet soils clay of mud i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineering Incharge, providing fence guars, lights flags and temporary crossing for non vehicular traffic where ever, required lift upto 5ft (1.52MM) and lead upto one chain (30.50M) (PHSI No.2 Page No.60) | 36000/= | P%Cft | Rs.77400/= |
| 10 | 19350.0 | Refilling the excavated stuff trench 6” thick layers i/c watering ramming to full compaction etc complete (PHSI No.24 P.No.77) | 19350.0 | P%Cft | Rs.53406/= |
| 11 | 1000.0 | Carriage of UPVC / P.E Pipe of any class by Mechanical transport i/c loading Un-loading and stacking @ site from factory to site lead 220 Miles | 444/69 | P%Cft | Rs.4447/= |
|  | 1200.0 | 4”dia | 204/45 | P%Cft | Rs.2453/= |
|  | 5000.0 | 3”dia | 121/37 | P%Cft | Rs.6069/= |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 12 | 6.0 | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3’-6” 91067 mm) depth with walts or B.B in cement sand mortar 1:3 cement plastered 1:3 ½” thick inside of walls and 1” (25mm) thick over benching and channel i/c fixing C.I manhole cover with fame of clear opening 1/1/2” X 1-1/2” (1457X457mm) of 1.75 cwt (88.9 kg) embaded in plain C.C 1:2:4 and flxing 1” (102mm) dia M.S steps 6” (150mm) wide projecting 4” (102mm) from the face of wall at 12” (305mm) C.C duly painted etc Complete as per standard specification and drawing (PHSI.No.1 P.No.46) | 14748/= | P.Each | Rs.88488/= |
| - | - | - | Total==== |  | Rs.830026/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency