S.No.47

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE DHORONARO

NAME OF WORK: 	CONSTRUCTION OF CULVERT WARD NO,01

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 593.0 | Excavation in foundation of Building, Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth, watering and ramming lead upto 5.00 ft. (in ordinary soil) (G.S.I No.18(a) P.No.4) | 3176/25 | P%0 Cft | Rs.1884/= |
| 02 | 141.0 | Cement Concrete brick or stone ballast 1 1/2 to 2" gauge. Ratio 1:4:8. (G.S.I No.18(a) P.No.4) | 9416/28 | P% Cft | Rs.13277/= |
| 03 | 302.0 | Pucca brick work in foundation and plinth in cement sand mortar 1:4 (G.S.I No.4(i) P.No.22) | 12501/41 | P% Cft | Rs.37754/= |
| 04 | 43.0 | Cement concrete plain including placing,compacting, finishing and curing, complete (including screening and washing of stone aggregate without shuttering (Ratio 1:2:4). (G.S.I No.5(f) P.No.17) | 14429/25 | P% Cft | Rs.6205/= |
| 05 | 4.22 | Febrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.) (G.S.I No.7(a) P.No.18) | 5001/70 | P. Cwt | Rs.21107/= |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 06 | 61.0 | Reinforced cemnt concrete work including all labour and materials except the cost of steel reinforcement and its labour for bending and binding which wil be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle). R.C. work in roof slab, brams, columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1:2:4) 90 lbs cement 2 Cft. sand 4 Cft. Shingle 1/8" to 1/4" gauge. (G.S.I No.6(i) P.No.18) | 337/= | P% Cft | Rs.20557/= |
| 07 | 19.0 | Erection and removal of centering for R.C.C. or plain cement concrete works of Partal wood (2nd class) (a) Vertical (G.S.I No.18(b) P.No.19 & 20) | 3127/41 | P% Sft | Rs.1181/= |
| 08 | 175.0 | Cement Plaster 1:3 upto 20.0' height. 1/2" thick. (G.S.I No.10(b) P.No.53) | 2344/59 | P% Sft | Rs.4103/= |
| - | - | - | Total==== |  | Rs.109531/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency