S.No.44

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE CHHORE

NAME OF WORK: 	CONSTRUCTION OF RCC UNDER GROUND RESERVOIR (TANK) NEAR MASJID WARD NO,01 CHHORE TOWN

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 2453.1 | Excavation for tanks and reservoirs in sandy soil i/c trimming and dressing sides to true alignment / design section / profile and shape leveling of beds of trenches to correct level and graded e i/c laying of earth in 6” layer for construction of banks and dressing and disposal of surplus earth. Excavated earth within a one chain as directed by Engineer Incharge i/c providing fence guards, lights flags and temporary crossings for non-vehicular traffic where ever required lift upto 5ft )1.52m) and lead upto one chain (30.5m) GPHSI NO.2 P-68) | 3150/= | P%0 Cft | Rs.7727/= |
| 02 | 2944.0 | Excavation for tanks and reservoirs in hard soil i/c trimming and dressing sides to true alignment / design section / profile and shape leveling of beds of trenches to correct level and graded e i/c laying of earth in 6” layer for construction of banks and dressing and disposal of surplus earth. Excavated earth within a one chain as directed by Engineer Incharge i/c providing fence guards, lights flags and temporary crossings for non-vehicular traffic where ever required lift upto 5ft )1.52m) and lead upto one chain (30.5m) GPHSI NO.3 P-68) | 3300/= | P%0 Cft | Rs.9714/= |
| 03 | 162.0 | Cement concrete plain I/c placing compacting finishing and curing complete (i/c screening & washing of stone aggregate without shuttering) (GSI No. 5/ b-page -16) | 11289/= | P%0 Cft | Rs.18277/= |
|  | 79.0 | Ratio 1:2:4 | 14429/= | P%0 Cft | Rs.11327/= |
| 04 | 1103.0 | R.CC work i/c labour and material except the cost of steel reinforcement and its labour for bending and building which will be paid separately this rates also includes all kinds of forms mould lifting shuttering curing rendering and screening finishing the exposed surface (i/c screening and washing of shingle) (a) Rcc Work in roof slab beams columns rafts lintels and other structural members laid in situ or pre-cast laid in position complete in all respect (I) Ratio (1:2:4) 90 lbs cement 2” cft sand 4 cft shingle 1/8” to ¼ “ gauge (GSI No. 6/a | 337/= | P%0 Cft | Rs.371723/= |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 05 | 59.09 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars ) (GSI No. 8/bP-No. 17). | 5001/70 | P. Cwt | Rs.295547/= |
| 06 | 250.0 | Providing Laying UPVC pipes of Class-B (equivalent make) fixing in tranch i/c cutting fitting & jointing with Z joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft. (PHSI No. 1 P-22) | 90/= | P%0 Cft | Rs.22500/= |
| 07 | 1500.0 | Excavation for pipe line in trenches & pits in Sandy soil i/c trimming and Pits in wet soils clay of mud i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as director Engineer Incharge, i/c providing fence guards, light Temporary crossing for non vehicular traffic where ever required lift up to 5’ ft ( 1.52 mm) and lead upto one chain ( 30.50 mm) ( PHSI No. A/1 P-60.) | 3600/= | P%0 Cft | Rs.5400/= |
| 08 | 1350.0 | Raffling the excavated stuff trench 6" thick layers i/c watering ramming to full compaction etc compete ( PHSI No. 24 P-77) | 2760/= | P%0 Cft | Rs.37260/= |
| 09 | 0.71 | Providing fixing C.I main hole cover with frame i/c cost of material ( PHSI No. 1 Page- 23) | 6985/= | P. Cwt | Rs.4989/= |
| - | - | - | Total==== |  | Rs.784465/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency