S.No.46

PART – IV

Scheduled to Bid

OFFICE OF THE TOWN COMMITTEE CHHORE

NAME OF WORK: 	REPAIR OF OPEN DRAIN / UNDER GROUND PIPE LINE DRAIN SYSTEM IN  WARD NO,06 CHHORE TOWN

Issued to M/s		____________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 01 | 1687.5 | Dismantling Brick Work in lime or cement morter GSI No. 13 P-10 | 1285/63 | P% Cft | Rs.21695/= |
| 02 | 637.50 | Dismantling & Removing road metalling (GSI No. 51 P-13 | 605/= | P% Cft | Rs.3857/= |
| 03 | 600.0 | Dismantling brick or flagged flooring without concrete foundation (GSI No.30 P-12) | 257/13 | P% Cft | Rs.1543/= |
| 04 | 3474.81 | Excavation in foundation building of Bridge and other structure i/c dage belling dressing refilling around structure with excavated earth watering and ramming lead upto 5’ ft on ordinary soil (GSI No. 18/ b- page -5). | 2722/5 | P%0 Cft | Rs.9457/= |
| 05 | 803.13 | Cement concrete plain I/c placing compacting finishing and curing complete (i/c screening & washing of stone aggregate without shuttering) (GSI No. 5/ b-page -15) | 9416/28 | P% Cft | Rs.75624/= |
|  | 231.0 | Ratio 1:2:4 | 14429/25 | P % Cft | Rs.33332/= |
| 6 | 2047.0 | Pacca brick work in foundation and plinth in cement sand mortar (1:6) (GSI No. 4/e P-20). | 11948/36 | P% Cft | Rs.244553/= |
| 7 | 350.0 | Construction of Standard open Type drain cunette blank of cement concrete (1:2:4) in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32" to the exposed face finished smooth curring etc complete (PHSI No. 1 P-58) | 94/= | Rft | Rs.32900/= |
|  | 200.0 | Type-B | 174/= | Rft | Rs.34800/= |
|  | 150.0 | Type-C | 309/= | Rft | Rs.46350/= |
| 8 | 2650.0 | Cement plaster ( 1:4) upto 12 ' ft height 1/2" thick (GSI No. 11/b, P- 52). Qty Same Item No. 9 | 2283/93 | P% Sft | Rs.60524/= |
| 9 | 66.0 | Erection & removal of centering for RCC or plain cement concrete works of partal wood (vertical) (GSI No. 19 (b)-ii P-17) | 3127/41 | P% Cft | Rs.2064/= |
| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| 10 | 232.88 | Reinforced Cement Concrete work including all labour and material except the cost of steel reinforcement and its labour for bending & bibding which will be paid seperately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering & finihing the exposed surface (including screening & washing of shingle) (a) RCC work in roof slab, beams columns rafts. Lintels and other structural members laid in situ or pre-cast laid in position completed in all respects. Ratio (1:2:4) 90 ibs cement 2 cft sand 4 cft shingle 1/8" to 1/4" guage. (GSI No. 6 P-16) | 337/= | P.Cft | Rs.78145/= |
| 11 | 9.32 | Fabrication of mild steel reinforcement for cement concrete incliding cutting, bending, laying in position making joints and fastenings including cost of binding wire (also I/c removal of rust from bars.(GSI No. 7 (ii) P-16) | 5001/7 | P% Cwt | Rs.46599/= |
| 12 | 3474.81 | Rehandling of earth work (a) lead upto a single throw of kassi phawrah (GSI No. 9 (b) P-3 | 1058/75 | P%0 Cft | Rs.3678/= |
| 13 | 875.0 | Lying earth in 6” layers leveling, dressing & watering for compaction etc complete (GSI No. 13(b) P-3) | 354/= | P% Cft | Rs.310/= |
| 14 | 3474.0 | Dressing and leveling of each work to design section etc complete (b) ordinary soil (GSI No.11(b) P-3) | 187/55 | P% Cft | Rs.652/= |
| - | - | - | Total==== |  | Rs.696082/= |

| Total Amount | Rs._______________ |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

Contractor 			       Engineer/Procuring Agency