SCHEDULE-B REHABLITATION OF BASIC HEALTH UNIT SETHARJA TALUKA THARI MIRWAH DISTRICT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-A (i) Catt: IIIrd Type Bungalow**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Removing cement or lime plaster.(S.I NO: 53 P.NO: 13) | | | | | |  |  |
|  |  |  | = | 1147 | CFt | 121/- | % Sft | 1388/- |
|  |  |  | One hundred twenty one rupees | | | | |  |
| 02 | Removing door with chowket.( S.I No: 33 (a) P-12) | | | | | |  |  |
|  |  |  | = | 02 | Nos | 142.18 | each | 284/- |
|  |  |  |  | One hundred forty two rupees eighteen ps: | | | |  |
| 03 | Dismantling cement concrete plain 1: 4: 8(S.I NO: 19 P-10) | | | | | |  |  |
|  |  |  | = | 08 | Cft | 1663.75 | % Cft | 133/- |
|  |  |  | Sixteen hundred sixty three rupees seventy five ps: | | | | |  |
| 04 | Dismantling brick work in lime or cement mortar.(S.I NO: 13 P.NO:4 ) | | | | | |  |  |
|  |  |  | = | 40 | Cft | 1285.63 | % Cft | 516/- |
|  |  |  |  | Twelve hundred eighty five rupees sixty three ps: | | | |  |
| 05 | Pacca Brick work in Ground Floor in cement sand mortar (S.I NO: P.NO ) | | | | | |  |  |
|  |  |  | = | 38 | Cft | 12674.36 | % Cft | 4816/- |
|  |  |  |  | Twelve thousand six hundred seventy four rupees thirty six ps:: | | | |  |
| 06 | Applying floating coat of Cement 1/32" thick.(S.I NO: 14 P-53) | | | | | |  |  |
|  |  |  | = | 1147 | Cft | 660 | % Sft | 7570/- |
|  |  |  |  | Six hundred sixty rupees | | | |  |
| 07 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | | |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1147 | Sft | 2206.60 | % SFt | 25310/- |
|  |  |  | Twenty two hundreds six rupees sixty ps: | | | | |  |
| 08 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1147 | Sft | 2197.52 | % Sft | 25206/- |
|  |  |  | Twenty one hundreds ninty seven rupees fifty two ps: | | | | |  |
| 09 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | |  |  |
|  |  |  | = | 1548 | Sft | 3275.50 | % Sft | 50705/- |
|  |  |  |  | Thirty two hundreds seventy five rupees fifty ps: | | | |  |
| 10 | Cement pointing struck joints on walls 1:2.(S.I NO: 19 (a) P-53) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 137 | Sft | 1287.44 | % Sft |  |
|  |  |  | Twelve hundred eighty seven rupees fourty four ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | Colour washing two coats (S.I NO: 25 P-54) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1049 | Sft | 859.90 | % Sft | 9020/- |
|  |  |  |  | Eight hundred fifty nine rupees ninty ps: | | | |  |
| 12 | Rough cost/stucco cement plaster 3/4" thick in Proportion of 1:1 1/2" 1 1/2" in cement hill sand and bajri in patterns.(S.I NO: 32 P-55) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 11 | Sft | 2306.10 | % Sft | 254/- |
|  |  |  |  | Twenty three hundred six rupees ten ps | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 | White washing. 03 three coats (S.I NO: 26 ©P.NO: 54). | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1303 | Sft | 829.95 | % Sft | 10814/- |
|  |  |  |  | Eight hundred twenty nine rupees ninty five ps: | | | |  |
| 14 | Scraping Ordinary distemper, iol bound distemper or paint on walls.(S.I NO: 54 (b)P-13) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 3469 | Sft | 226.88 | % Sft | 7870/- |
|  |  |  |  | Two hundred twenty six rupees eighty eight ps: | | | |  |
| 15 | Priming coat of chalk distemper.(S.I NO: 23 P.NO: 54) | | | | | |  |  |
|  |  |  | = | 1147 | Sft | 442.75 | % Sft | 5078/- |
|  |  |  | Four hundred fourty two rupees seventy five ps: | | | | |  |
| 16 | Distempering 02 two coats | | | | | |  |  |
|  |  |  | = | 4770 | Sft | 1043.90 | % Sft | 51499/- |
|  |  |  | One thousand fourty three rupees ninty ps: | | | | |  |
| 17 | Galvanized wire gauze fixed to chowkats with 3/4" deodar stips and screws.(S.I NO: 14 (d) P.NO: 60) | | | | | |  |  |
|  |  |  | = | 37 | Sft | 190.93 | % Sft | 33408/- |
|  |  |  | One hundred ninety rupees ninety three ps: | | | | |  |
| 18 | Painting Door & Windows any type 02 coats (S.I NO: P.NO: ) | | | | | |  |  |
|  |  |  | = | 555 | Sft | 1489.68 | % Sft | 8268/- |
|  |  |  | Fourteen hundred eighty nine rupees sixty eight ps: | | | | |  |
| 19 | Reinforced cement concrete spout including fixing in position 2 1/2" x 6" x 5".(S.I NO: 14 P-18) | | | | | |  |  |
|  |  |  | = | 08 | Nos | 261.25 | each | 2090/- |
|  |  |  | Fourteen hundred eighty nine rupees sixty eight ps: | | | | |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **269642/-** |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-A (ii) Catt: IIIrd Type Bungalow Compound wall**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Dismantling brick work in lime or cement mortar.(S.I NO: 13 P.NO:4 ) | | | | | |  |  |
|  |  |  | = | 40 | Cft | 1285.63 | % Cft | 516/- |
|  |  |  | Twelve hundred eighty five rupees sixty three | | | | | : |  |
| 02 | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft.(S.I NO: 18 P.NO: 4) | | | | | |  |  |
|  |  |  | = | 376 | “ | 3176.25 | %0Cft | 1194/- |
|  |  |  | Thirty one hundreds seventy six rups twenty five ps: | | | | |  |
| 03 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:5:10 (S.I NO: 4 (e)P.NO: 15) | | | | | |  |  |
|  |  |  | = | 94 | “ | 8694.95 | %Cft | 8173/- |
|  |  |  | Eighty six hundreds ninety four rups ninety five ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 04 | | Pacca Brick work in foundation / Plinth in cement & sand mortar ratio (1:6)(S.I No:05 (c)P.No:20) | | | | | | | |  |  | |
|  |  | |  | = | 578 | “ | 11948.36 | %Cft | 69062/-/- | | |
|  |  | |  | Eleven thousand nine hundred forty eight rupees thirty six ps: | | | | |  | | |
| 05 | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1 : 2: 4 ) 90 Lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.(S.I NO: 6 (a)P-16) | | | | | | |  |  | | |
|  |  | |  | = | 199 | Cft | 337/- | P.Cft | 67063/- | | |
|  |  | |  |  | Three hundred thirty seven rupes | | | |  | | |
| 06 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, lying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.)(S.I NO: 8 P.NO: 17 | | | | | | |  |  | | |
|  |  | |  |  |  |  |  |  |  | | |
|  |  | |  | = | 8.884 | cwt | 5001.70 | P.cwt | 44435/- | | |
|  |  | |  |  | Five thousands one rupees seventy ps: | | | |  | | |
| 07 | Pacca brick work in Ground Floor 1:6 in Cement sand mortar 1:6(S.I NO: 4 ( )P: NO: 20) | | | | | | |  |  | | |
|  |  | |  | = | 1491 | Cft | 12346.65 | % Cft | 184089/- | | |
|  |  | |  | Twelve thousands three hundreds forty six rups: sixty five ps: | | | | |  | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 08 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | | |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 2512 | Sft | 2206.60 | % SFt | 55430/- |
|  |  |  | Twenty two hundreds six rupees sixty ps: | | | | |  |
| 09 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 2512 | Sft | 2197.52 | % Sft | 55203/- |
|  |  |  | Twenty one hundreds ninety seven rupees fifty two ps: | | | | |  |
| 10 | Cement pointing struck joints on walls 1:3.(S.I NO: 19 (a) P-53) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1918 | Sft | 1287.44 | % Sft | 24693/- |
|  |  |  | Twelve hundred eighty seven rupees forty four ps: | | | | |  |
| 11 | Colour washing two coats (S.I NO: 25 P-54) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 4430 | Sft | 859.90 | % Sft | 38094/- |
|  |  |  |  | Eight hundred fifty nine rupees ninety ps: | | | |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | | ITEM OF WORK | |  | |  | | QTY | |  | | RATE | | UNIT | | AMOUNT |
| 12 | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangement. (S.I NO: 24 P-92) | | | | | | | | | | | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |  | |  | |
|  |  | |  | | = | | 56 | | Sft | | 726.72 | | P.Sft | | 40696/- | |
|  |  | |  | | Seven hundred twenty six rupees seventy two ps: | | | | | | | | | |  | |

13/- Painting guard bars gets iron bars grating , railing including standard braces (etc) and similar open work. (S.I NO:4(d)P.NO:69).

= 112 Sft 674.61 % Sft RS: 756/-

Six hundreds seventy four rupees sixty one ps:

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **590624/-** |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-A (ii) Catt: IIIrd Type Bungalow Paved Court Yard**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Filling, watering and ramming earth under floor with new earth (Excavated from outside) lead upto one chain and lift upto 5 feet.(S.I NO: 22 P-4) | | | | | |  |  |
|  |  |  | = | 1397 | Cft | 3630/- | %0 Cft | 5071/- |
|  |  |  | Thirty six hundred thirty rupees. | | | | | : |  |
| 02 | Extra for lead 3-0 Miles | | | | | |  |  |
|  |  |  | = | 1397 | “ | 579.41 | %Cft | 5071/- |
|  |  |  | Thirty one hundreds seventy six rups twenty five ps: | | | | |  |
| 03 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividiing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | |  |  |
|  |  |  | = | 700 | “ | 8694.95 | %Cft | 22928/- |
|  |  |  | Eighty six hundreds ninety four rups ninety five ps: | | | | |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **36094/-** |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-B (i) vth Type Quarter E/Side +W/Side**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Removing cement or lime plaster.(S.I NO: 53 P.NO: 13) | | | | | |  |  |
|  |  |  | = | 573 | CFt | 121/- | % Sft | 693/- |
|  |  |  | One hundred twenty one rupees | | | | |  |
| 02 | Dismantling brick work in lime or cement mortar.(S.I NO: 13 P.NO:4 ) | | | | | |  |  |
|  |  |  | = | 08 | Cft | 1285.63 | % Cft | 103/- |
|  |  |  |  | Twelve hundred eighty five rupees sixty three ps: | | | |  |
| 03 | Removing door with chowket.( S.I No: 33 (a) P-12) | | | | | |  |  |
|  |  |  | = | 02 | Nos | 142.18 | each | 284/- |
|  |  |  |  | One hundred forty two rupees eighteen ps: | | | |  |
| 04 | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.(CSI NO: 28 P-93) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 31 | Rft | 240.50 | P.Rft | 7096/- |
|  |  |  | Two hundreds forty rupees fifty ps: | | | | |  |
| 05 | Applying floating coat of Cement 1/32" thick.(S.I NO: 14 P-53) | | | | | |  |  |
|  |  |  | = | 627 | Cft | 660 | % Sft | 4138/- |
|  |  |  |  | Six hundred sixty rupees | | | |  |
| 06 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | | |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 627 | Sft | 2206.60 | % SFt | 13835/- |
|  |  |  | Twenty two hundreds six rupees sixty ps: | | | | |  |
| 07 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 627 | Sft | 2197.52 | % Sft | 13779/- |
|  |  |  | Twenty one hundreds ninty seven rupees fifty two ps: | | | | |  |
| 08 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | |  |  |
|  |  |  | = | 970 | Sft | 3275.50 | % Sft | 31772/- |
|  |  |  |  | Thirty two hundreds seventy five rupees fifty ps: | | | |  |
| 09 | Pacca brick work in foundation/plinth in building 1:6 in Cement sand mortar 1:6(S.I NO: 4 ( )P: NO: 20) | | | | | |  |  |
|  |  |  | = | 08 | Cft | 11948.36 | % Cft | 955/- |
|  |  |  | Eleven thousands nine hundreds fourty eight rupes thirty six ps:: | | | | |  |
| 10 | Cement pointing struck joints on walls 1:2.(S.I NO: 19 (a) P-53) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 52 | Sft | 1287.44 | % Sft | 669/- |
|  |  |  | Twelve hundred eighty seven rupees fourty four ps: | | | | |  |
| 11 | Colour washing two coats (S.I NO: 25 P-54) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 718 | Sft | 859.90 | % Sft | 6174/- |
|  |  |  |  | Eight hundred fifty nine rupees ninty ps: | | | |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | | ITEM OF WORK | |  | |  | | QTY | |  | | RATE | | UNIT | | AMOUNT |
| 12 | White washing. 03 three coats (S.I NO: 26 ©P.NO: 54). | | | | | | | | | | | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |  | |  | |
|  |  | |  | | = | | 498 | | Sft | | 829.95 | | % Sft | | 4133/- | |
|  |  | |  | |  | | Eight hundred twenty nine rupees ninty five ps: | | | | | | | |  | |
| 13 | Scraping Ordinary distemper, iol bound distemper or paint on walls.(S.I NO: 54 (b)P-13) | | | | | | | | | | | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |  | |  | |
|  |  | |  | | = | | 1861 | | Sft | | 226.88 | | % Sft | | 1904/- | |
|  |  | |  | |  | | Two hundred twenty six rupees eighty eight ps: | | | | | | | |  | |
| 14 | Priming coat of chalk distemper.(S.I NO: 23 P.NO: 54) | | | | | | | | | | | |  | |  | |
|  |  | |  | | = | | 627 | | Sft | | 442.75 | | % Sft | | 2776/- | |
|  |  | |  | | Four hundred fourty two rupees seventy five ps: | | | | | | | | | |  | |
| 15 | Distempering 02 two coats | | | | | | | | | | | |  | |  | |
|  |  | |  | | = | | 1466 | | Sft | | 1043.90 | | % Sft | | 15828/- | |
|  |  | |  | | One thousand fourty three rupees ninty ps: | | | | | | | | | |  | |
| 16 | Painting Door & Windows any type 02 coats (S.I NO: P.NO: ) | | | | | | | | | | | |  | |  | |
|  |  | |  | | = | | 381 | | Sft | | 1489.68 | | % Sft | | 5675/- | |
|  |  | |  | | Fourteen hundred eighty nine rupees sixty eight ps: | | | | | | | | | |  | |
|  |  | |  | |  | |  | |  | | ======================== | | | | | |
|  |  | |  | |  | | **Total** | |  | |  | |  | | **109018/-** | |
|  |  | |  | |  | |  | |  | |  | |  | |  | |

Quarter 02 NOs 109018x2 218036/-

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-A (ii) Qtr Paved Court Yard**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | |  |  |
|  |  |  | = | 800 | “ | 8694.95 | %Cft | 26204/- |
|  |  |  | Eighty six hundreds ninety four rups ninety five ps: | | | | |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **26204/-** |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-B (i) vth Type Quarter Court Yard wall**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Removing cement or lime plaster.(S.I NO: 53 P.NO: 13) | | | | | | | | | | | | | | |  | |  | | | |
|  |  | |  | | | = | | 365 | | | | CFt | | 121/- | | % Sft | | 441/- | | | |
|  |  | |  | | | One hundred twenty one rupees | | | | | | | | | | | |  | | | |
| 02 | Dismantling brick work in lime or cement mortar.(S.I NO: 13 P.NO:4 ) | | | | | | | | | | | | | | |  | |  | | | |
|  |  | |  | | | = | | 216 | | | | Cft | | 1285.63 | | % Cft | | 2777/- | | | |
|  |  | |  | | |  | | Twelve hundred eighty five rupees sixty three ps: | | | | | | | | | |  | | | |
| 03 | | Pacca brick work in Other than 1:6 in Cement sand mortar 1:6(S.I NO: 4 ( )P: NO: 20) | | | | | | | | | | | | | | | | |  |  | | |
|  |  | |  | | | = | | 216 | | | | Cft | | 12346.65 | | % Cft | | 26668/- | | | |
| 04 | Damp proof course with (cement sand and shingle concrete 1:2 :4 ) including 2 coats of asphaltic mixture.(S.I nO: 28 (3)P-19) | | | | | | | | | | | | | | |  | |  | | | |
|  |  | |  | | | = | | 36 | | | | Cft | | 4982.18 | | % Cft | | 1794/- | | | |
|  | |  | | |  | | | | | Forty nine hundred twenty eight rupees eighteen ps: | | | | | | | | | |  | | |
| 05 | Applying floating coat of Cement 1/32" thick.(S.I NO: 14 P-53) | | | | | | | | | | | | | | |  | |  | | | |
|  |  | |  | | | = | | 425 | | | | Cft | | 660 | | % Sft | | 2805/- | | | |
|  |  | |  | | |  | | Six hundred sixty rupees | | | | | | | | | |  | | | |
| 06 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | | | | | | | | | | | | |  | | | |
|  |  | |  | | |  | |  | | | |  | |  | |  | |  | | | |
|  |  | |  | | | = | | 749 | | | | Sft | | 2206.60 | | % SFt | | 16527/- | | | |
|  |  | |  | | | Twenty two hundreds six rupees sixty ps: | | | | | | | | | | | |  | | | |
| 07 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | | | | | | | | | | |  | |  | | | |
|  |  | |  | | |  | |  | | | |  | |  | |  | |  | | | |
|  |  | |  | | | = | | 16460/- | | | | Sft | | 2197.52 | | % Sft | |  | | | |
|  |  | |  | | | Twenty one hundreds ninty seven rupees fifty two ps: | | | | | | | | | | | |  | | | |
| 08 | Cement pointing struck joints on walls 1:2.(S.I NO: 19 (a) P-53) | | | | | | | | | | | | | |  | |  | | | |
|  |  | | |  | | |  | |  | |  | |  | |  | |  | | | |
|  |  | | |  | | | = | | 288 | | Sft | | 1287.44 | | % Sft | | 3708/- | | | |
|  |  | | |  | | | Twelve hundred eighty seven rupees fourty four ps: | | | | | | | | | |  | | | |
| 09 | Colour washing two coats (S.I NO: 25 P-54) | | | | | | | | | | | | | |  | |  | | | |
|  |  | | |  | | |  | |  | |  | |  | |  | |  | | | |
|  |  | | |  | | | = | | 522 | | Sft | | 859.90 | | % Sft | | 4489/- | | | |
|  |  | | |  | | |  | | Eight hundred fifty nine rupees ninty ps: | | | | | | | |  | | | |
| 10 | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for Door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.(CSI NO: 28 P-93) | | | | | | | | | | | | | |  | |  | | | |
|  |  | | |  | | |  | |  | |  | |  | |  | |  | | | |
|  |  | | |  | | | = | | 34 | | Rft | | 228.90 | | P.Rft | | 7783/- | | | |
|  |  | | |  | | | Two hundred twenty eight rupees ninty ps: | | | | | | | | | |  | | | |
| 11 | First class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc.(1 3/4" thick)(S.I NO: 7 P-58) | | | | | | | | | | | | | |  | |  | | | |
|  |  | | |  | | |  | |  | |  | |  | |  | |  | | | |
|  |  | | |  | | | = | | 47 | | Sft | | 902.93 | | P.Sft | | 42438/- | | | |
|  |  | | |  | | | Nine hundreds two rupes ninty three ps: | | | | | | | | | |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12 | Painting Door & Windows any type 02 coats (S.I NO: P.NO: ) | | | | | |  |  |
|  |  |  | = | 94 | Sft | 1489.68 | % Sft | 1400/- |
|  |  |  | Fourteen hundred eighty nine rupees sixty eight ps: | | | | |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **127290/-** |
|  |  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART- D ( External development**

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft.(S.I NO: 18 P.NO: 4) | | | | | | |  |  | | |
|  |  | |  | = | 457 | “ | 3176.25 | %0Cft | 1452/- | | |
|  |  | |  | Thirty one hundreds seventy six rups twenty five ps: | | | | |  | | |
| 02 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:4:8 (S.I NO: 4 (e)P.NO: 15) | | | | | | |  |  | | |
|  |  | |  | = | 94 | “ | 9416.28 | %Cft | 12524/- | | |
|  |  | |  | Ninty four hundred sixteen rupees twenty eight ps: | | | | |  | | |
| 03 | | Pacca Brick work in foundation / Plinth in cement & sand mortar ratio (1:6)(S.I No:05 (c)P.No:20) | | | | | | | |  |  | |
|  |  | |  | = | 234 | “ | 11948.36 | %Cft | 27959/- | | |
|  |  | |  | Eleven thousand nine hundred forty eight rupees thirty six ps: | | | | |  | | |
| 04 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:5:10 (S.I NO: 4 (e)P.NO: 15) | | | | | | |  |  | | |
|  |  | |  | = | 678 | “ | 8694.95 | %Cft | 58952/- | | |
|  |  | |  | Eight six hundred ninety four rupees ninety five ps:: | | | | |  | | |
| 05 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | | | |  | | |
|  |  | |  | = | 197 | Sft | 2206.60 | % SFt | 4347/- | | |
|  |  | |  | Twenty two hundreds six rupees sixty ps: | | | | |  | | |
| 06 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | | |  |  | | |
|  |  | |  | = | 197/- | Sft | 2197.52 | % Sft | 4329/- | | |
|  |  | |  | Twenty one hundreds ninety seven rupees fifty two ps: | | | | |  | | |
| 07 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | | |  |  | | |
|  |  | |  | = | 1602 | Sft | 3275.50 | % Sft | 52474/- | | |
|  |  | |  |  | Thirty two hundreds seventy five rupees fifty ps: | | | |  | | |
| 08 | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1 : 2: 4 ) 90 Lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.(S.I NO: 6 (a)P-16) | | | | | | |  |  | | |
|  |  | |  | = | 27 | Cft | 337/- | P.Cft | 9099/- | | |
|  |  | |  | Three hundred thirty seven rupes | | | | |  | | |
| 09 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, lying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.)(S.I NO: 8 P.NO: 17 | | | | | | |  |  | | |
|  |  | |  | = | 1.205 | cwt | 5001.70 | P.cwt | 6027/- | | |
|  |  | |  | Five thousands one rupees seventy ps: | | | | |  | | |
|  |  | |  |  |  |  | ======================== | | | | |
|  |  | |  |  | **Total** |  |  |  | **590624/-** | | |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART- W/S & S/F**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Providing and fixing squatting type white glazed earthen ware w.c pan with front flush inletr & complete with including the cost of flushing cistern with internal fitting and flush Pipe with bend and making requisite number of holes in walls plinth & floor for Pipe connection & making good in cement concrete 1: 2: 4: (Foreign Equivalant).(S.I NO: 2 (i)P- ) | | | | | |  |  |
|  |  |  | = | 02 | Nos | 5728.80 | each | 11458/- |
|  |  |  |  | | | | |  |
| 02 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malleable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalent). | | | | | |  |  |
|  |  |  | = | 02 | Nos | 4928/- | each | 9856/- |
| 03 | Add: Extra for lanbour for provide etc complete | | | | | |  |  |
|  |  |  | = | 02 | Nos | 2533.47 | each | 5067/- |
|  |  |  |  | | | | |  |
| 04 | Providing & fixing in position nyloon connections complete with 1/2" dia, brass stop cock with pair of brass nuts and lining joints to nyloon connection. | | | | | |  |  |
|  |  |  | = | 04 | Nos | 447.15 | each | 1789/- |
|  |  |  |  | | | | |  |
| 05 | S/Fixing long bib- cock of superior quality with c.p head 1/2" dia. | | | | | |  |  |
|  |  |  | = | 06 | Nos | 1109.46 | each | 6657/- |
|  |  |  |  | | | | |  |
| 06 | S/Fixing concealed stop cock of superior quality with c.p head 1/2" dia. | | | | | |  |  |
|  |  |  | = | 04 | Nos | 478.28 | each | 1913/- |
|  |  |  |  | | | | |  |
| 07 | Providing & fixing 6" x 2" or 6" x 3" C.I floor trap of the approved selt cleaning design with a C.I screwed down grating with or without a vent arm complete with & I/c making requisite number of holes in walls, plinth & floor for Pipe connections & making good cement concrete 1:2:4. | | | | | |  |  |
|  |  |  | = | 03 | Nos | 2042.43 | each | 6127/- |
|  |  |  |  | | | | |  |
| 08 | Supplying & Fixing swan type piller cock of Superior quality single c.p. head 1/2" dia. | | | | | |  |  |
|  |  |  | = | 02 | Nos | 795.30 | each | 1531/- |
|  |  |  |  | | | | |  |
|  | Providing G.I Pipes, specials, and clamps etc, including fixing cutting & fitting complete with and I/c the cost of breaking thorugh walls and roof, making good etc. painting two coats after cleaning the Pipe etc. with white zink paint with pigment to match the colour5 of the building and testing with water to a pressure head of 200 feet and handling. | | | | | |  |  |
|  | ½” Dia |  | = | 25 | Rft | 153.19 | P.Rft | 3830/- |
|  | 1” Dia |  | = | 50 | “ | 128.55 | P.Rft | 6427/- |
|  | ¾” Dia |  | = | 60 | “ | 95.79 | P.Rft | 5747/- |
|  | ½” Dia |  | = | 20 | “ | 73.21 | P.Rft | 1464/- |
|  |  |  |  | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Extra for labour for canceled G-I Pipe | | | | | |  |  |
|  | ¾” Dia |  | = | 60 | Rft | 8.45 | P.Rft | 507/- |
|  | ½” Dia |  | = | 20 | Rft | 7.82 | P.RFt | 156/- |
|  |  |  |  | | | | |  |
|  | Providing & Fixing Handle valve 1” dis etc | | | | | |  |  |
|  |  |  | = | 02 | Nos | 475.42 | each | 951/- |
|  |  |  |  | | | | |  |
|  | Providing & Fixing Asbestoses pipe etc complete | | | | | |  |  |
|  |  |  | = | 30 | Rft | 62.75 | P.Rft | 1883/- |
|  |  |  |  | | | | |  |
|  | Providing R.C.C pipe with collars class "B" and digging the trenches to required depth & fixing in position including cutting , fitting & jointing with maxphalt composition & cement mortar 1: 1 and testing with water pressure jto a head of 4 feet a bove the top of the highest pipe & refilling with excavated staff. | | | | | |  |  |
|  | 9” Dia |  | = | 66 | Rft | 250.60 | P.Rft | 16540/- |
|  | 6” Dia |  | = | 30 | Rft | 199.25 | P.Rft | 5978/- |
|  |  |  |  | | | | |  |
|  | Providing & fixing 6" x 4" C.C gully trap with 4" outlet complete with 4" thick 1: 2: 4 C.C. for bed & 1/2" thick cement plaster (1:3) to the karb, C.I grating 6" x 6" & C.I cover and frame 12" x 12" (inside) etc. complete. | | | | | |  |  |
|  |  |  | = | 02 | Nos | 1259.50 | each | 2519/- |
|  |  |  |  | | | | |  |
|  | Providing & Fixing 4” dia C-I Plain Bend etc complete | | | | | |  |  |
|  |  |  | = | 04 | Nos | 176.60 | each | 706/- |
|  |  |  |  | | | | |  |
|  | Providing & Fixing filter pipe etc complete | | | | | |  |  |
|  |  |  | = | 40 | Rft | 21/- | P.Rft | 840/- |
|  |  |  |  | | | | |  |
|  | Providing & fixing 15" x 12" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. | | | | | |  |  |
|  |  |  | = | 02 | nos | 1161.60 | each | 2323/- |
|  |  |  |  | | | | |  |
|  | Providing & fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass screws. | | | | | |  |  |
|  |  |  | = | 02 | nos | 1412.25 | each | 2825/- |
|  |  |  |  |  |  | ====================== | | |
|  |  |  |  | **Total** |  |  |  | **97093/-** |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Boring for tube well in all water bearing soils from ground level up-to 100 ft or 30.5 meter depth i/c sinking and with drawing of casing pipe. (100 mm 4”) (S.I.No. 01 (b) Page No.36). | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 30 | Rft | 160/- | P.Rft | 4800/- |
|  |  |  |  | | | | |  |
| 02 | Providing UPVC pressure pipes of class “C” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to head of 61 meter or 200ft. 4” dia. (P.H.E) (S.I.No. 01 (b) P.No.22) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 40 | Rft | 34/- | P.Rft | 1360/- |
|  |  |  |  | | | | |  |
| 03 | Construction of manhole or inspection chamber for the required dia of circular sewer and 3’-6’ (1067 mm ) depth with walls of B.B in cement mortar 1:3 cement plaster 1:3 ½” thick in side 1” (25 mm ) thick over beching and channel i/c fixing C.I main hole cover with frame of clear opening 1 ½”x 1 ½”” 457x457 mm) of 1.75 cwt . (88.9 kg) embedded in plain c.c 1:2:4) & fixing (25 mm) dia M.S steps 6” 150 mm) white projecting 4” (102 mm) from the face of walls at 12” (305 mm) c/c duly painted etc complete as per standard specification & drawing.(S.I No- P-46). | | | | | |  |  |
|  |  |  | = | 02 | Nos | 14748/- | each | 29496/- |
|  |  |  |  |  | ============================= | | | |
|  |  |  |  | Total |  |  |  | 35656/- |
|  |  |  |  | | | | |  |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

**PART-C E-I**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Supplying & Fixing Motor Pump set including fixing in position etc complete | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 01 | No | 8500/- | each | 8500/- |
|  |  |  |  |  |  | ===================== | | |
|  |  |  | **Total** | | | | | **8500/-** |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G. Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities and rates may be changed as per/according to the Technical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR