SCHEDULE-B **CONSTRUCTION OF EID GAH AT VILLAGE MUHAMMAD BUX WASSAN U/C JISKANI TALUKA DISTRICT KHAIRPUR.**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft.(S.I NO: 18 P.NO: 4) | | | | | |  |  |
|  |  |  | = | 254 | “ | 3176.25 | %0Cft | 807/- |
|  |  |  | Thirty one hundred seventy six rupees twenty five ps: | | | | |  |
| 02 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:5:10 (S.I NO: 4 (e)P.NO: 15) | | | | | |  |  |
|  |  |  | = | 64 | “ | 8694.95 | %Cft | 5565/- |
|  |  |  | Eighty six hundred ninty four rupees ninty five ps: | | | | |  |
| 03 | Random, rubble masonry (uncaused )Ratio 1:6 (S.I NO: 1 (iv)P.NO: 27) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 133 | Cft | 17723/- | % Cft | 23572/- |
|  |  |  | Seventeen thousand seven hundred twenty three rupees | | | | |  |
| 04 | Coursed Ruble masonry including hammer dressing.Ratio 1:6 (S.I NO: 2 P-NO: 27) | | | | | |  |  |
|  |  |  | = | 95 | Cft | 25321/- | % CFt | 24055/- |
|  |  |  | Twenty five thousand three hundred twenty one rupees | | | | |  |
| 05 | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1 : 2: 4 ) 90 Lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.(S.I NO: 6 (a)P-16) | | | | | |  |  |
|  |  |  | = | 58 | Cft | 337/- | P.Cft | 19546/- |
|  |  |  | Three hundred thirty seven rupees | | | | |  |
| 06 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, lying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.)(S.I NO: 8 P.NO: 17 | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 2.848 | cwt | 5001.70 | P.cwt | 14245/- |
|  |  |  | Five thousand one rupee seventy ps: | | | | |  |
| 07 | Pacca brick work in Ground Floor 1:6 in Cement sand mortar 1:6(S.I NO: 4 ( )P: NO: 20) | | | | | |  |  |
|  |  |  | = | 372 | Cft | 12346.65 | % Cft | 47149/- |
|  |  |  | Twelve thousand three hundred fourty six rupees sixty five ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 08 | Supplying & Fixing R.S Girder (Material Schedule) | | | | | | |  |  |
|  |  |  | |  |  |  |  |  |  |
|  |  |  | | = | 2.892 | cwt | 3850/- | P.cwt | 11134/- |
|  |  |  | | Thirty eight hundred fifty rupees | | | | |  |
| 09 | Supplying & Fixing R.S T-Iron (Material Schedule) | | | | | | |  |  |
|  |  |  | | = |  | cwt | 3575/- | P.cwt | 10278/- |
|  |  |  | | Thirty five hundred seventy five ps: | | | | |  |
| 10 | Second class tile roofing consisting of 4" earth and 1" mud plaster with Gobri leaping over 1/2"thick cement plaster 1:6 with 34 Lbs. Of hot bitumen coating sand blinded, provided over one layer of 12" x 6"x2" tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc.(S.I NO: 2 P-33) | | | | | | |  |  |
|  |  |  | |  |  |  |  |  |  |
|  |  |  | | = | 162 | Sft | 7607.25 | % Sft | 5306/- |
|  |  |  | | Seventy six hundred seven rupees twenty five ps: | | | | |  |
| S.NO | ITEM OF WORK | | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividiing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | |  |  |
|  |  |  | = | 162 | sFT | 3275.50 | %Sft | 5306/- |
|  |  |  | Thirty two hundred seventy five rupees fifty ps: | | | | |  |
| 12 | Providing & Fixing RCC Spouts etc | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 03 | Nos | 261.25 | each | 784/- |
|  |  |  | Two hundred sixty one rupees twenty five ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 | Supplying and filling sand under floor and plugging in walls.(S.I NO: 29 P-26) | | | | | |  |  |
|  |  |  | = | 216 | Cft | 1141.25 | % CFt | 2465/- |
|  |  |  | Eleven hundred fourty one rupees twenty five ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:6:12 (S.I NO: 4 (e)P.NO: 15) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 48 | Cft | 8122.95 | % Cft | 3899/- |
|  |  |  | Eighty one hundred twenty two rupees ninty five ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. (S.I NO: 5 (i)P-16) Ratio 1:3:6 | | | | | |  |  |
|  |  |  | = | 24 | Cft | 12695.0 | % Cft | 3047/- |
|  |  |  | Twelve thousand six hundred ninty five rupees | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | | |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 666 | Sft | 2206.60 | % SFt | 14696/- |
|  |  |  | Twenty two hundred six rupees sixty ps: | | | | |  |
| 14 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 666 | Sft | 2197.52 | % Sft | 14635/- |
|  |  |  | Twety one hundred ninty seven rupees fiftyu two ps: | | | | |  |
| 15 | Cement pointing struck joints on walls 1:2.(S.I NO: 19 (a) P-53) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 486 | Sft | 1213.58 | % Sft | 5898/- |
|  |  |  | Twelve hundred thirteen rupees fifty eight ps: | | | | |  |
| 16 | Colour washing two coats (S.I NO: 25 P-54) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 486 | Sft | 859.90 | % Sft | 4179/- |
|  |  |  | Eight hundred fifty nine rupees ninty ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 17 | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.(CSI NO: 28 P-93) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 32 | Rft | 240.50 | P.Rft | 7696/- |
|  |  |  | Two hundred fourty rupees fifty ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18 | First class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc.(1 3/4" thick)(S.I NO: 7 P-58) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 34 | Sft | 902.93 | P.Sft | 30685/- |
|  |  |  | Nine hundred two rupees ninty three ps: | | | | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 | Priming coat of chalk distemper.(S.I NO: 23 P.NO: 54) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 666 | Sft | 442.75 | % Sft | 2949/- |
|  |  |  | Four hundred fourty two rupees seventy five ps: | | | | |  |
| 20 | Distempering. Three 03 Coats (S.I NO: 24 P-54) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 666 | Sft | 1043.92 | % Sft | 6952/- |
|  |  |  | Ten hundred fourty three rupees ninty two ps: | | | | |  |
| 21 | Painting Door & Windows any type 02 coats (S.I NO: P.NO: ) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 68 | Sft | 1506.45 | % Sft | 1024/- |
|  |  |  | Fifteen hundred six rupees fourty five ps: | | | | |  |
| 22 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 including rubbing and polishing of the joints.(S.I NO: 28 P.NO: 43) | | | | | |  |  |
|  |  |  | = | 150 | Sft | 567.48 | P.Sft | 85122/- |
|  |  |  | five hundred sixty seven rupees fourty eight ps: | | | | |  |
| 23 | Providing and fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado skirting anf facing removal /tucking of existing plaster surface ete. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry , currint finishing, cleaning and ploishing etc. complete.(S.I NO: 68 P.NO: 49) | | | | | |  |  |
|  |  |  | = | 24 | Sft | 186.04 | P.Sft | 4465/- |
|  |  |  | ONE HUNDRED EIGHTY SIX RUPEES FOUR PS: | | | | |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **366368/-** |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |

PART- earth filling

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Supplying and filling sand under floor and plugging in walls.(S.I NO: 29 P-26) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 4200 | Cft | 1141.25 | % CFt | 47933/- |
|  |  |  | Eleven hundred fourty one rupees twenty five ps: | | | | |  |
| 02 | Add: Extra for Lead 3-0 Miles | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 4200 | Cft | 579.41 | % Cft | 24339/- |
|  |  |  | Five hundred seventy nine rupees fourty one ps: | | | | |  |
| 03 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:6:12 (S.I NO: 4 (e)P.NO: 15) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 990 | Cft | 8122.95 | % Cft | 112584/- |
|  |  |  | Eighty one hundred twenty two rupees ninty five ps: | | | | |  |
| 04 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. (S.I NO: 5 (i)P-16) Ratio 1:2:4 | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 714 | Cft | 14429.25 | % Cft | 103025/- |
|  |  |  | Fourteen thousand four hundred twenty nine rupees twenty five ps: | | | | |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **287881/-** |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |

PART-B Compound wall

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft.(S.I NO: 18 P.NO: 4) | | | | | |  |  |
|  |  |  | = | 960 | “ | 3176.25 | %0Cft | 3049/- |
|  |  |  | Thirty one hundred seventy six rupees twenty five ps: | | | | |  |
| 02 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:5:10 (S.I NO: 4 (e)P.NO: 15) | | | | | |  |  |
|  |  |  | = | 240 | “ | 8694.95 | %Cft | 20868/- |
|  |  |  | Eight six hundred ninty four rupees ninty five ps: | | | | |  |
| 03 | Random, rubble masonry (uncaused )Ratio 1:6 (S.I NO: 1 (iv)P.NO: 27) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 540 | Cft | 17723/- | % Cft | 95704/- |
|  |  |  | Seventeen thousand seven hundred twenty three rupees | | | | |  |
| 04 | Coursed Ruble masonry including hammer dressing. Ratio 1:6 (S.I NO: 2 P-NO: 27) | | | | | |  |  |
|  |  |  | = | 406 | Cft | 25321/- | % CFt | 102803/- |
|  |  |  | Twenty five thousand three hundred twenty one rupees. | | | | |  |
| 05 | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1 : 2: 4 ) 90 Lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.(S.I NO: 6 (a)P-16) | | | | | |  |  |
|  |  |  | = | 135 | Cft | 337/- | P.Cft | 45495/- |
|  |  |  | Three hundred thirty seven rupees | | | | |  |
| 06 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, lying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.)(S.I NO: 8 P.NO: 17 | | | | | |  |  |
|  |  | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 6.026 | cwt | 5001.70 | P.cwt | 30140/- |
|  |  |  | Five thousand one rupee seventy ps: | | | | |  |
|  |  |  |  | | | | |  |
| 07 | Pacca brick work in Other than building in Cement sand mortar 1:6(S.I NO: 4 ( )P: NO: 20) | | | | | |  |  |
|  |  |  | = | 787 | Cft | 12346.65 | % Cft | 97169/- |
|  |  |  | Twelve thousand three hundred forty six rupees sixty five ps: | | | | |  |
|  |  |  |  | | | | |  |
| 07 | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1336 | Sft | 2206.60 | % SFt | 29480/- |
|  |  |  | Twenty two hundred six rupee sixty ps: | | | | |  |
|  |  |  |  | | | | |  |
| 08 | Cement plaster 1:4 upto 12' height.(b) 3/8” thick. (S.I NO: 13 P-52) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 1336 | Sft | 2197.52 | % Sft | 29359/- |
|  |  |  | Twenty one hundred seventy nine rupees fifty two ps: | | | | |  |
| 09 | Cement pointing struck joints on walls 1:3.(S.I NO: 19 (a) P-53) | | | | | |  |  |
|  |  | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 900 | Sft | 1213.58 | % Sft | 10922/- |
|  |  |  | Twelve hundred thirteen rupees fifty eight. | | | | |  |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK | | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |
|  |  |  | |  | | | | |  |
| 10 | Colour washing two coats (S.I NO: 25 P-54) | | | | | | |  |  |
|  |  |  | |  |  |  |  |  |  |
|  |  |  | | = | 2236 | Sft | 859.90 | % Sft | 19227/- |
|  |  |  | | Eight hundred fifty nine rupees ninty ps: | | | | |  |
|  |  |  | |  |  |  | ======================== | | |
|  |  |  | |  | **Total** |  |  |  | **569275/-** |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK | NO:L.B.D |  | QTY |  | RATE | UNIT | AMOUNT |

PART-B Main Gate

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft.(S.I NO: 18 P.NO: 4) | | | | | |  |  |
|  |  |  | = | 54 | “ | 3176.25 | %0Cft | 172/- |
|  |  |  | Thirty one hundred seventy six rupees twenty five ps: | | | | |  |
| 02 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.1:5:10 (S.I NO: 4 (e)P.NO: 15) | | | | | |  |  |
|  |  |  | = | 18 | “ | 8694.95 | %Cft | 1565/- |
|  |  |  | Eight six hundred ninty four rupees ninty five ps: | | | | |  |
|  | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1 : 2: 4 ) 90 Lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.(S.I NO: 6 (a)P-16) | | | | | |  |  |
|  |  |  | = | 64 | Cft | 337/- | P.Cft | 21568/- |
|  |  |  | Three hundred thirty seven rupees | | | | |  |
|  | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, lying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.)(S.I NO: 8 P.NO: 17 | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 2.857 | cwt | 5001.70 | P.cwt | 14290/- |
|  |  |  | Five thousand one rupee seventy ps: | | | | |  |
|  | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangement. (S.I NO: 24 P-92) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 70 | Sft | 726.72 | P.Sft | 50870/- |
|  |  |  | Seven hundred twenty six rupees seventy two ps: | | | | |  |
|  | Painting guard bars, gates iron bars gratings , railings including standard braces (etc.) and similar open work.(S.I NO: 1 P.NO: 69) | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 140 | Sft | 908.40 | % Sft | 1272/- |
|  |  |  | Nine hundred eight rupees fourty ps | | | | |  |
|  |  |  |  |  |  | ======================== | | |
|  |  |  |  | **Total** |  |  |  | **89736/-** |

\_\_\_\_\_\_% Above / Below (Amount to be added as per/deducted)RS:\_\_\_\_\_\_\_\_\_\_\_

G.Total RS:

Total Amount in word:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Note:- Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT KHAIRPUR