## SB (3)
Maintenance & Repair of Police Line Hospital Hyderabad (Compound wall, Guard Room & External Services)
Schedule-B
S.N | Name of Item. | Quantity |  | Rate | Unit | Amount.
Part "A" Civil work
i.Guard Room
1 | Excvation in foundation of building bricks and other structure i/c dag belling dressing refilling arround the structure with excvated earth watering and ramming lead upto 5 ft. (b) In ordinary soil (SINO.18(b) P-4) | 267 | Cft | 3176.25 | %0Cft | 848.0588
(Rs: Thirty One Hundred Seventy Six Rupees & Twenty Five Paisa Only)
2 | Cement concret brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (SINO. 4( b ) P-16) | 80 | Cft | 9416.28 | % Cft | 7533.024
(Rs: Nine Thousand Four Hundred Sixteen Rupees & Twenty Eight Paisa Only)
3 | Pacca brick work in foundation and plinth in ( e ) Cement sand mortor 1:6 ( SINO. 4( e ) P-21) | 209 | Cft | 11948.36 | % Cft | 24972.0724
(Rs: Eleven Thousand Nine Hundred Forty Eight Rupees and Thirty Six Paisa Only)
4 | R.C.C. work including labour and material except the cost of steel reinforcdement and its labour for bending and binding which will be paid sepretely. This rate also imclude all kinds of forms moulds lifting shuttering curring rendering and finishing the exposed surface ( i/c screening and washing of shingle) (a) R.C. work in froo slab, beams coloumns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects (i) Ratio 1:2:4 90 lbs cement 2 cft sand 4 cft shingle 1/8" to 1/4" gauge. (SINO.6 P-19) | 168 | Cft | 337 | P.Cft | 56616
(Rs: Three Hundred Thirty Seven Rupees Only)
5 | Fabrication of mild steel reinforcement for C.C. cutting bending laying in position making joints and fastening including the cost of binding wire also including removal of rust from bars ) (SINIO.7(b) P-18) Using Tor Bars. | 10.08 | Cwt | 5001.7 | P.Cwt | 50417.136
(Rs: Five Thousand One Rupees and Seventy Paisa Only)
6 | Supplying and filling sand under floor and plugging in walls. (SINO. 29 P-25) | 222 | Cft | 1141.25 | % Cft | 2533.575
(Rs: Eleven Hundred Forty One Rupees and Twenty Five Paisa Only)
7 | Add Extra 6 mile lead. | 222 | Cft | 771.96 | % Cft | 1713.7512
(Rs: Seven Hundred Seventy One Rupees and Ninety Six Paisa Only)
8 | C.C. brick or stone ballast 1-1/2" gague ratio 1:5:10 (S.I.No. 4( c ) P-16) | 29 | Cft | 8694.95 | % Cft | 2521.5355
(Rs: Eight Thousand Six Hundred Ninety Four Rupees and Ninety Five paisa Only)
9 | Pacca brick work in Ground Floor in ( e ) Cement sand mortor 1:6 ( SINO. 5( e ) P-21) | 262 | Cft | 12674.36 | % Cft | 33206.8232
(Rs: Twelve Thousand Six Hundred Seventy Four Rupees and Thirty Six Paisa Only)
10 | Cement plaster 1:6 upto 12' height (b) 1/2" thick. (S.I.No. 13(b) P-52) | 853 | Sft | 2206.6 | % Sft | 18822.298
(Rs: Twenty Two Hundred Six Rupees and Sixty Paisa Only)
11 | Cement plaster 1:4 upto 12' height (a) 3/8" thick. (S.I.No. 11(a) P-52 ) | 853 | Sft | 2197.52 | % Sft | 18744.8456
(Rs: Twenty One Hundred Ninety Seven Rupees and Fifty Two Paisa Only)
12 | P/L 2" thick topping c.c. 1:2:4 including surface finishing and dividing into panels.(SINO.16(c) P-41) | 200 | Sft | 3275.5 | % Sft | 6551
(Rs: Thirty Two Hundred Seventy Five Rupees and Fifty Paisa Only)
13 | Providing and fixing bitumen felt paper of 60 Lbs over roof I/c cleaning of roof with wire brush an removing dust, applying bitumen coat at the rate of 34 Lbs per % sft as premix inter coats and then laying felt paper with 10% over laps, then applying and spreading hill sand at the rate of 1 cft for 100 sft. The cost also i/c necessary fire material, kerosene oil, wood etc: (S.I.No.41 /P-38) | 100 | Sft | 54.7 | P.Sft | 5470
(Rs: Fifty Four Rupees and Seventy Only)
14 | M/F steel grated doors with 1/16" thick sheeting i/c angle iron frame 2"x2"x3/8" and 3/4" squars bars 4" centre to centre with locking arrangement (SINO.24 P-92) | 45 | Sft | 726.72 | P.Sft | 32702.4
(Rs: Seven Hundred Twenty Six Rupees and Seventy Two Paisa Only)
15 | White washing ( c )Three coats(SINO.26 ( c) P-54) | 853 | Sft | 829.95 | % Sft | 7079.4735
(Rs: Eight Hundred Twenty Nine Rupees and Ninety Five Paisa Only)
16 | Prepairing Surface & Painting Guard bars Jali (S.I.No.5-d P-70). | 90 | Sft | 1270.63 | % Sft | 1143.567
(Rs: Twelve Hundred Seventy Rupees and Sixty Three Paisa Only)
0
| 270875.5602 |  |  | Total | Rs. | 270875.5602
Part "B" Compound wall
1 | Dementling of brick work in lime or cement mortor ( SINO. 13 P-11) | 807 | Cft | 1285.63 | % Cft | 10375.0341
(Rs: Twelve Hundred Eighty Five Rupees and Sixty Three Paisa Only)
2 | Excvation in foundation of building bricks and other structure i/c dag belling dressing refilling arround the structure with excvated earth watering and ramming lead upto 5 ft. (b) In ordinary soil (SINO.18(b) P-4) | 441 | Cft | 3176.25 | %0Cft | 1400.7262
(Rs: Thirty One Hundred Seventy Six Rupees & Twenty Five Paisa Only)
3 | Cement concret brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (SINO. 4( b ) P-16) | 74 | Cft | 9416.28 | % Cft | 6968.0472
(Rs: Nine Thousand Four Hundred Sixteen Rupees & Twenty Eight Paisa Only)
4 | Pacca brick work in foundation and plinth in ( e ) Cement sand mortor 1:6 ( SINO. 4( e ) P-21) | 1105 | Cft | 11948.36 | % Cft | 132029.378
(Rs: Eleven Thousand Nine Hundred Forty Eight Rupees and Thirty Six Paisa Only)
5 | R.C.C. work including labour and material except the cost of steel reinforcdement and its labour for bending and binding which will be paid sepretely. This rate also imclude all kinds of forms moulds lifting shuttering curring rendering and finishing the exposed surface ( i/c screening and washing of shingle) (a) R.C. work in froo slab, beams coloumns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects (i) Ratio 1:2:4 90 lbs cement 2 cft sand 4 cft shingle 1/8" to 1/4" gauge. (SINO.6 P-19) | 905 | Cft | 337 | P.Cft | 304985
(Rs: Three Hundred Thirty Seven Rupees Only)
6 | Fabrication of mild steel reinforcement for C.C. cutting bending laying in position making joints and fastening including the cost of binding wire also including removal of rust from bars ) (SINIO.7(b) P-18) Using Tor Bars. | 49.77 | Cwt | 5001.7 | P.Cwt | 248934.609
(Rs: Five Thousand One Rupees and Seventy Paisa Only)
7 | Pacca brick work in other than building ( e ) Cement sand mortor 1:6 ( SINO. 4( e ) P-21) | 2576 | Cft | 12346.65 | % Cft | 318049.704
(Rs: Twelve Thousand Three Hundred Forty Six Rupees and Sixty Five Paisa Only)
8 | Cement plaster 1:6 upto 20' height (b) 1/2" thick. (S.I.No. 13(b) P-58 ) | 9324 | Sft | 2206.6 | % Sft | 205743.384
(Rs: Twenty Two Hundred Six Rupees and Sixty Paisa Only)
9 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper filling the voids with chalk/plaster of pairs and then painting with weather of approved make. (SINO.38 P-61) | 9324 | Sft | 2567.95 | % Sft | 239435.658
(Rs: Twenty Five Hundred and Sixty Seven Rupees and Ninety Five Paisa Only)
10 | P/F Concertina /Razon wire fencing round type 24" dia with angel iron brackets 1-1/2x1/2 size of required size bindingwith steel wire, fixing on boundry wall at specified height nuts & bolts etc: complete (R.A Sanction) | 739 | Rft |  | P.Rft
#REF!
| 0 |  |  | Total | Rs.
Part "C" Internal Road
1 | Supplying and filling sand under floor and plugging in to walls (SI No:29 P-25) | 1698 | Cft. | 1141.25 | %Cft | 19378.425
(Rs: Eleven Hundred Forty One Rupees and Twenty Five Paisa Only)
2 | Carriage of 100 cft / 5 tons of all material like stone aggrr: spawl, coal, lime, surkhi, etc B.G.rail fastening points and crossing bridges girders, pipes, sheets, rails, M.S. Bars etc or 1000 Nos. bricks 10"x5"x3" or 1000 Nos. tiles 12"x6"x2" or 150 cft of timber or 100 Maunds of fuel wood by truck or any other means owned by the contractor (SINO.1 P-1) b) Extra lead 6 Miles | 1698 | Cft. | 771.96 | %Cft | 13107.8808
(Rs: Seven Hundred Seventy One Rupees and Ninety Six Paisa Only)
3 | Cement concret brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (SINO. 4( b ) P-14) | 849 | Cft | 9416.28 | % Cft | 79944.2172
(Rs: Nine Thousand Four Hundred Sixteen Rupees & Twenty Eight Paisa Only)
4 | P/F cement paving blocks flooring having size of 197x97x60(mm) of city/Quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying specified manner / pattern and design etc complete (SINO.72 P-49) | 1698 | Each | 223.97 | Nos | 380301.06
(Rs: Two Hundred Twenty Three Rupees and Ninety Seven paisa Only)
5 | Providing & fixing Precast Edge Block 3750 PSI Industrial Made Size 6 inches thick x 12 inches long x 12 inches high including the cost of Cartage, excavation, form Work for haunching, 1450 PSI lean concrete, 2250 PSI concrete for haunching, 1:4 cement sand mortor. (Highway SINO. 14 P-16) | 283 | Rft | 297.01 | P.Rft | 84053.83
(Rs: Two Hundred Ninety Seven Rupees and One Paisa Only)
#REF!
| #REF! |  |  | Total | Rs. | 576785.413
Part "D" External Drainage
1 | Excvation for pipe line entrenches, & pits in softr soil I.e.trimming & dressing sides to true allgnment & shape levelling of beds of trnches to correct level & grade cutting joint holes & disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift upto 5 ft:(1.52mm) & lead upto one chain (30.5mm) (S.I.No.1 P-46 )P.H. | 2480 | Cft | 3600 | %0 Cft | 8928
(Rs: Thirty Six Hundred Only)
2 | Providing, Laying RCC pipes & Collars of Class 'B' and fixing in trench i/c cutting, fitting and jointing with maxphalt composition and cement mortar (1:1) i/c testing with water to a head of 22.5 meter or 75 ft. (PHS.I.No.2/P-16)
| 12" dia RCC pipe | 350 | Rft | 286 | P.Rft | 100100
(Rs: Two Hundred Eighty Six Rupees Only)
| 9" dia RCC pipe | 270 | Rft | 163 | P.Rft | 44010
(Rs: One Hundred Sixty Three Rupees Only)
3 | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft.(PHSINo.3/P-23)
| a) 4" dia | 275 | Rft | 226 | P.Rft | 62150
(Rs: Two Hundred Twenty Six Rupees Only)
4 | Refilling the excvated stuff in trenches 6" thick layer I/c watering ramming to full compaction etc complete. (S.I.No.24 P-3 5B (P.H.) | 827 | Cft | 2760 | %0Cft | 2282.52
(Rs: Twenty Seven Hundred Sixty Rupees Only)
5 | Const. of main hole for the required dia of circular sewer and 7'-6" depth with walls of B.B in cement mortor 1:3 1/2" thick inside of walls and 1" (25mm) thick over benching and channel i/c fixing C.I. manhole cover with frame of clear opening 2'x2'(610x610mm) of 4.5 cwt embeded in plain C.C.1:2:4 and two way rainforced 6" thickness i/c fixing 1"(25mm) dia M.S steps6"(150 mm) doa M.S steps 6" (150mm) wide projecting 4" (102 mm) from the face of wall at 12" (305mm) c/c duly painted etc complete as per specification and drawing No. D.P./2 of Public Health Circle SouthernZone Hyderabad (a) 4" to 9" dia 4'x3'x7'-9") (SINO.1(a)P-39) | 5 | Nos | 14748 | Each | 73740
(Rs: Fourteen Thousand Seven Hundred Forty Eight Rupees Only)
|  |  |  | Total | Rs: | 291210.52
Part – “E” Schedule Item
1 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No.11 P-2) | 200 | MTR | 252 | P.MTR | 50400
(Rs: Two Hundred Fifty Two Rupees Only)
2 | P/F Circuit breaker 6,10,15,20,30,40,50, & 63 amp SP (TB-5S) on a prepared board as required. (Si-203, P-31) | 12 | Nos | 916 | Each | 10992
(Rs: Nine Hundred Sixteen Rupees Only)
3 | P/F Circuit breaker 15, 20, 30, 40, 50, 60, 75 & 100amp TP (XS-100NS) on a prepared board as required. (Si-204, P-31) | 6 | Nos | 2456 | Each | 14736
(Rs: Twenty Four Hundred and Fifty Six Rupees Only)
4 | Construction of RCC foundation as per following specification & instruction of EI for 31ft/40ft long tubular pole Excavation of soft/hard soil 3`×3`×5.5`Stone soiling 3`×3`×6`` making lean in the ratio of 1:4:8 Length of MS bolts 6 ½`( ¾ `` dia) 4 no’s & making thread on MS rod Template 16``×16``× ¼`` Rings ¼`` dia round bar 4 no’s to the welded with MS rod RCC foundation ratio 1:2:4 with appropriate size 2`×2`×6.5`.(S.I.No.139 P-19) | 6 | Nos | 15168 | Each | 91008
(Rs: Fifteen Thousand One Hundred Sixty Eight Rupees Only)
|  |  |  | Total = |  | 167136
Part – “F” Non – Schedule Item
1 | P/F Distribution panel board double shutter to accommodate for circuit breaker i/c cutting in recessed the wall and fixing DB board and finishing the same and painting with enameled paint etc required. | 4 | Sft |  | P.Sft
2 | S/F 20' M/s iron tubular pole in size (15'+5"+5'+4") (10SWG) with foundation / base plate nut and bolt with out color with street light bracket. | 6 | Nos |  | Each
3 | S/F LED Pole / Street light (100 watt) with one year warranty Superior Quality. | 12 | Nos |  | Each
Total =
General Abstract
| Part "A" Civil work Guard Room. |  |  | 270875.5602
Part "B" Compound wall
| Part "C" Internal Road |  |  | 576785.413
| Part "D" External Drainage |  |  | 291210.52
| Part – “E” Schedule Item |  |  | 167136
Part – “F” Non – Schedule Item
Total Rs:
Add/Deducted………….% above / Below on Schedule Item.
Add/Deducted………….% above / Below on Non-Schedule Item.
Grand Total Rs:
TERMS & CONDITIONS.
1 | No cartage on any item of work shall be paid.
2 | No premium non schedule of item will be paid.
3 | 100% well graded bajri used in the RCC 1:2:4.
4 | Arbitraction clause stand from the agreement.
( CONTRACTOR )

## SB (2)
M/R to Police Hospital Police Line Hyderabad.
Schedule-B
S.N | Name of Item. | Quantity |  | Rate | Unit | Amount.
Part "A" Civil Work
1 | Removing door with chowkat (S.I.No.33-a P-13) | 7 | Cft | 142.18 | % Cft | 995.26
(Rs: One Hundred Forty Two Rupees and Eighteen Paisa Only)
2 | Removing window and sky light with chowkat (S.I.No.33-b P-13) | 6 | Cft | 102.85 | % Cft | 617.1
(Rs: One Hundred Two Rupees and Eighty Five Paisa Only)
3 | Dismantling brick work in lime or cement mortar (SINO. 13 P-11) | 106 | Cft | 1285.63 | % Cft | 1362.7678
(Rs: Twelve Hundred Eighty Five Rupees and Sixty Three Paisa Only)
4 | Dismentling cement concret plain 1:4:8 (S.I.No.19-c P-11) | 574 | Cft | 1663.75 | % Cft | 9549.925
(Rs: Sixteen Hundred Sixty Three Rupees and Seventy Five Paisa Only)
5 | Removing of cement or lime plaster (SINO.53 P-13) | 2550 | Sft | 121 | % Sft | 3085.5
(Rs: One Hundred Twenty One Rupees Only)
6 | Scraping ordinary distemper oil boud distemper or paint on walls (S.I.No.54-b P-14). | 3756 | Sft | 226.88 | % Sft | 8521.6128
(Rs: Two Hundred Twenty Six Rupees and Eighty Eight Paisa Only)
7 | P/F G.I. Frame / Chowkats of size 7"x2" or 4-1/2"x3" for Door using 20 gague G.I.sheet including welded hinges and fixing at site with necessary holds fasts filling with cement sand slurry or ratio 1:6 and repairing the jambs the cost also inclucing all carriage tolls and plants used in making and fixing . (S.I.No. 29 P-93) | 69 | Rft | 228.9 | P.Rft | 23806
(Rs: Two Hundred Twenty Eight Rupees and Ninety Paisa Only)
8 | P/F G.I. Frame / Chowkats of size 7"x2" or 4-1/2"x3" for window using 20 gague G.I.sheet including welded hinges and fixing at site with necessary holds fasts filling with cement sand slurry or ratio 1:6 and repairing the jambs the cost also inclucing all carriage tolls and plants used in making and fixing . (S.I.No. 28 P-93) | 167 | Rft | 240.5 | P.Rft | 40163.5
(Rs: Two Hudnred Forty Rupees and Fifty Paisa Only)
9 | First Class deodar wood wrough joinery in Doors & Windows etc fixed in position including chowkats hold fasts hinges aldrops iron tower bolts chocks cleats handles & cords with hooks etc. Deodar panelled or panelled and glazed or fully glazed 1-3/4" thick. (S.I.No. 7(b)P-57) (Without Chowkats). | 253 | Sft | 902.93 | P.Sft | 228441.29
(Rs: Nine Hundred Two Rupees and Ninety Three Paisa Only)
10 | Cement plaster 1:6 upto 20' height (b) 1/2" thick. (S.I.No. 13(b) P-51 ) | 2550 | Sft | 2206.6 | % Sft | 56268.3
(Rs: Twenty Two Hundred Six Rupees and Sixty Paisa Only)
11 | Cement plaster 1:4 upto 20' height (a) 3/8" thick. (S.I.No. 11(a) P-51 ) | 2550 | Sft | 2197.52 | % Sft | 56036.76
(Rs: Twenty One Hundred Ninety Seven Rupees and Fifty Two Paisa Only)
12 | Supplying & fixing inposition Aluminium channels framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks I/c handles, stoppers etc. (b) Deluxe model (Bronze). (S.I.No.83-b P-107). | 21 | Sft | 1507.66 | P.Sft | 31660.86
(Rs: Fifteen Hundred Seven Rupees and Sixty Six Paisa Only)
13 | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete. (b) Deluxe model (Bronze). (S.I.No.83-b P-107). | 64 | Sft | 1647.69 | P.Sft | 105452.16
(Rs: Sixteen Hundred Forty Seven Rupees and Sixty Nine Paisa Only)
14 | Providing & Fixing Printed Glazed Porceline Tile 24" X 24" finished in white cement of laid over a bed of 1/2"thick gray cement sand mortar ratio 1:3 using / filling of joints with white cement etc: complete in all respect.(R.A.A) | 1042 | Sft |  | P.Sft
15 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and apttern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (S.I.No.60 P-53). | 1670 | Sft | 30509.77 | P.Sft | 509513.159
(Rs: Thirty Thousand Five Hundred Nine Rupees and Seventy Seven Paisa Only)
16 | S/F false ceiling of plaster of paris, in pannels i/c making frame, work of deodar wood i/c painting with soligia paint. (S.I.No.52 P-64). | 636 | Sft | 25293.42 | %Sft | 160866.1512
(Rs: Twenty Five Thousand Two Hundred Ninety Three Rupees and Forty Two Paisa Only)
17 | P/F Wall Paper i/c Cost of Solution. | 540 | Cft |  | P.Sft
18 | Preparing the surface & painting with matt finish I/c rubbing the surface with Bathy (Silicon carbide rubbing brick) filling the voids with Zink / chalk/plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete (new surface)(S.I.No.36 P-55) | 1714 | Sft | 3444.38 | %Sft | 59036.6732
(Rs: Thirty Four Hundred Forty Four Rupees and Thirty Eight paisa Only)
19 | Distempering (c) Three coats (SINO.24 (c) P-53) | 2042 | Sft | 1079.65 | % Sft | 22046.453
(Rs: One Thousand Seventy Nine Rupees and Sixty Five Paisa Only)
20 | Painting New surface and painting of door and windows any type 3 coats coat (SINO.5(c) P-77) | 506 | Sft | 2116.41 | % Sft | 10709.0346
(Rs: Twenty One Hundred Sixteen Rupees and Forty One Paisa Only)
|  |  |  | Total | Rs:
Part – “B” E.I Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (SI No. 124 P-15) | 25 | Nos | 1130 | Each | 28250
(Rs: Eleven Hundred Thirty Rupees Only)
2 | Wiring for Call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I. No. 128/P-15) | 2 | Nos | 1764 | Each | 3528
(Rs: Seventeen Hundred Sixty Four Rupees Only)
3 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (SI No. 126 P-15) | 10 | Nos | 985 | Each | 9850
(Rs: Nine Hundred Eighty Five Rupees Only)
4 | Providing & laying (MAIN or SUB MAIN)PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No.12 P-2) | 40 | MTR | 341 | P.MTR | 13640
(Rs: Three Hundred Forty One Rupees Only)
5 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-2) | 40 | MTR | 222 | P.MTR | 8880
(Rs: Two Hundred Twenty Two Rupees Only)
6 | Providing & fixing DP i/c Change Over Switch 500 Volts 100amp on a prepared board (S.I.No.197 P-30) | 2 | Nos | 7612 | Each | 15224
(Rs: Seven Thousand Six Hundred Twelve Rupees Only)
7 | P/F Circuit breaker 15, 20, 30, 40, 50, 60, 75 & 100amp TP (XS-100NS) on a prepared board as required. (Si-204, P-31) | 4 | Nos | 2456 | Each | 9824
(Rs: Twenty Four Hundred Fifty Six Rupees Only)
8 | Providing & fixing voltmeter size 96/96mm 500volt as required & as per instruction of EI (S.I.No.285 P-41) | 1 | Nos | 999 | Each | 999
(Rs: Nine Hundred Ninety Nine Rupees Only)
9 | Providing & fixing ammeters size 96/96mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of EI (S.I.No.284 P-41) | 1 | Nos | 1054 | Each | 1054
(Rs: One Thousand Fifty Four Rupees Only)
|  |  |  | Total | Rs: | 91249
Part – “B” Non – Schedule Item
1 | S/F LED light 18 to 20 watt fully covered i/c cutting in false ceiling and finishing the same, fixing of light i/c necessary connection etc complete (Philips as required) | 60 | Nos |  | Each
2 | S/F Ceiling fan 56” sweep complete with conopy, block etc superior quality. | 10 | Nos |  | Each
3 | S/F Wall Breaket Fan 18" sweep complete with all accessories. | 12 | Nos |  | Each
4 | S/F Mix metallic switch 2 pin socket bell pati etc as required. | 60 | Nos |  | Each
5 | S/F Multi Purpose base heavy duty power plug 3 in socket with base as required. | 5 | Sft |  | P.Sft
6 | P/F Energy Saver bulb superior quality for fancy room light. | 18 | Nos |  | Each
7 | S/F Mix Matlic sheet 2-8 hole. | 20 | Nos |  | Each
8 | S/F Fancy type Mix metallic sheet farme 2,4,6,8 hole with pure board as required cutting & refilling. | 9 | Nos |  | Each
9 | S/F Panel board double shutter. | 2 | Sft |  | P.Sft
10 | S/F Fancy Fan dimmer. | 12 | Nos |  | Each
|  |  |  | Total | Rs:
Part "C" W/s & S/F.
1 | P/F Orisa type white or colour glazed earthen ware W.C. pan with cost, of low level plastic flush tank of 3' gallons capacity of approved quality I/c making req: No.of holes in walls, plinth & floor and making good in c.c. 1:2:4 (a) W.C. pan orisa type 23" with plastic tank of low down 3 gallons trap & C.I. thumble ( Superior quality) (i) with 4" dia C.I. trap(S.I.No. 3(a) (ii)P-2) | 5 | Each | 6166.6 | Each | 30833
(Rs: Six Thousand Sixty Six Rupees and Sixty Paisa Only)
2 | P/F 24"x18" lav: basin in white glazed earthen ware complete with & including the cost of W.I. Or C.I. Contilever brackets 6 inches built into walls painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia malleable iron or c.p.brass traps malleable iron or brass union and making requisite No. of holes in walls, plinth and floor for pipe connection and making good in c.c. 1:2:4 ( foreign or equivalent) (SINO. 13 P-4). | 5 | Nos. | 6237 | Each | 31185
(Rs: Six Thousand Two Hundred Thirty Seven Rupees Only)
3 | Add extra labour for providing and fixing of earthen ware padestal white or coloured glazed (Standard Pattern) (S.I.No. 11 P-3) | 5 | Nos. | 2533.47 | Each | 12667.35
(Rs: Twenty Five Hundred Thirty Three Rupees and Forty Seven Paisa Only)
4 | Providing & fixong 24" x 18" x8" white glazed fire clay sinks complete with & I/c the cost of C.I or W.I brackets 6 inches built into walls, 1-1/2" rubber plug & chrome plated brass chain 1-1/2" c.p brass washer 1-1/2" dia , jmalloable iron or c.p brass trap with malloable iron of brass unions& making requisite number of holes in walls, plinth & floor for pipe connectiosn & making good in cement concrete 1: 2: 4. (Foreign or Equivalant).(S.I.No. 18 P-5) | 1 | Each | 4722.3 | Each | 4722.3
(Rs: Forty Seven Hundred Twenty Two Rupees and Thirty Paisa Only)
5 | P/F 6"x2" of 6"x3" C.I. Floor trap of the approved self cleaning design with a C.I. Screwed down grating with or without a vent arm complete with and including making requisite number of holes in walls plinth and floor for pipe connection 1:2:4 (S.I.No. 23 P-6) | 27 | Each | 2024.43 | Each | 54659.61
(Rs: Two Thousand Twenty Four Rupees Rupees and Forty Three Paisa Only)
6 | Providing & fixing24" x 18" bavelled edge mirror of belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. (b) superior Quality. (S.I.No.3-b P-7) | 1 | Each | 2376 | Each | 2376
(Rs: Twenty Three Hundred Seventy Six Rupees Only)
7 | Providing & fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass screws. (b) 3/4" dia round or square (Superior quality).(S.I.No.10 P-10) | 2 | Each | 1412.95 | Each | 2825.9
(Rs: Fourteen Hundred Twelve Rupees and Ninety Five Paisa Only)
8 | P/F M.S clamp of the required design to 4" dia C.I pipe socket i/c cost of nuts and making good to wall or M.S Bolt & Nuts 4" into wall i/c pipe distance piece Extra painting to match the color of Buildings (S.I.No.2 P-9) | 12 | Each | 72.16 | Each | 865.92
(Rs: Seventy Two Rupees and Sixteen Paisa Only)
9 | Providing G.I. Pipes, special, and clamps etc including fixing cutting and fitting complete with and including the cost of breaking through walls and roofs making food etc painting two coats after cleaning the pipe etc with white zink paint with pigement to match the colour of the buildings and testing with water to a pressure head of 200' & handling (ii)(S.I.No.1(i)P-12)
| ( a ) 1/2" dia. Pipe. | 100 | P.Rft | 73.21 | P.Rft | 7321
(Rs: Seventy Three Rupees and Twenty One Paisa Only)
| ( b ) 3/4" dia. Pipe. | 50 | P.Rft | 95.79 | P.Rft | 4789.5
(Rs: Ninety Five Rupees and Seventy Nine Paisa Only)
| ( c ) 1-1/4" dia. Pipe. | 40 | P.Rft | 153.19 | P.Rft | 6127.6
(Rs: One Hundred Fifty Three Rupees and Nineteen Paisa Only)
10 | Add extra labour for concealed G.I pipe & fittings i/c making recess in the wall for pipe & making good in cement mortor etc complete. S.I.No.2 P-12
i | ( a ) 1/2" dia. Pipe. | 100 | P.Rft | 7.82 | P.Rft | 782
(Rs: Seven Rupees and Eight Two Paisa Only)
11 | Providing & fixing full way gun metal balves with wheels, threaded or flabged ends with rubber washing.(ii) 3/4" dia (Standard Pattern)(S.I.No.4-a P-17) | 6 | Each | 227.92 | Each | 1367.52
(Rs: Two Hundred Twenty Seven Rupees and Ninety Two Paisa Only)
12 | S/Fixing concealed stop cock of superior quality with C.P.head 1/2" dia (SINO.11(a) P-18) | 9 | Each | 843.92 | Each | 7595.28
(Rs: Eight Hundred Forty Three Rupees and Ninety Two Paisa Only)
13 | P/F long bib cock of crystal head with c.p.head 1/2" dia.(S.I.No.15 (b) P-17) | 18 | Each | 1384.24 | Each | 24916.32
(Rs: Thirteen Hundred Eighty Four Rupees and Twenty Four Paisa Only)
14 | Supplying & Fixing jet shower with rod of superior quality single c.p head 1/2" dia (S.I.No.15 P-19) | 4 | Each | 1142.24 | Each | 4568.96
(Rs: Eleven Hundred Forty Two Rupees and Twenty Four Paisa Only)
15 | Providing, Laying uPVC pipes of Class 'D' fixing in trench i/c cutting, fitting and jointing with solvent cement i/c tsting with water to a head of 122 meter or 400 ft.(S.I.NO.6-k P-24)
| a) 6" dia | 100 | Rft | 483 | P.Rft | 48300
(Rs: Four Hundred Eighty Three Rupees Only)
| a) 4" dia | 80 | Rft | 226 | P.Rft | 18080
(Rs: Two Hundred Twenty Six Rupees Only)
16 | Supplying and fixing Swan type piller cock of Superior Quality with crystal head 1/2" dia (SINO.16(b)P-19) | 12 | Nos. | 877.8 | Each | 10533.6
(Rs: Eight Hundred Seventy Seven Rupees and Eighty Paisa Only)
17 | P/F in position nyloon connection complete with 1/2" dia brass stop cock gtwo brass nuts and lining jointed to lead pipe with plumber wiped solder joints ( 1/2" inche lead pipe to be of not less than 4 lbs per lineal year ) ( S.I.No. 23 P-6) | 10 | Each | 447.15 | Each | 4471.5
(Rs: Four Hundred Forty Seven Rupees and Fifteen Paisa Only)
18 | Providing RCC pipe with collars class "B" digging the trenches to required depth & fixing in position i/c cutting fitting and joint with maxph composition and cement mortor 1:1 and testing with water pressure to a head of 4' above the top of the highest pipe and refilling with excavation staff RCC pipe Class
| a) 6" dia RCC pipe | 195 | Rft | 199.25 | P.Rft | 38853.75
(Rs: One Hundred Ninety Nine Rupees and Twenty Five Paisa Only)
19 | Construction of Manhole or inspection chamber for the required diameter of circular sewer and 7-6"(1067mm depth) with walls of B B in cement sand mortar 1:3 cement plastered 1:3 1/2" thick inside of walls and 1 (25mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2" x 1-1/2" 457 x457) embedded in plan C.C 1:2:4 and fixing 1" (25mm) dia M.S step 6" (150mm) wide projection 4" (102 mm) from the face of wall at 12" (305mm)C/C duly painted etc Complete as per Stander specification and drawing. (S.I.No 1 P No 46Ph) | 4 | Each | 14748 | Each | 58992
(Rs: Fourteen Thousand Seven Hundred Forty Eight Rupees Only)
|  |  |  | Total | Rs: | 376834.11
General Abstract
Part "A" Civil Work
| Part – “B” E.I Work Schedule Item |  |  | 91249
Part – “B” Non – Schedule Item
| Part "C" W/s & S/F. |  |  | 376834.11
Total Rs:
Add/Deducted………….% above / Below on Schedule Item.
Add/Deducted………….% above / Below on Non-Schedule Item.
Grand Total Rs:
TERMS & CONDITIONS.
1 | No cartage on any item of work shall be paid.
2 | No premium non schedule of item will be paid.
3 | 100% well graded bajri used in the RCC 1:2:4.
4 | Arbitraction clause stand from the agreement.
( CONTRACTOR )