***SCHEDULE OF QUANTITIES***

***WORK No: 04***

# 

**DISTRICT MUNICIPAL CORPORATION (WEST)**

**KARACHI, BALDIA ZONE**

***Estimated Cost Rs: 9,95,052/- Earnest Money Rs: 19,901/-***

***Time Limit: 45 Days Penalty Per Day Rs: 1,000/-***

**SUBJECT: *P/L Maintenance of C.C Drain and R.C.C Pipe Line at House No.1735/60 to 1735/70***

***New Anjam Colony UC-34 DMC (West) Baldia Zone.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_***

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ***S.No:*** | ***DESCRIPTION OF WORK*** | ***QUANTITY*** | ***RATE*** | ***PER*** | | ***AMOUNT*** |
| *1.* | *Dismantling cement concrete reinforced separating rein for cement from concrete cleaning and straightening the same. 1:2:4.* | *525* | *5445* | *%Cft* | | *28586/-* |
| *2.* | *Earth work excavation in Asher sand salt soil or slit clearance undressed lead upto 50Cft.* | *3150* | *1663.75* | *%Cft* | | *5241* |
| *3.* | *Fabrication of mold steel reinforced cement concrete i/c cutting binding laying in position making joint and fastening i/c removal rust from bars* | *16.41* | *4820.20* | *CWT* | | *79099/-* |
| *4* | *P/L R.C.C Work cement concrete 1:2:4 i/c surface finishing and diving into panel etc complete.* | *525* | *337* | *Pft* | | *176925/-* |
| *5.* | *Excavation for pipe line in trenches, and pits in all kind of soil of Murum Shape Leveling of beds of trenches to correct lever & grade, surplus earth within a one chain as directed by Eng incharge.* | *4725* | *4650* | *%Cft* | | *21971/-* |
| *6.* | *P/L reinforced cement concrete pipes with rubber rings i/c cartage, loading unloading at site of work fixing in trenches cutting fitting, jointing with rubber rings etc complete KWSB Approved Rate, M/S Balochistan R.C.C Pipe Co. M/S Pakistan construction (Pvt.) Ltd. M/S Kamal R.C.C Pipe Co. 12”dia pipe. 15”dia pipe* | *350* | *412.00* | *P/rft* | | *144200/-* |
| *7.* | *Construction of 4” dia manhole inside complete with 21”dia c c 1:2:4 pre cast C.I frame 15kg i/c the cost of M.S bars reinforcement and two handles 5” clear depth c c 1:2:4 cast in situ walls with 50% screened graded bajri of 9” thick i/c bending and channel i/c inside walls surface complete i/c cutting asphalt roads excavation in all kind of soil back filling and disposal of surplus stuff (KW&SB) approved rate.* | *14-Nos* | *14529.29* | *Each* | | *203410/-* |
| *8.* | *Extra depth beyond 5” ft or less then 5 deducted at the same rate (KWSB) approved rate.* | *(-) 7* | *2538.60* | *Pft* | | *(-) 17770/-* |
| *9.* | *Refilling the excavated stuff & surplus Earth etc. complete.* | *4252* | *2760* | *%Cft* | | *11736/-* |
| *10.* | *Carriage of 100-Cft tons of all kind material like Cole brick i/c loading unloading 10 mile.* | *4147* | *595.80* | *%Cft* | | *24708/-* |
| *11.* | *Manufacturing and supplying R.C.C main hole covers cast in situ 1:2:4 C.C. 3” inch deep in center reinforced with 3/8” dia M.S Bars welded on M.S. sheet i/c curing transportation. 21” dia. 24” Dia.* | *70-Nos* | *913.63* | *Each* | | *63954/-* |
| *12.* | *Manufacturing and supplying of R.C.C Ring Slab of 21” inside 36” dia outside 75 wide and to thick i/c 3/8” dia tor steel bar two concentric rings with 3/8” dia Nos. cross links bars welded and two sunk type hook, lasted in 1:1-1/2:3 concrete with embedded 15kg C.I frame in per feet position i/c terms partition charges for an average lead of 20 km per trip from casting yard to town office (A minimum of 25 slabs per trip will be transported.)* | *60-Nos* | *1906.60* | *Each* | | *114576/-* |
| *13.* | *Manufacturing and Supplying of R.C.C Fixing Slab.* | *70-Nos* | *563.09* | *Each* | | *39416/-* |
| *14.* | *Hiring of Skilled Labour for Cleaning of Nallah (Afghani Bajorri) for 8-Hours.* | *110* | *900* | *P-Labour* | | *99000/-* |
| ***Total Estimated Cost*** | | | | | ***9,95,052.00*** | |

***PTO***

*Nomenclature, Quantities and Rates etc checked*

*and found correct.*

***ASSTT ENGINEER (B&R) ASSTT: EXECUTIVE ENGINEER (B&R)***

*BALDIA ZONE BALDIA ZONE*

*I/We hereby quoted Rates @ % above/below the S/R*

*The total amount is Rs: (Rupees:*

*(In Figure) (In Word)*

## *Contractor’s Signature:*

## 

## *Address:*