SCHEDULE - B

NAME OF WORK : CONSTRUCTION OF BRICK PAVEMENT & SURFACE DRAINS TYPE A & B AT UNION COUNCIL LUNDO TALUKA SHAHDADPUR DISTRICT SANGHAR

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No | Description | Qty | Rate | Unit | Amount |

PART- A SURFACE DRAINS

1. Excavation in foundation of building and other structure i/c dag belling dressing refilling around the structure with excavated earth watering and ramming lead up to one chain and lift up to 5’ (In ordinary soil) (GSI No18, P/5)

6260.0 Cft. Rs.3176/25 P%0 Cft. Rs.19883/-

2. Cement concrete plain i/c placing compacting finishing curing etc complete i/c screening and washing of stone aggregate with out shuttering. Ratio 1:4:8. (GSI No: 5(i) P-17).

**Ratio 1:4:8**

1381.12 Cft. Rs.11288/- P% Cft. Rs. 155900/-

3. Pucca brick work in foundation & plinth cement sand mortar Ratio (1:6) (GSI No: 4, P-25).

3600.0 Cft. Rs: 11948/36 P% Cft. Rs. 430141/-

4. Construction of standard open drains conute block of C.C (1:2:4) in situ to design profile i/c cost of mould as per drawing i/c S/F cost of cement 1/32” thick to the exposed surface finished smooth curing etc complete as detailed drawing (PHSI No:17, P-44).

Type-A. 1725.0 Rft

17250 Rft Rs: 94/- P/Rft. Rs.162150/-

Type-B. 450.0 Rft.

450.0Rft Rs.174/- P/Rft. Rs.78300/-

5. Cement plaster (1:4) up to 12 ft: height ½” thick. (GSI No: 11 P-55)

6438.0 Sft. Rs: 2283/93 P% Sft. Rs. 147039/-

6. Fabrication of mild steel reinforcement cement concrete i/c cutting bending Laying in position and fastening i/c cost of binding wire etc. (GSI No: 7 (b) P-19)

7.62 Cwt. Rs: 5001/70 P/Cwt. Rs. 38113/-

7. RCC work i/c all labor and material except the cost of steel reinforcement and Its labor for bending and binding which will be paid separately. This rate also Includes all kinds of forms mould lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle)a RCC work in roofs slabs beams columns rafts lintels and other structural members laid in situ or precast laid in position complete the all respect (I) Ratio 1:2:4 90 lbs cement 2cft sand 4 Cft shingle 1/8” to ¼”guage. (GSI No: 6 (a) P-19).

213.55 Cft. Rs: 337/- P/Cft. Rs.71966/-

Total:- Rs. 1103492/-

|  |  |
| --- | --- |
|  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No | Description | Qty | Rate | Unit | Amount |

PART- B BRICK PAVEMENT

1. Barrow pit excavation undressed lead upto 100’ ft (GSI NO 3 P/1)

34856.0Cft @Rs: 2117/50 P%0 Cft Rs: 73808

2. Earth work compaction laying earth in 6” layers leveling dressing and watering for compaction etc complete (GSI NO 13 P/4)

34856.0 Cft @Rs: 354/- P% 0 Cft Rs:12339/-

3. Dry brick on edge paving sand grouted i/c preparation of bed by watering ramming and bringing the same to proper camber ½” thick mud plaster

(GSI NO 5 P/40)

16500.0 Sft @Rs: 3823/57 P% Nos Rs: 630889/-

4. Cartage of earth (lead 3 Mile)

16500.0 Cft @Rs: 502/52 P% Cft Rs: 175158/-

Total Rs. 892194/-

ABSTRACT.

PART-A SURFACE DRAINS Rs. 1103492/-

PART-B BRICK PAVEMENT Rs. 892194/-

GRAND TOTAL: - Rs.1995686/-

***CONDITIONS.***

1. Any error omission in the specification quantity and unit will be governed by the relevant schedule items.

2. The rates should be inclusive of all taxes i.e. sales tax octori tax etc.

3. No separate carriage will be paid to the contractor.

4. No premium will be allowed for non schedule items.

1. The decision of the Superintending Engineer works & services Department Sanghar will be final and binding the parties if in any dispute.

(CONTRACTOR) EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

SANGHAR.