NAME OF WORK:	PROVIDING LAYING CC DRAIN & CC TOPPING AT UMAR KOT SIRAJUDDIN MOHALLAH/ ABDUL KAREEM MOHALLAH, UMERKOT.

Estimated Cost: Rs:	53,30,300/-					            Time Limit: __60_ Days

Earnest Money: Rs:	   2,66,515/-						Penalty     : Rs: 500/- P.Day

Tender Cost: Rs. 3,000/-

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| PART-A (CC Flooring Work) |  |  |  |  |  |
| 01 | Dismantling cement concrete plain 1:2:4 etc complete. (GSI No.19 ( c ) page (10) | 2,160 | 3327.50 | %Cft | 71,874 |
| 02 | Earth work excavation undressed lead upto a single throw of kassi Phawarh or shovel in ordinary soil etc complete. (GSI No1(B) page 1 | 9,240 | 1361.25 | % oCft | 12,578 |
| 03 | Cement concrete brick or stone ballast 1 ½” to 2 “ gauge (b) Ratio 1:4:8 (GSI No.15 Page 15) | 9,240 | 9416.28 | % Cft | 870,064 |
| 04 | Cement Concrete plain including placing compacting, finishing , and curing, complete (including screening and washing at stone aggregate without shuttering ratio 1:2:4 (GSI No.16 page 17) | 7,000 | 14429.25 | %Cft | 1,010,048 |
| 05 | Erection and removal of centering for deodar wood (Second Class) GSI No 18 page 20) | 471 | 3127.41 | %Cft | 14,730 |

Total Amount of PART A   	                             Rs.1,979,294/-

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| PART-B ( Surface Drains) |  |  |  |  |  |
| 01 | Excavation in foundation of building bridges and other structure including dagbelling bridges and other structure i/c belling , dressing , refilling around structure with evacuated earth watering ramming lead upto 5ft and upto one chain (GSI No.18 page 4) | 12,375 | 3176.25 | %oCft | 39,306 |
| 02 | Cement concrete plain including placing compaction ,finishing and curing, complete (including screening and washing at stone aggregate without shuttering ratio 1:4:8 GSI No.5(F) Page 16 | 2062.50 | 11288.75 | %Cft | 232,830 |
| 03 | Pucca Brick work in foundation and plinth in cement sand motor 1:4 (GSI No.4 Page 19) | 6,187.50 | 11946.36 | % Cft | 739,181 |
| 04 | Construction of Standard open drain connote block of cement concrete (1:2:4) in situ to the design profile i/c cost of mould as per drawing i/c applying of floating smooth curing 1/32” thick face furnished curing etc complete as per detailed drawing. | 2,750 | 174 | P.Rft | 478,500 |
| 05 | Cement plaster 1:4 upto 12” height ½ : thick (GSI No.11 page 58) | 7755 | 2283.93 | %Sft | 177,119 |
| 06 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This ratio also includes all kinds of forms moulds.lifting,shuttering,curing,rendering and finishing the exposed surface (including screening and washing of shingle).R.C work in roof clab,beams columns rafts, lintels and other structural members laid in situ or precast laid in positioning complete in all respects (GSI No.5 Page 19) | 396 | 337 | P.Cft | 133,452 |
| 07 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, lying in position ,making joints and fastenings including cost of binding wire(also includes removal of rust from bars) GSI NO 7(III) Page 20 | 14.14 | 5001.70 | P.Cwt | 70,724 |

Total Amount of Part B.                        Rs.1,871,112/-

| GENERAL ANSTRACT OF COST |  |
| --- | --- |
| CC Flooring Work | 1,979,294 |
| Surface Drains | 1,871,112 |
| GRAND TOTAL AMOUNT | 3,850,406 |

Checked and Verified

I/We hereby quote _________ % above/below S.R

Rates in Words: ___________________________________

EXECUTIVE ENGINEER

SINDH KATCHI ABADIS AUTHORITY

GOVERNMENT OF SINDH

TERMS & CONDITIONS:-

- Any error or omission in description of items Quantity and units will be governed by relevant schedule of rates and relevant rate analyses.

- The decision of Director General, SKAA will be final and binding on all the parties in any shape.

- The rate Schedule is inclusive of all taxes.

- No premium allow on be non schedule items.

- No separate carriage will be paid.

We the undersigned do hereby under take to strictly abide all the terms & condition of the SCHEDULE “B” documents which are currently in force for the works of Sindh Katchi Abadis Authority.

Signature of Contractor: _______________

Address: 	______________________

______________________

Seal		________________________

SCHEDULE “B” Issued to M/s. ______________________________

Against Pay Order of SCHEDULE “B” Cost No: _____________ Dated ___________ Rs. ____________

And P.O of 5% Earnest Money No. _____________________ Dated ________________ Rs. ___________

Signature

Seal of Issuing Authority