NAME OF WORK:	PROVIDING LAYING SEWERAGE LINE 12” DIA / CC PAVEMENT AT KATACHI ABADI ANJUMAN E KATCHI ITTEHAD COLONY DISTRICT MALIR, KARACHI.

Estimated Cost: Rs:	8,153,700/-					            Time Limit: __90_ Days

Earnest Money: Rs:	   407685/-						Penalty     : Rs: 500/- P.Day

Tender Cost: Rs. 3,000/-

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| PART-A (RCC SEWER) |  |  |  |  |  |
| 01 | Excavation for pipe line in trenches & pits & all kind of soil of murum i/c trimming & dressing sides to true alignment and shape & leveling of beds of trenches to correct level & grade cutting, jointing holes & disposable of surplus earth within one chain as directed by Engineer Incharge. Providing Fence guards, lights flags and temporary lift upto 5ft and lead upto one chain(Ph Schop# it-) (Vol-IV, Part VI Ch-2 Page-62-Sr-5) | 70,000 | 4,650.00 | %oCft | 325,500 |
| 02 | Providing laying jointing testing ASTM pipe C-76-70 class-II wall B and fixing in trench cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure based upto rate required from pre-qualified factory.(Vol-IV,PartVi Ch-2 Page-17-Sr-1-a,b &d) - 12” Dia | 4,000 | 412.00 | P.Rft | 1,648,000 |
| 03 | Construction mainhole or inspection chamber for 4ft Dia and 5ft in depth with circular sewer with wall CC 1:2:4 width 9” thick including centering and fixing C.I mainhole frame without R.C.C mainhole cover etc. Complete specification. 1 x 100 = 100 Nos | 100 | 18,610 | Each | 1,861,000 |

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| 04 | Refilling the excavated stuff in trenches 6" thick layer including watering ramming to full compaction etc. complete (Vol-IV, Part VI Ch-2 Page-77-Sr-24) | 63,000 | 2760.00 | %oCft | 173,880 |
| 05 | Manufacturing and Supplying RCC 21” Dia (outside) and 7.5” width and 6” thick 3/8 “ Dia two steel bar to concrete ring with 3/8” Dia 8 Nos cross linked bars including curing , stacking and transportation within 10 miles etc complete. (WS Schedule P-27 it .2) (Vol-III, Part V-B Ch-16 Page-31-Sr-2) | 100 | 1906.60 | Each | 190,660 |
| 06 | Manufacturing and Supplying RCC mainhole covers casting 1:2:4 concrete ratio 3” inch deep at center to reinforce with 3/8” Dia to steel bars @ 4” C.C etc, welded to 1/8” thick 2.5 deep plate i/c curing, stacking and transportation within ten miles etc complete. (WS Schedule P-27 it .1) (Vol-III, Part V-B Ch-16 Page-31-Sr-2) | 170 | 913.63 | Each | 155,317 |
| 07 | Shifting to the site and fixing of 21” Ring Slab in perfect position on damaged mainhole i/c cutting of damage portion of mainhole in perfect shape and laying of cement mortar 2” thickness & disposal of debris. (Vol-III, Part V-D Ch-16 Page-31-Sr-4) | 170 | 563.09 | Each | 95,725 |

Total Amount of Part A.            Rs.4,450,082/-

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | UNIT | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| PART-B (CC FLOORING) |  |  |  |  |  |
| 01 | Dismantling Cement Concrete Plain 1:2:4 etc complete (GSI No.19 ( c ) Ch.19 Page 10) | 366.80 | 3327.50 | % Cft | 12,205 |
| 02 | Earth work excavation undressed lead upto a single throw of Kassi Phawarh or Shovel in Ordinary Soil etc complete (GSI No.1 (b ) page 1) | 10,032 | 1361.25 | %oCft | 13,656 |
| 03 | Cement concrete brick or stone ballast 1/2" to 2" gauge. Ratio 1:4:8 (GSI No.15 Page 15) | 15,477 | 9416.28 | % Cft | 1,457,358 |
| 04 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. (f) Ratio. 1:2:4 (GSI No.16 Page 17) | 11,725 | 14429.25 | % Cft | 1,691,830 |
| 05 | Erection and removal of centering for RCC or plain cement concrete work of deodar wood ( Second Class) (GSI No.18 Page 20) | 781.68 | 3127.41 | % Cft | 24,446 |
| Total Amount of Part B |  |  |  |  | 3,199,495 |
| GENERAL ANSTRACT OF COST. R.C.C SEWER; 4,450,082. C.C FLOORING; 3,199,495. GRAND TOTAL AMOUNT; 7,649,577. |  |

Checked and Verified

I/We hereby quote _________ % above/below S.R

Rates in Words: ___________________________________

EXECUTIVE ENGINEER

SINDH KATCHI ABADIS AUTHORITY

GOVERNMENT OF SINDH

TERMS & CONDITIONS:-

- Any error or omission in description of items Quantity and units will be governed by relevant schedule of rates and relevant rate analyses.

- The decision of Director General, SKAA will be final and binding on all the parties in any shape.

- The rate Schedule is inclusive of all taxes.

- No premium allow on be non schedule items.

- No separate carriage will be paid.

We the undersigned do hereby under take to strictly abide all the terms & condition of the SCHEDULE “B” documents which are currently in force for the works of Sindh Katchi Abadis Authority.

Signature of Contractor: _______________

Address: 	______________________

______________________

Seal		________________________

SCHEDULE “B” Issued to M/s. ______________________________

Against Pay Order of SCHEDULE “B” Cost No: _____________ Dated ___________ Rs. ____________

And P.O of 5% Earnest Money No. _____________________ Dated ________________ Rs. ___________

Signature

Seal of Issuing Authority