SCHEDULE-B **PROVISION OF PURCHASE OF ULTRASOUND MACHINE AND X-RAY PLANTS FOR DISTRICT VETERINARY HOSPITAL IN SINDH (Construction of Ultrasound X-Ray & Dark Room @ District Khairpur.**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |
|  |  |  |  |  |  |  |  |  |
| 01/- | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft.(S.I NO: 18 P.NO: 4) | | | | | |  |  |
|  |  |  | = | 634 | “ | 3176.25 | %0Cft | 2014/- |
| 02/- | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 ( ) P.No.17) | | | | |  |  |  |
|  |  |  | = | 202 | Cft | 8694.95 | % Cft | 17564/- |
|  |  |  |  |  |  |  |  |  |
| 03/- | Random, rubble masonry (un-coursed )Ratio 1:6 (S.I NO: 1 (iv)P.NO: 27) | | | | |  |  |  |
|  |  |  | = | 294 | “ | 17723/- | % Cft | 52106/- |
|  |  |  |  |  |  |  |  |  |
| 04 | Coursed Ruble masonry including hammer dressing.Ratio 1:6 (S.I NO: 2 P-NO: 27) | | | | |  |  |  |
|  |  |  | = | 269 | “ | 25321/- | % Cft | 68113/- |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05/- | Pacca Brick work in foundation/plinth in cement sand mortar (S.I NO: P.NO: ) | | | | | |  |  |  |
|  | |  |  | = | 90 | “ | | 11948.36 | % Cft | 10754/- |
| 06 | | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. Ratio (1 : 2: 4 ) 90 Lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.(S.I NO: 6 (a)P-16) | | | | | |  |  |  |
|  | |  |  | = | 473 | “ | | 337/- | P.Cft | 159401/- |
| 07/- | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.)(S.I NO: 8 P.NO: 17) | | | | | |  |  |  |
|  |  | |  |  | |  |  |  |  |
|  |  |  | = | 21.116 | | Cwt | 5001.70 | P.cwt | 105616/- |
| 08/- | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift jupto 5 feet.(S.I NO: 21 P-4). | | | | | |  |  |  |
|  |  | |  |  | |  |  |  |  |
|  |  |  | = | 423 | | Cft | 1512.50 | %0Cft | 640/-/- |
|  |  |  |  | |  |  |  |  |
| 09/- | Filling, watering and ramming earth under floor with new earth (Excavated from outside) lead upto one chain and lift upto 5 feet.(S.I NO: 22 P-4) | | | | | |  |  |  |
|  |  |  | = | 497 | | “ | 3630/- | %0Cft | 1804/- |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10/- | Supplying and filling sand under floor and plugging in walls.(S.I NO: 29 P-26) | | | |  |  |  |  |
|  |  | |  |  |  |  |  |  |
|  |  |  | = | 103 | Cft | 1141.25 | % Cft | 1175/- |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | | | ITEM OF WORK | |  | |  | | QTY | |  | | | RATE | | UNIT | | AMOUNT | |
| 11/- | | Add: Extra lead for 3-0 Miles | | | | | | | | |  | |  | |  | |  | |
|  | |  | | | |  | |  | | |  | |  | |  | |  | |
|  | |  | |  | | = | | 600 | | | Cft | | 579.41 | | % Cft | | 3476/- | |
| 12 | | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:6:12). (S.I.No.4 ( ) P.No.17) | | | | | | | | |  | |  | |  | |  | |
|  | |  | |  | |  | |  | | |  | |  | |  | |  | |
|  | |  | |  | | = | | 68 | | | Cft | | 8122.95 | | % Cft | | 5524/- | |
| 13 | | Pacca Brick work in Ground Floor in cement sand mortar (S.I NO: P.NO: ) | | | | | | | |  | | |  | |  | |  | |
|  | |  | |  | | = | | 726 | | “ | | | 12674.36 | | % Cft | | 92016/- | |
| 14/- | | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.(CSI NO: 29 P-93) | | | | | | | | | | |  | |  | |  | |
|  | |  | |  | | = | | 134 | | “ | | | 228.90 | | P.Rft | | 30673/- | |
| 15/- | | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.(CSI NO: 28 P-93) | | | | | | | | | | |  | |  | |  | |
|  | |  | |  | | = | | 44 | | “ | | | 240.50 | | P.Rft | | 10582/- | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 16/- | Cement plaster 1:6 upto 12' height.(b) 1/2" thick. (S.I NO: 13 P-52) | | | | | |  |  |  |
|  |  |  | | = | 1417 | “ | 2206.60 | % Sft | 31268/- |
| 17/- | Cement plaster 1:4 upto 12' height.( ) 3/8" thick. (S.I NO: 13 P-52) | | | | | |  |  |  |
|  |  | | |  |  |  |  |  |  |
|  |  | |  | = | 1417 | “ | 2197.52 | % Sft | 31139/- |
| 18/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels:(S.I NO" 16 (c)P-42) 2" thick | | | | | |  |  |  |
|  |  | |  | = | 815 | “ | 3275.50 | % Sft | 26695/- |
| 19 | First class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc.(1 3/4" thick)(S.I NO: 7 P-58) | | | | | |  |  |  |
|  |  | |  | = | 167 | “ | 902.93 | P.Sft | 150789/- |
| 20/- | Cement pointing struck joints on walls 1:2.(S.I NO: 19 (a) P-53) | | | | | |  |  |  |
|  | Net: Qty: | | 672 (-) 65 | = | 607 | “ | 1287.44 | % Sft | 7815/- |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 21/- | Colour washing two coats (S.I NO: 25 P-54) | | | | |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  | = | 607 | “ | 859.90 | % Sft | 5220/- |
| 22/- | White washing. 03 three coats (S.I NO: 26 ©P.NO: 54). | | | | |  |  |  |
|  |  |  | = | 235 | “ | 829.95 | % Sft | 1950/- |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.NO | ITEM OF WORK |  |  | QTY |  | RATE | UNIT | AMOUNT |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 23/- | Priming coat of chalk distemper.(S.I NO: 23 P.NO: 54) | | | | |  |  |  |
|  |  | |  |  |  |  |  |  |
|  |  |  | = | 1417 | “ | 442.75 | % Sft | 6274/- |
| 24/- | Distempering. three 03 Coats (S.I NO: 24 P-54) | | | |  |  |  |  |
|  |  | |  |  |  |  |  |  |
|  |  |  | = | 1417 | “ | 1043.65 | % Sft | 14789/- |
| 25/- | Painting New Surface Painting Door & Windows any type 03 coats (S.I NO: P.NO: ) | | | | |  |  |  |
|  |  |  | = | 393 | “ | 1489.68 | % Sft | 5854/- |
|  |  |  |  |  |  | ======================= | | |
|  |  |  |  | Total | | |  | 843251/- |

CONTRACTOR EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD