Name of Work : - Widening And Reconditioning of Road from Chandia More

To Police Training Center Via Sadoro Janwari

Mile 0/0-1/4(2.40 KM) ( Drain Nala With Foot Path Slab)

(SCHEDULE “B” (BOQ)

Part-A-M/Work.

| Quantity | Item of work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- |

01. Dismantling of C.C Palin (1:4:8) (S.I.No.19B,P-10)

| 2805 | Cft | Rs,1663/75 | P.% Cft | Rs,46668/- |
| --- | --- | --- | --- | --- |

02. Dismantling C.C Reinforcement  (1:2:4).

| 1500 | Cft | Rs,1663/75 | P.% Cft | Rs,24956/- |
| --- | --- | --- | --- | --- |

03. Excavation in foundation of building, bridges and other structure i/c degbelling, dressing, refilling around structure with excavated earth watering and ramming lead upto one chain and lift upto 5’(S.I.No.18b, P-5).

| 75735 | Cft | Rs,3176/25 | P.%0 Cft | Rs,240533/- |
| --- | --- | --- | --- | --- |

04. Extra for Slush or deadal including dewater .

| 52173 | Cft | Rs,2420 | P.% Cft | Rs,126259/- |
| --- | --- | --- | --- | --- |

05. Bailing or pumping out soil water during excavation concerting coat in cited concrete or machinery work in foundation etc complete

| 10940 | Cft | Rs,543 | P.% Cft | Rs,59404/- |
| --- | --- | --- | --- | --- |

06 Cement Concrete Plain i/c placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:3:4) (S.I.No.5h, P-18).

| 13464 | Cft | Rs,9416/28- | P.% Cft | Rs,1267808/- |
| --- | --- | --- | --- | --- |

07. R.C.C.Work i/c all labor and material except the cost of steel r/f and its labor for bending and binding which will be paid separately, This rate also i/c all kinds of  forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C.C.Work in roof slabs beams, columns, lintels and other structural member slain in situ or pre-cast laid in Position complete in all respects Ratio (1:2:4) (S.I.No.6a, P-19).

| 20311 | Cft | Rs,337/- | P.Cft | Rs,6844807/- |
| --- | --- | --- | --- | --- |

06. Pacca brick work in foundation and Plinth in Cement Sand mortor Ratio (1:4).(S.I.No.4,P-25).

| 25666 | Cft | Rs,12501/41 | P.% Cft | Rs,3208612/- |
| --- | --- | --- | --- | --- |

10. Fabrication of mild Steel reinforcement for Cement Concrete i/c cutting, bending, laying in Position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (S.I.No.7ii, P-20).

| 1031.22 | Cwt | Rs,4820/20 | P.Cwt | Rs,4970687/- |
| --- | --- | --- | --- | --- |

12. Erection and fitting in position or iron trusses stinging of water tents etc.

| 53.04 | Cwt | Rs,271/04 | P.Cwt | Rs,14376/- |
| --- | --- | --- | --- | --- |

11. Small Iron works such as guessed plate knees bends stirrups rings etc including cutting drilling reinforcing handling assembling and fixing but excluding erection in position.

| 53.04 | Cwt | Rs,6420/61 | P.Cwt | Rs,340549/- |
| --- | --- | --- | --- | --- |

08. Cement Plaster (1:3) Upto ½” thick.

| 14586 | Sft | Rs,2383/93 | P.% Sft | Rs,333134/- |
| --- | --- | --- | --- | --- |

08. Extra Load for carriage of material of 100 Cft/5 tons of all material like stone.

Aggrete spinal coat and etc by truk or other vechile (S.I.No.8 P No.02 ) (as per PHED schedule )

| 88040 | Sft | Rs,2059/94 | P.% Sft | Rs,181357/- |
| --- | --- | --- | --- | --- |

|  |  |  | [ Total | Rs,18151489/- |
| --- | --- | --- | --- | --- |

___________ % Above/Below																Rs.__________________

Grand Total:				Rs.__________________

Total Amount in Word: _____________________________________________________________

__________________________________________________________________

| Contractor | Executive Engineer |
| --- | --- |
|  | Highway Division |
|  | Khairpur. |